Hellenic Accreditation System

Annex F2/3 to the Certificate No. 835-3 SCOPE of ACCREDITATION of the Calibration Laboratory of LOGICOM S.A.

| Measurand / Calibration item | Range of measurement | Calibration & Measurement Capability (k=2)* | Remarks |
| --- | --- | --- | --- |
| Liquid volume / Metallic fixed storage tanks | 0,5 m3… 200 m3 | 0,06 % | Volumetric method using volumetric vessels According to guideline EURAMET cg-21, v1.0: 2013 Calibration medium: tap water Calibration is performed on site. |

*Where uncertainty is accompanied by the corresponding unit, it is absolute, while where it is not accompanied by a unit, is relative.

Site of assessment: Permanent laboratory premises, 109, Marathonos Ave., 153 44 Gerakas, Greece

Approved Signatories: M. Seraskeris, N. Tsakiris

This Scope of Accreditation replaces the previous one dated 24.09.2020.

The Accreditation Certificate No.835-2, to ELOT EN ISO/IEC 17025: 2017, is valid until 27.9.2024.

Athens, 2nd April 2021

Spyridon Podaras

CEO of ESYD