Hellenic Accreditation System

Annex F1/19 to the Certificate No. 518-4 SCOPE of ACCREDITATION of the Testing Laboratory BIORESEARCH LABORATORIES S.A.

| Materials/Products tested | Types of test/Properties measured | Applied methods/Techniques used |
| --- | --- | --- |
| Chemical tests |
| 1. Water for human consumption, ground water and swimming pool water | 1. Determination of chlorides | Modified argentometric method based on ΕLΟΤ 666:1983 standard |
|  | 2. Determination of nitrates | HACH LANGE LCK 339 |
|  | 3. Determination of Phosphates | HACH LANGE LCK 349 |
|  | 4. Determination of ammonium | HACH LANGE LCK 304 |
|  | 5. Determination of pH | In House Method based on APHA* 4500 - H+ |
|  | 6. Determination of conductivity | In House Method based on APHA* 2510 – B |
|  | 7. Determination of sulfates | HACH 8051 PP SULFAVER 4 |
|  | 8. Determination of nitrites | HACH LANGE LCK 341 |
|  | 9. Determination of total hardness | ΕLΟΤ 170 |
|  | 10. Determination of alkalinity | APHA* 2320-B |
|  | 11. Determination of calcium | APHA* 3500-Ca-B |
|  | 12. Determination of magnesium | APHA* 3500-Mg-B |
|  | 13. Determination of free and total chloride | HACH 8021 PP |
|  | 14. Determination of Turbidity | In House Method based on HACH METHOD 8195 |
|  | 15. Determination of bound chloride | Calculated |
|  | 16. Determination of Ammonium Nitrogen | HACH LANGE LCK 304 |
|  | 17. Determination of Nitrogen Nitrate, ΝΟ3-Ν | HACH LANGE LCK 339 |
|  | 18. Determination of carbonate (temporary) hardness | In House Method based on APHA* 2320 Β and APHA* 2340 Α |
|  | 19. Determination of non-carbonate (permanent) hardness | In House Method based on APHA* 2320 Β and APHA* 2340 Α |
| 2. Water for swimming pool water | Determination of Cyanuric Acid | HACH LANGE Method 8139 |
| 3. Wastewater | 1. Determination of COD | HACH LANGE LCK 314, LCK 514 |
|  | 2. Determination of BOD | AQUALYTIC BOD SENSOR MANUAL based on APHA 5210D |
|  | 3. Determination of Total Nitrogen | HACH LANGE LCK 138 |
|  | 4. Determination of Total Suspended Solids (TSS) | APHA* 2540 - D |
|  | 5. Determination of chlorides | Modified argentometric method based on ΕLΟΤ 666:1983 standard |
|  | 6. Determination of nitrates | HACH LANGE LCK 339 |
|  | 7. Determination of Total Phosphorus | HACH LANGE LCK 349 |
|  | 8. Determination of ammonium | HACH LANGE LCK 304 |
|  | 9. Determination of pH | In House Method based on APHA* 4500 – H+ |
|  | 10. Determination of conductivity | In House Method based on APHA* 2510 – B |
|  | 11. Determination of Free Chloride and Total Chloride | HACH 8021 PP |
|  | 12. Determination of Turbidity | In House Method based on HACH METHOD 8195 |
|  | 13. Determination of Total Alkalinity mg/L CaCO3 | APHA* 2320 - B |
|  | 14. Determination of Nitrites mg/L NO2- | HACH LANGE LCK 341 |
|  | 15. Determination of bound chloride | Calculated |
|  | 16. Determination of Ammonium Nitrogen | HACH LANGE LCK 304 |
|  | 17. Determination of Nitrogen Nitrate, ΝΟ3-Ν | HACH LANGE LCK 339 |
|  | 18. Determination of Phosphates | HACH LANGE LCK 349 |
|  | 19. Determination of Total Solids, TS (103 – 105 οC) | APHA* 2540 - B |
|  | 20. Determination of Total Dissolved Solids, TDS (180 οC) | APHA* 2540 C,- B |
| 4. Meat and Meat products | 1. Determination of moisture content | ISO 1442:1997 |
|  | 2. Determination of total ash | ISO 936:1998 |
|  | 3. Determination of nitrogen content | ISO 937:1978 |
|  | 4. Determination of total fat content | ISO 1443:1973 |
| 5. Cheese | 1. Determination of the total solids content | ISO 5534:2012 |
|  | 2. Determination of ash | AOAC 935.42 |
|  | 3. Determination of total fat | ISO 23318:2022 |
|  |  | ISO 23319:2022 |
|  | 4. Determination of nitrogen content | ISO 8968-1:2014 (Kjeldahl) |
| 6. Milk | 1. Determination of fat | ISO 23318:2022 |
|  | 2. Determination of nitrogen content | ISO 8968-1:2014 (Kjeldahl) |
| 7. Raw milk | 1. Determination of fat | Manufacturer method of automated analyzer, Mid Infrared Spectrometry (FTIR technique) (MILKOSCAN FT+) |
|  | 2. Determination of nitrogen content |  |
|  | 3. Determination of freezing point | ISO 5764:2009 Thermistor cryoscope method (Reference method) |
| 8. Flour, Cereals, and cereals products | 1. Determination of Total Dietary Fiber | AOAC Method 985.29 |
|  | 2. Determination of Ash | AOAC Method 923.03 |
|  | 3. Determination of Moisture | ISO 712:2009 |
|  | 4. Determination of Proteins | In house Method Kjeldahl based on AOAC Method 991.20 and ISO 1871 |
|  | 5. Determination of total fat content | AOAC Method 922.06 |
| 9. Animal feeding stuffs | 1. Determination of moisture and other volatile matter content | ISO 6496:1999 |
|  | 2. Determination of crude ash | ISO 5984:1978 |
|  | 3. Determination of nitrogen content | ISO 5983-1:2005 (Kjeldahl) |
|  | 4. Determination of total fat content | ISO 6492:1999 |
|  | 5. Determination of crude fibre content | ISO 6865:2000 |
| 10. Olive Oil, Olive Pomace oils | 1. Determination of Acidity | COI/T20/DOC No34 |
|  | 2. Determination of Peroxide value | COI/T20/DOC No35 |
|  | 3. Absorption coefficient K (for λ=232 nm and 268 nm) and Absorption coefficient difference (ΔΚ) | COI/T20/DOC No19 |
|  | 4. Determination of moisture content and volatile in animal and vegetable fats and oils | ISO 662:2016 |
| 11. Vegetable fats and oils | Determination of methyl esters of fatty acids by Gas Chromatography | Commission Regulation (EEC) 2568/91 & COI/T.20/Doc. No 33 as in force |
| 12. Honey | 1. Determination of Moisture | HARMONISED METHODS OF THE INTERNATIONAL HONEY COMMISSION (2009) |
|  | 2. Determination of electrical conductivity |  |
|  | 3. Determination of Diastase Activity | HARMONISED METHODS OF THE INTERNATIONAL HONEY COMMISSION (2009) Method 6.1 |
|  | 4. Determination of Hydroxymethylfurfural (HMF) | HARMONISED METHODS OF THE INTERNATIONAL HONEY COMMISSION (2009) Method 5.2 |
|  | 5. Determination of thymus pollen grains in honey | In house Method, based on Methods of the International Honey Commission [Apidologie 35 (Suppl.1) (2004)], by Microscope Method Code |
|  | 6. Determination of Sugars: (fructose, glucose, sucrose) | HARMONISED METHODS OF THE INTERNATIONAL HONEY COMMISSION (2009) Method 7.2 |
|  | 7. Determination of pH and of free acidity | HARMONISED METHODS OF THE INTERNATIONAL HONEY COMMISSION (2009), Method 4.0 |
| 13. Food | Determination of Sugars: (fructose, glucose, sucrose, lactose) | In house Method, based on AOAC 980.13, 982.14 και 977.20 |
| 14. Food (Milk & milk products – Meat and meat products) | Determination of Fatty Acids by Gas Chromatography | In house Method, based on: ISO 16958:2015 ISO 15885:2002 ISO 12966-4:2015 |
| Microbiological tests |
| 1. Food and animal feeding stuffs | 1. Detection of Salmonella spp. except S. typhi and paratyphi | ISO 6579-1:2017 |
|  | 2. Detection of Listeria spp και Listeria monocytogenes | ISO 11290-1:2017 |
|  | 3. Enumeration of beta-glucuronidase-positive Escherichia coli | ISO 16649-2:2001 |
|  | 4. Enumeration of coagulase-positive staphylococci (Staphylococcus aureus and other species) | ISO 6888-2:1999/Amd1:2003 |
|  | 5. Enumeration of culturable micro-organisms at 30οC | ISO 4833-1:2013 |
|  | 6. Enumeration of Listeria spp και Listeria monocytogenes | ISO 11290-2:2017 |
|  | 7. Enumeration of coliforms | ISO 4832:2006 |
|  | 8. Enumeration of Enterobacteriaceae | ISO 21528-2:2004 |
|  | 9. Enumeration of Clostridium perfringens | ISO 7937:2004 |
|  | 10. Enumeration of lactic acid bacteria at 30οC | ISO 15214:1998 |
|  | 11. Detection of Campylobacter spp. | ISO 10272-1:2017 |
|  | 12. Detection and enumeration of Campylobacter spp. | ISO 10272-2:2017 |
| 2. Food and animal feeding stuffs with aw> 0,95 | Enumeration of yeasts and moulds | ISO 21527-1:2008 |
| 3. Food and animal feeding stuffs with aw ≤ 0,95 | Enumeration of yeasts and moulds | ISO 21527-2:2008 |
| 4. Raw milk | 1. Detection of antimicrobial residues [β-lactames (amoxicillin, ampicillin, cephalexin, cephapirin, desacetylcefapirin, cefapirin benzathin, cephalonium, ceftiofur, cefazolin, cefoperazone, cloxacillin, oxacillin, nafcillin, penethamate, penicillin G), sulfonamides (sulfadiazine,sulfadimethoxine, sulfadoxine, sulfamethoxypyridazine, sulfathiazole), tetracyclines (chlorotetracycline, doxycycline, tetracycline, oxytetracycline], macrolides (tylosin, lincomycin), aminoglycosides (gentamicin, neomycin), dapsone, rifaximin] | Diffusion method, ECLIPSE 4G |
|  | 2. Enumeration of somatic cells | ISO 13366-1:2008/COR 1:2009 |
| 5. Potable water, surface water and swimming pool water Water with low background (Matrix A) | Detection and enumeration of Legionella spp. | ISO 11731:2017 procedures 5, 7 Media Α ISO 11731:2017 procedures 8, 9, 10 Media Α and B |
| 6. Potable water, surface water and swimming pool water Water with high background (Matrix B) | Detection and enumeration of Legionella spp. | ISO 11731:2017 procedures 8, 9, 10 Media C |
| 7. Potable water, surface water and swimming pool water | 1. Enumeration of culturable micro-organisms at 22οC and 36οC | ISO 6222:1999 |
|  | 2. Detection and enumeration of Pseudomonas aeruginosa | ISO 16266:2006 |
|  | 3. Enumeration of Escherichia coli and coliform bacteria for waters with low bacterial counts | ISO 9308-1:2014/Amd 1:2016 |
|  | 4. Detection and enumeration of intestinal enterococci | ISO 7899-2:2000 |
|  | 5. Detection of Salmonella spp | ISO 19250:2010 |
|  | 6. Enumeration of Clostridium. perfringens | ISO 14189:2013 |
|  | 7. Detection and enumeration of Fecal Coliforms | APHA* 9222D |
| 8. Sea water | 1. Enumeration of Total Coliforms bacteria | ISO 9308-1:2014/Amd 1:2016 |
|  | 2. Enumeration of Escherichia coli | ISO 9308-1:2014/Amd 1:2016 |
|  | 3. Detection and enumeration of intestinal enterococci | ISO 7899-2:2000 |
|  | 4. Detection of Salmonella spp | ISO 19250:2010 |
| 9. Water for hemodialysis and relevant treatments | 1. Enumeration of total culturable microorganisms at 20°C | ISO 23500-3:2019 |
|  | 2. Determination of Bacterial Endotoxins | European pharmacopoeia 2.6.14. Method Α (gel clot: limit test), Method Β (gel clot: quantitative) |
| 10. Wastewater & Wastes, Surface Water | 1. Detection and enumeration of Escherichia coli | ISO 9308-3:1998 |
|  | 2. Detection and enumeration of Total Coliforms | APHA* 9222B |
|  | 3. Detection and enumeration of intestinal enterococci | ISO 7899-2:2000 |
|  | 4. Detection of Salmonella spp | ISO 19250:2010 |
|  | 5. Detection and enumeration of Fecal Coliforms | APHA* 9222D |
| 11. Animal faeces and environmental samples from the primary production stage | Detection of Salmonella spp. except S. typhi and paratyphi | ISO 6579-1:2017 |
| Sampling |
| 1. Waters from lakes and swimming pools, drinking waters, marine waters, waste waters | 1. Determination of chemical parameters | ISO 5667-1:2020 ISO 5667-3:2018 ISO 5667-4:2016 ISO 5667-5:2006 ISO 5667-9:1992 ISO 5667-10:2020 ISO 5667-11:2009 ISO 5667-14:2014 |
|  | 2. Microbiological investigations | ISO 19458:2006 ISO 5667-1:2020 ISO 5667-3:2018 ISO 5667-4:2016 ISO 5667-5:2006 ISO 5667-9:1992 ISO 5667-10:2020 ISO 5667-11:2009 ISO 5667-14:2014 Οδηγία 2006/7/ΕΚ |
| 2. Samples from surfaces using swabs | Horizontal methods for sampling techniques for microbiology tests | ISO 18593:2018 |

*American Public Health Association, American Water Works Association, Water Environment Federation, “Standard Methods for the Examination of Water and Wastewater”, 23rd Edition, 2017.

Site of assessment: Laboratory permanent premises, 2 Μ. Eleftheriadis Str., GR-71601, Ν.  Alikarnassos, Heraklion, Greece.

Approved signatories: A. Stefanakis, A. Ftylaki

This scope of Accreditation replaces the previous one dated 27.10.2022.

The Accreditation Certificate No. 518-4, to ELOT EN ISO/IEC 17025:2017, is valid until 03.03.2025.

Athens, 11.01.2024

Christos Nestoras

CEO of ESYD