Hellenic Accreditation System

Annex F1/8 to the Certificate No. 887-4

SCOPE of ACCREDITATION

of the

Testing & Calibration Laboratory

of

METRISIS CALIBRATIONS P.C.

for the performance of tests

| Materials / Products to be tested | Types of test / Properties to be measured | Applied methods / Techniques to be used |
| --- | --- | --- |
| Performance tests of UV-Vis spectrophotometers |
| Visible and ultra-violet spectrophotometers (UV-Vis) in the range 200 nm to 900nm | Baseline stability 200 nm to 900 nm | ASTM E 275-08(2022) Testing is also performed on-site. |
|  | Stray light 279 nm, 465 nm | European Pharmacopoeia Edition 10.0 Jan 2020, 2.2.25 Testing is also performed on-site. |
|  | Resolution A268,8/A266,8 |  |
|  | Wavelength accuracy (Holmium filter) 230 nm to 640 nm Wavelength accuracy (Didymium filter) 330 nm to 880 nm |  |

Site of assessment: Permanent premises, 95 Lambrou Katsoni str, 183 44, Moschato, Piraeus.

Approved Signatories: C. Konstantopoulos, G. Fardis.

This Scope of Accreditation replaces the previous one dated 16.03.2022.

The Accreditation Certificate No. 887-4, to ELOT EN ISO/IEC 17025:2017, is valid until 29.09.2025.

Athens, 16.05.2022

Christos Nestoras

CEO of ESYD