# Hellenic Accreditation System

Annex G1/7 to the Certificate No. 947-6 SCOPE of ACCREDITATION of the Clinical Laboratory of AFFIDEA OF SPARTA Private Multimodality Medical Single Member S. A.

| Materials/Products tested | Types of test/Properties measured | Applied methods/Techniques used |
| --- | --- | --- |
| Biochemical Tests |
| 1. Blood serum Blood serum (continued) | Determination of 27 parameters | Automated biochemical analyzer COBAS Integra 400 plus, Roche* |
|  | 1. Glucose | Enzymatic Chromatometric method GOD-PAP ΟΕ 504-11, Έκδοση 2/14.7.16 |
|  | 2. Triglycerides | Enzymatic Chromatometric method GPO – PAP ΟΕ 504-11, Έκδοση 2/14.7.16 |
|  | 3. Total Cholesterol | Enzymatic method CHOD – PAP ΟΕ 504-11, Έκδοση 2/14.7.16 |
|  | 4. VLDL-Cholesterol | Calculated method ΟΕ 504-11, Έκδοση 2/14.7.16 |
|  | 5. HDL-Cholesterol | Enzymatic Chromatometric reaction ΟΕ 504-11, Έκδοση 2/14.7.16 |
|  | 6. Uric acid | Enzymatic Chromatometric method uricase/peroxidase ΟΕ 504-11, Έκδοση 2/14.7.16 |
|  | 7. Urea | Kinetic Enzymatic method / UV ΟΕ 504-11, Έκδοση 2/14.7.16 |
|  | 8. Creatinine | Kinetic Enzymatic method - JAFFE METHOD ΟΕ 504-11, Έκδοση 2/14.7.16 |
|  | 9.Total Bilirubin | Photometric method UV Liquid DPD ΟΕ 504-11, Έκδοση 2/14.7.16 |
|  | 10. Direct Bilirubin | Photometric method UV ΟΕ 504-11, Έκδοση 2/14.7.16 |
|  | 11.Calcium | Photometric method -5NITRO-5METHYL- BAPTA ΟΕ 504-11, Έκδοση 2/14.7.16 |
|  | 12.Phosphorus | Photometric method end point PHOSPHOMOLYBDADE ΟΕ 504-11, Έκδοση 2/14.7.16 |
|  | 13.Iron | Colorimetric method /FERROZINE ΟΕ 504-11, Έκδοση 2/14.7.16 |
|  | 14. Amylase | Enzymatic colorimetric method liquid acc to IFCC ΟΕ 504-11, Έκδοση 2/14.7.16 |
|  | 15. Magnesium | Chromatometric method ΟΕ 504-11, Έκδοση 2/14.7.16 |
|  | 16.Total Protein | Colorimetric method BIURET ΟΕ 504-11, Έκδοση 2/14.7.16 |
|  | 17. Albumin | Photometric method BROMOCRESOL GREEN ΟΕ 504-11, Έκδοση 2/14.7.16 |
|  | 18.Serum glutamic-oxaloacetic transaminase (SGOT) | Photometric method UV / IFCC** without P-S-P ΟΕ 504-11, Έκδοση 2/14.7.16 |
|  | 19. Serum glutamic-pyruvic transaminase (SGPT) | Photometric method UV / IFCC** without P-S-P ΟΕ 504-11, Έκδοση 2/14.7.16 |
|  | 20.Gamma-glutamyl trasferase (GGT) | Enzymatic Colorimetric method GCNA- Liquid stand SZΑSZ ΟΕ 504-11, Έκδοση 2/14.7.16 |
|  | 21.Alkaline phosphatase (ALP) | Colorimetric method liquid acc to IFCC** ΟΕ 504-11, Έκδοση 2/14.7.16 |
|  | 22.Creatinine kinase (CPK) | Photometric method liquid acc to IFCC** ΟΕ 504-11, Έκδοση 2/14.7.16 |
|  | 23.Lactate dehydrogenase (LDH) | Photometric method UV/optimized (DGKC***) ΟΕ 504-11, Έκδοση 2/14.7.16 |
|  | 24. Globulins | Calculated method ΟΕ 504-11, Έκδοση 2/14.7.16 |
|  | 25. Atheromatic index | Calculated method ΟΕ 504-11, Έκδοση 2/14.7.16 |
|  | 26. A/G ratio | Calculated method ΟΕ 504-11, Έκδοση 2/14.7.16 |
|  | 27. Total lipids | Calculated method ΟΕ 504-11, Έκδοση 2/14.7.16 |
| 1. Blood serum | Determination of 2 parameters | Automated analyzer ELECTROLYTE 9180, Roche* |
|  | 1. Potassium | ISE method ΟΕ 504-11, Έκδοση 2/14.7.16 |
|  | 2. Sodium | ISE method ΟΕ 504-11, Έκδοση 2/14.7.16 |
| Hematological Tests |
| Whole blood | Determination of 8 parameters | Automated analyzer SYSMEX XS 1000-i* |
|  | 1. White Blood Cells (WBC) | Flow Cytometry with fluorescence ΟΕ 504-11, Έκδοση 2/14.7.16 |
|  | 2. Red Blood Cells (RBC) | Hydrodynamic Focusing (DC Detection) ΟΕ 504-11, Έκδοση 2/14.7.16 |
|  | 3. Hemoglobin (HGB) | Photometry ΟΕ 504-11, Έκδοση 2/14.7.16 |
|  | 4. Hematocrit (HCT) | Hydrodynamic Focusing (DC Detection) ΟΕ 504-11, Έκδοση 2/14.7.16 |
|  | 5. Mean Cell Volume (ΜCV) | Calculated method (DC Detection) ΟΕ 504-11, Έκδοση 2/14.7.16 |
|  | 6. Mean Cell Hemoglobin (MCH) | Calculated method (DC Detection) ΟΕ 504-11, Έκδοση 2/14.7.16 |
|  | 7. Mean corpuscular hemoglobin concentration (MCHC) | Calculated method (DC Detection) ΟΕ 504-11, Έκδοση 2/14.7.16 |
|  | 8. Platelets (PLTs) | Hydrodynamic Focusing (DC Detection) ΟΕ 504-11, Έκδοση 2/14.7.16 |
| Immunochemical Tests |
| 1. Blood serum | Determination of 11 parameters | Automated immunochemical analyzer COBAS e411, Roche* |
|  | Prolactin (PRL) | Electrochemiluminescense (ECLIA) ΟΕ 504-11, Έκδοση 2/14.7.16 |
|  | Follicle Stimulating Hormone (FSH) |  |
|  | Luteinizing Hormone (LH) |  |
|  | 4. Thyroxin total (Τ4) |  |
|  | 5. Triidothyronine total (T3) |  |
|  | 6. Free Triidothyronine total (Free T3) |  |
|  | 7. Free Thyroxin (Free T4) |  |
|  | 8. Ferritin |  |
|  | 9. Estradiol (E2) |  |
|  | 10. Total Prostate Specific Antigen (TPSA) |  |
|  | 11. Vitamin B12 |  |

*Reference to the commercial name of a specific analyzer/kit,  refers to a specific analytical method and protocol

# **IFCC: International Federation of Clinical Chemistry

***DGKC: Deutsche Geselschaft fur Klinische Chemie

# Site of assessment : Laboratory permanent premises, 80 Gortsologou str., Sparti.

# Approved signatories : George Stylianopoulos.

# This scope of Accreditation replaces the previous one dated 12.01.2021.

# The Accreditation Certificate No.947-6, to ELOT EN ISO 15189:2012, is valid until 17.11.2026.

# Athens, September 13, 2022

# Christos Nestoras

CEO of ESYD