Hellenic Accreditation System

Annex F2/14 to the Certificate No. 758-5 SCOPE of ACCREDITATION of the Pressure & Chemical Analysis Calibration Laboratories of the Hellenic Gas Transmission System Operator (DESFA) SA

| Calibration item / Parameters | Range of measurement | Expanded measurement uncertainty (k=2)* | Remarks |
| --- | --- | --- | --- |
| Pressure Measurements |
| Relative pressure measuring instruments of direct reading using air medium, analog and digital | (10 to 31] kPa | 5 Pa | Αccording to guide DKD-R 6-1:2014, using pressure calibrator. Calibration can be performed on-site. |
|  | (31 to 100] kPa | 160 parts per 106 |  |
|  | (100 to 420] kPa | 66 Pa |  |
|  | (420 to 1400] kPa | 160 parts per 106 |  |
|  | (1400 to 1800] kPa | 190 parts per 106 |  |
|  | (1800 to 2100] kPa | 343 Pa |  |
|  | (2100 to 7000] kPa | 190 parts per 106 |  |
|  | (7000 to 10000] kPa | 225 parts per 106 |  |
|  | (7 to 15,3] kPa | 0,62 Pa | According to guide DKD-R 6-1:2014, using pressure balance. |
|  | (15,3 to 350] kPa | 0,01 Pa + 40 parts per 106 |  |
|  | (350 to 2800] kPa | 0,1 Pa + 40 parts per 106 |  |
|  | (2800 to 11000] kPa | 0,1 Pa + 45 parts per 106 |  |
| Absolute pressure measuring instruments of direct reading using air medium, analog and digital | (35 to 420] kPa | 66 Pa | According to guide DKD-R 6-1:2014, using pressure calibrator. Calibration can be performed on-site. |
|  | (420 to 1400] kPa | 160 parts per 106 |  |
|  | (1400 to 1800] kPa | 190 parts per 106 |  |
|  | (1800 to 2100] kPa | 343 Pa |  |
|  | (2100 to 7000] kPa | 190 parts per 106 |  |
|  | (7000 to 10000] kPa | 225 parts per 106 |  |
|  | (7 to 15,3] kPa | 1 Pa | According to guide DKD-R 6-1:2014, using pressure balance. |
|  | (15,3 to 1750] kPa | 0,7 Pa + 40 parts per 106 |  |
|  | (1750 to 2800] kPa | 10 Pa + 40 parts per 106 |  |
|  | (2800 to 7000] kPa | 1,1 Pa + 45 parts per 106 |  |
|  | (7000 to 11000] kPa | 10 Pa + 45 parts per 106 |  |
| Chemical Measurements |
| Gas-chromatographs for natural gas analysis / Performance evaluation | amount fraction %mol/mol | amount fraction %mol/mol | According to ISO 10723:2012 Calibration can be performed on-site. |
|  | Methane [64 to 99,4] | 0,06 |  |
|  | Nitrogen [0,1 to 14] | 0,0035 + 0,40 % |  |
|  | Carbon dioxide [0,05 to 8] | 0,0005 + 0,30 % |  |
|  | Ethane [0,1 to 14] | 0,0010 + 0,30 % |  |
|  | Propane [0,05 to 8] | 0,0005 + 0,40 % |  |
|  | i-Butane [0,01 to 1,2] | 0,0005 + 0,40 % |  |
|  | n-Butane [0,01 to 1,2] | 0,0005 + 0,40 % |  |
|  | i-Pentane [0,005 to 0,5] | 0,0005 + 0,60 % |  |
|  | n-Pentane [0,005 to 0,5] | 0,0005 + 0,60 % |  |
|  | n-Hexane+ [0,005 to 0,35] | 0,0005 + 1,1 % |  |

* Where uncertainty (with a probability of 95% coverage) is accompanied by the corresponding unit, it is absolute, while where it is not accompanied by a unit, it is relative.

Calibration & Measurement Capability (CMC), includes the measured quantity, measurement range and measurement uncertainty and expresses the smallest measurement uncertainty that can be achieved during a calibration.

Permanent Laboratory premises address: Magoula, Patima Elefsinas, 19200, Elefsina

Approved signatories (for Pressure): I. Karantanas, E. Kaparakos.

Approved signatories (for Chemical):  I. Karantanas, K.Tsakou, N. M. Moneos.

This Scope of Accreditation replaces the previous one dated 16.01.2024.

The Accreditation Certificate No.758-5, to ELOT EN ISO/IEC 17025:2017, is valid until 27.07.2028.

Athens, 29.01.2024

Christos Nestoras                                                                                             CEO of ESYD