Hellenic Accreditation System

Annex F1/3 to the Certificate No. 960-3 SCOPE of ACCREDITATION of the National Reference Laboratory for Air Quality of Ministry of Environment & Energy for the performance of tests

| Tested materials / products | Types of test / Properties | Applied standards/ Techniques |
| --- | --- | --- |
| Sampling and Physical Τesting |
| Αmbient air | 1. Sampling and determination of PM10 fraction of suspended particulates | ΕLΟΤ ΕΝ 12341:2014 |
|  | 2. Sampling and determination of PM2.5 fraction of suspended particulates | ΕLΟΤ ΕΝ 12341:2014 |
| Performance Tests |
| Ozone analyzer, secondary ozone calibrator (transfer) | Air Quality-Determination of ozone in ambient air-Photometric method | ΕLΟΤ ISO 13964:1998 |

Site of assessment: Permanent laboratory premises, Patission St. 147, 11251 Athens, Greece.

Approved Signatories: E. Tsilibari, A. Adamopoulos.

The Accreditation Certificate No. 960-3, to ΕLΟΤ EN ISO/IEC 17025: 2017, is valid until 21.12.2027.

Athens, 30.11.2022.

Christos Nestoras

CEO of E.SY.D

Hellenic Accreditation System

Annex F 2/3 to the Certificate No. 960-3 SCOPE of ACCREDITATION of the National Reference Laboratory for Air Quality of Ministry of Environment & Energy for the performance of calibrations

| Measurand / Calibration item | Range of measurement | Calibration & Measurement Capability (k=2) | Remarks |
| --- | --- | --- | --- |
| Chemical Measurements |
| Gas mixtures (CO, NO, SO2) Determination of the composition of gas mixtures | NO, SO2:28-35 μmol/mol CO:900-1100 μmol/mol | CO, SO2<2% NO<4% | Internal Method ΜΔ.05 based on: ΕΛΟΤ ΕΝ 14211:2012 ΕΛΟΤ ΕΝ 14212:2012 ΕΛΟΤ ΕΝ 14626:2012 |

Site of assessment: Permanent laboratory premises, Patission St. 147, 11251 Athens, Greece.

Approved Signatories: E. Tsilibari, A. Adamopoulos.

The Accreditation Certificate No. 960-3, to ΕLΟΤ EN ISO/IEC 17025: 2017, is valid until 21.12.2027.

Athens, 30.11.2022.

Christos Nestoras

CEO of E.SY.D