Hellenic Accreditation System

| Annex F1/12 to the Certificate No. 241-5 SCOPE of ACCREDITATION of the Testing Laboratory ENVIRONMENTAL CENTRE οf REGIONAL GOVERNMENT of WESTERN MACEDONIA |
| --- |
| Tested materials/ products | Types of test/ Properties to be measured | Applied standards/ Techniques to be used |
| Chemical tests |
| Water (potable, surface and ground water) | 1.Determination of pH | APHA* 4500-H+ B, 23nd Edition, 2017 |
|  | 2.Determination of turbidity | APHA* 2130 Β, 23nd Edition, 2017 |
|  | 3.Determination of ΝΟ3- | APHA* 4500-ΝΟ3- Β, 23nd Edition, 2017 screening method |
|  | 4.Determination of ΝΟ2- | APHA* 4500-ΝΟ2- Β, 23nd Edition, 2017 |
|  | 5.Determination of ΝΗ4+ | APHA* Β 4500-ΝΗ3 F , 23nd Edition, 2017 |
|  | 6.Determination of Hardness | APHA* 2340 C, 23nd Edition, 2017 |
|  | 7.Determination of K+ | APHA* 3500-K 23nd Edition, 2017 with use of Flame Atomic Absorption Spectrometry |

| Tested materials/ products | Types of test/ Properties to be measured | Applied standards/ Techniques to be used |
| --- | --- | --- |
| Water (potable, surface and ground water) (continued) | 8.Determination of Na+ | APHA* 3500-Na, 23nd Edition, 2017 with use of Flame Atomic Absorption Spectrometry |
|  | 9.Determination of Fe | ISO 15586:2003 Graphite Furnace Atomic Absorption Spectrometry |
|  | 10.Determination of Mg | APHA* 3500-Mg, 23nd Edition, 2017 with use of Flame Atomic Absorption Spectrometry |
|  | 11.Determination of Cr | ISO 15586:2003 Graphite Furnace Atomic Absorption Spectrometry |
|  | 12.Determination of Ni | ISO 15586:2003 Graphite Furnace Atomic Absorption Spectrometry |
|  | 13.Determination of Al | ISO 15586:2003 Graphite Furnace Atomic Absorption Spectrometry |
|  | 14.Determination of Cu | ISO 15586:2003 Graphite Furnace Atomic Absorption Spectrometry |
|  | 15.Determination of Mn | ISO 15586:2003 Graphite Furnace Atomic Absorption Spectrometry |
|  | 16.Determination of Se | ISO 15586:2003 Graphite Furnace Atomic Absorption Spectrometry |
|  | 17.Determination of Cd | ISO 15586:2003 Graphite Furnace Atomic Absorption Spectrometry |
|  | 18.Determination of SΟ42- | Merck Method 064 (analogous to EPA 375.4 and APHA 4500-SΟ42- E) |
|  | 19.Determination of Cl- | Merck Methods 110 and 063 (analogous to EPA 325.1 and APHA 4500-Cl- E) |
| Sampling |
| Water (potable, water supply systems, surface and ground water) | Sampling for the determination of physicochemical and microbiological parameters | ISO 5667-1: 2006 ISO 5667-3: 2018 ISO 5667-5: 2006 ISO 5667-11: 2009 ISO 5667-4:2016, ISO 5667-6:2014 ISO19458:2006 |

*:American Public Health Association, American Water Works Association, Water Environment Federation, “Standard Methods for the examination of Water and Wastewater”, 23nd Edition, 2017

Site of assessment: Laboratory permanent premises, 1o klm Ptolemaidas-Kozanis.

Approved signatories: O. Poutachidou, A. Sfikas, K. Kotsona

This scope of Accreditation replaces the previous one dated 28.02.2018.

The Accreditation Certificate No 241-5, to ELOT EN ISO/IEC 17025:2017, is valid until 27.11.2021.

Athens ,14.09.2020

Spyridon Podaras

CEO of ESYD