Hellenic Accreditation System

| Annex G1/6 to the Certificate No. 1026-2 SCOPE of ACCREDITATION of the Clinical Laboratory of AFFIDEA OF KOZANI IMAGING Private Diagnostic Laboratory Medical Single Member S. A. |
| --- |
| Materials/Products tested | Types of test/Properties measured | Applied methods/Techniques used |
| Hematological Tests |
| Whole blood | Determination of 8 parameters | Automated analyzer SYSMEX XT 1800i |
|  | 1. White Blood Cells (WBC) | Flow Cytometry with fluorescence method ΟΕ 504-11, Έκδοση 2/14.7.16 |
|  | 2. Red Blood Cells (RBC) | Hydrodynamic Focusing (DC Detection) ΟΕ 504-11, Έκδοση 2/14.7.16 |
|  | 3. Hemoglobin (HGB) | Photometry ΟΕ 504-11, Έκδοση 2/14.7.16 |
|  | 4. Hematocrit (HCT) | Hydrodynamic Focusing (DC Detection) ΟΕ 504-11, Έκδοση 2/14.7.16 |
|  | 5. Mean Cell Volume (ΜCV) | Calculated based on specific equation (DC Detection) ΟΕ 504-11, Έκδοση 2/14.7.16 |
|  | 6. Mean Cell Hemoglobin (MCH) | Calculated based on specific equation (DC Detection) ΟΕ 504-11, Έκδοση 2/14.7.16 |
|  | 7. Mean corpuscular hemoglobin concentration (MCHC) | Calculated based on specific equation (DC Detection) ΟΕ 504-11, Έκδοση 2/14.7.16 |
|  | 8. Platelets (PLTs) | Hydrodynamic Focusing (DC Detection) ΟΕ 504-11, Έκδοση 2/14.7.16 |

*Reference to the commercial name of a specific analyzer/kit,  refers to a specific analytical method and protocol

IFCC: International Federation of Clinical Chemistry

DGKC: Deutsche Geselschaft fur Klinische Chemie

Site of assessment : Laboratory permanent premises, 21 M. Dimtsa str., Kozani

Approved signatories : Charalampos Rafailidis

This scope of Accreditation replaces the previous one dated 01.03.2024

The Accreditation Certificate No. 1026-2, to ELOT EN ISO 15189:2012, is extended until 03.07.2024

Athens, 02.05.2024

Christos Nestoras

CEO of ESYD