Hellenic Accreditation System

| Annex F1/10 to the Certificate No. 536-6 SCOPE of ACCREDITATION of the Laboratory for Physicochemical Testing of Soil-Water-Plant Tissues of the Institute of Soil and Water Resources of the Hellenic Agricultural Organization - Demeter |
| --- |
| Tested materials / products | Types of test / Properties | Applied standards/ Techniques |
| Soil Samples | 1. Determination of available nitrate nitrogen (ΝΟ3-Ν) | Modified validated in house method, OE-19-S, based on Meth. Soil. Anal.,1996* |
|  | 2. Determination of pH in soil paste | Modified validated in house method, OE-12-S, based on Meth. Soil. Anal.,1996* |
|  | 3. Determination of total nitrogen | ISO 11261:1995 |
|  | 4. Determination of available zinc | In-house method, based on Meth. Soil. Anal.,1996* (OE-28-S) |
| Water Water (continued) | 1. Determination of pH | ELOT 658:1983 |
|  | 2. Determination of electrical conductivity | ELOT ΕΝ 27888:1993 |
|  | 3. Determination of alkalinity | ELOT ΕΝ ISO 9963-1:1996 |
|  | 4. Determination of chloride ions | MOHR method, ISO 9297:1989 |
|  | 5. Determination of sodium | ISO 9964-3:1993 |
|  | 6. Determination of calcium | In house method based on APHA 2017** (OE-15-W) |
|  | 7. Determination of magnesium | In house method based on APHA 2017** (OE-16-W) |
|  | 8. Determination of dissolved manganese | ΕLΟΤ EN ISO 15586:2003 |
|  | 9. Determination of dissolved antimony | ΕLΟΤ EN ISO 15586:2003 |
|  | 10. Determination of dissolved boron | In-house method, based on Meth. Soil. Anal.,1996*, APHA 2017** (OE-27-W) |

* Soil Science of America, American Society of Agronomy, M.W.USA

** Standard Methods for the Examination of Water and Wastewater

Site of assessment : Laboratory permanent premises, Industrial Area Sindos, GR-574 00, Thessaloniki

Approved signatories : E. Hadjigiannakis, D. Tsekoura, H. Kalogianni

This Scope of Accreditation replaces the previous one dated 8.10.2021

The Accreditation Certificate No 536-6, to ΕLΟΤ ISO/IEC 17025: 2017, is valid until 09.04.2025

Athens, 15.11.2021

Spyridon Podaras

CEO of ESYD

# Text boxes

Chemical Testing