Hellenic Accreditation System

1st Annex F1A/15 to the Certificate No 244-7 SCOPE of ACCREDITATION of the Laboratory for Chemical Analysis of Medicines of the Division of Laboratories, National Organisation for Medicines

| Tested materials/products | Types of test/Properties | Applied standards/Techniques |
| --- | --- | --- |
| According to the monographs of current editions of European Pharmacopoeia (EP), Hellenic Pharmacopoeia (ΕΦ), British Pharmacopoeia (BP), United States Pharmacopoeia (USP) and approved validated methods of product files |
| Pharmaceutical starting materials and pharmaceutical products | Identification and assay of active substance Test for related substances of active substance | High Performance Liquid Chromatography (HPLC) – (DAD/PDA) (MEE 9001) |
|  | Identification and assay of active substance | Spectrophotometry UV-Vis (MEE 9003) |
|  | Identification of active substance Test for related substances of active substance | Thin Layer Chromatography (TLC) (MEE 9005) |
|  | Assay of active substance | Titrimetry (use of indicator) (MEE 9006) |
|  | Potentiometric determination of pH | General method 2.2.3 EP of (ΜEΕ 9008) |
| Single-dose pharmaceutical products | Test for uniformity of content | General method 2.9.6 EP using high performance liquid chromatography (HPLC) – (DAD/PDA) |
|  | Semi-micro determination of water | General method 2.5.12 EP (MEE 9011) |
| Physical tests |
| According to the monographs of current editions of European Pharmacopoeia (EP), Hellenic Pharmacopoeia (ΕΦ), British Pharmacopoeia (BP), United States Pharmacopoeia (USP) and approved validated methods of product files |
| Single-dose pharmaceutical products | Test for uniformity of mass / Test for average mass | General method 2.9.5 EP by weighing / specification of the product dossier |
| Tablets and capsules | Test for dissolution | General method 2.9.3 EP and assay of active substance with HPLC-(UV-Vis) or Spectrophotometry UV-Vis (MEE 9002) |
|  | Test for disintegration | General method 2.9.1 EP (ΜΕΕ 9010) |

Site of assessment: Permanent Laboratory premises, Mesogeion 284, Holargos, Athens

Approved signatories: V. Violakis, E. Kyriakopoulou, E.Barmpagianni, P.Karava

This scope of Accreditation replaces the previous one dated 16.02.2022.

The Accreditation Certificate No 244-7, to ELOT EN ISO/IEC 17025:2017, is valid until 07.03.2026.

Athens, 6.05.2022

Christos Nestoras

CEO of ESYD

Hellenic Accreditation System

2nd Annex F1B/15 to the Certificate No 244-7 SCOPE of ACCREDITATION of the Microbiological Laboratory of the Division of Laboratories, National Organization for Medicines

| Tested materials/products | Types of test/Properties | Applied standards/Techniques |
| --- | --- | --- |
| Microbiological tests |
| Sterile pharmaceutical products and medical devices | Sterility tests | General methods PH.EUR 2.6.1, USP/NF <71> (MEE 7001) |
|  | Test for bacterial endotoxins | General methods PH.EUR 2.6.14, Method A (gel-clot: limit test) and Method B (gel-clot: semi-quantitative test) USP/NF <85> and <161> (MEE 7006) |
| Non sterile pharmaceutical products and substances for pharmaceutical use | Test for microbial quality | General methods PH.EUR 2.6.12 and 2.6.13 (MEE 7002) |
| Foodstuffs intended for particular nutrition | Detection of Salmonella spp | EN ISO 6579-1:2017/ Amd 1:2020 excluding Annex D (serovars Typhi and Paratyphi) |
|  | Detection of Cronobacter spp | EN ISO 22964:2017 |

Site of asseseement: Permanent Laboratory premises, Mesogeion 284, Holargos, Athens

Approved signatories: V. Violakis, G. Bouziou, V. Birtsas.

This scope of Accreditation replaces the previous one dated 16.02.2022.

The Accreditation Certificate No 244-7, to ELOT EN ISO/IEC 17025:2017, is valid until 07.03.2026.

Athens, 6.05.2022

Christos Nestoras

CEO of ESYD

Hellenic Accreditation System

4th Annex F1D/15 to the Certificate No 244-7 SCOPE of ACCREDITATION of the Laboratory for Chemical Analysis of Feeding Stuffs, Dietary Products, Herbal Medicines of the Division of Laboratories, National Organization for Medicines

| Tested materials/products | Types of test/Properties | Applied standards/Techniques |
| --- | --- | --- |
| Chemical tests |
| According to the monographs of current editions of European Pharmacopoeia (EP), Hellenic Pharmacopoeia (ΕΦ), British Pharmacopoeia (BP) and United States Pharmacopoeia (USP) and approved validated methods of product files |
| Pharmaceutical starting materials used in veterinary medicinal products and veterinary medicinal products | Identification and Assay of active substance | Spectrophotometry UV-Vis (MEE 9003) |
|  | Assay of active substance | Titrimetry (use of indicator) (MEE 9006) |
|  | Identification and Assay of active substance | High Performance Liquid Chromatography (HPLC) – (DAD/PDA) |
| Physical tests |
| According to the monographs of current editions of European Pharmacopoeia (EP), Hellenic Pharmacopoeia (ΕΦ), British Pharmacopoeia (BP) and United States Pharmacopoeia (USP) and approved validated methods of product files |
| Single-dose veterinary medicinal products | Test of uniformity of mass | General method 2.9.5 EP by weighing (ΜΕΕ 9009) |

Site of assessment: Permanent Laboratory premises, Mesogeion 284, Holargos, ATHENS

Approved signatories:  V. Violakis, K.Fakinou.

This scope of Accreditation replaces the previous one dated 16.02.2022.

The Accreditation Certificate No 244-7, to ELOT EN ISO/IEC 17025:2017, is valid until 07.03.2026.

Athens, 6.05.2022

Christos Nestoras

CEO of ESYD

Hellenic Accreditation System

5th Annex F1E/14 to the Certificate No 244-7 SCOPE of ACCREDITATION of the Biological and Toxicological Laboratory of the Division of Laboratories, National Organisation for Medicines

| Tested materials/products | Types of test/Properties | Applied standards/Techniques |
| --- | --- | --- |
| According to the monographs of current editions of Hellenic Pharmacopoeia (ΕΦ), British Pharmacopoeia (BP), United States Pharmacopoeia (USP) |
| Pharmaceutical starting materials and pharmaceutical products | Identification and assay of active substance | Spectrophotometry UV-Vis (MEE 9003) |
|  | Test for related substances of active substance | Thin Layer Chromatography (TLC) (MEE 9005) |
| According to the monographs of current editions of Hellenic Pharmacopoeia (ΕΦ), British Pharmacopoeia (BP), United States Pharmacopoeia (USP) |
| Single-dose pharmaceutical products | Test for uniformity of mass / Test for average mass | General method 2.9.5 EP by weighing (ΜΕΕ 9009) / specification of the product dossier |
| Tablets and capsules | Test for dissolution | General method 2.9.3 EP and assay of active substance with HPLC-(DAD/PDA) or Spectrophotometry UV-Vis (MEE 9002) |
| Tablets and capsules | Test for disintegration | General method 2.9.1 EP (ΜΕΕ 9010) |

Site of assessment: Permanent Laboratory premises, Mesogeion 284, Holargos, Athens

Approved signatories: V. Violakis, G.Volikakis. P. Nikolaou.

This scope of Accreditation replaces the previous one dated 16.02.2022.

The Accreditation Certificate No 244-7, to ELOT EN ISO/IEC 17025:2017, is valid until 07.03.2026.

Athens, 6.05.2022

Christos Nestoras

CEO of ESYD

Hellenic Accreditation System

6th Annex F1F/15 to the Certificate No 244-7 SCOPE of ACCREDITATION of the Laboratory for Chemical Analysis of Cosmetics and Other Products of the Division of Laboratories, National Organisation for Medicines

| Tested materials/products | Types of test/Properties | Applied standards/Techniques |
| --- | --- | --- |
| Chemical tests |
| Cosmetic products | Identification and determination of 2-phenoxy-ethanol, methyl-, propyl-, and butyl-4-hydroxybenzoate (parabens) | Annex /7th Commision directive 96/45/EC High performance liquid chromatographic (HPLC)-(DAD/PDA) (ΜΕΕ 6005) |
|  | Identification and determination of benzoic acid, 4-hydroxybenzoic acid, salicylic acid, sorbic acid | Annex/ 6th directive 95/32 EC High performance liquid chromatographic (HPLC)-(DAD/PDA) (ΜΕΕ 6006) |
| Physical tests |
| Medical gloves for single use | Requirements and testing for freedom from holes | ELOT EN 455-1:2020 (ΜΕΕ 6011) |
| Natural rubber latex male condoms | Determination of bursting volume and pressure | ISO 4074:2015 (ΜΕΕ 6003) |

Site of assessment: Permanent Laboratory premises, Mesogeion 284, Holargos, Athens

Approved signatories: V. Violakis, K. Venetsanou.

This scope of Accreditation replaces the previous one dated 16.02.2022.

The Accreditation Certificate No 244-7, to ELOT EN ISO/IEC 17025:2017, is valid until 07.03.2026.

Athens, 6.05.2022

Christos Nestoras

CEO of ESYD

# Text boxes

Chemical tests

Chemical tests

Physical tests