Hellenic Accreditation System

Annex F2/1 to the Certificate No. 1051 SCOPE of ACCREDITATION of Specialty Gases Laboratory of Linde Hellas Single Person Limited Liability Company for the performance of calibrations

| Measurand / Calibration item | Range of measurement | Calibration & Measurement Capability (k=2) | Remarks |
| --- | --- | --- | --- |
| Chemical Μeasurements |
| Gas Mixture (CO , CO2 , C3H8 ) Defining composition of gas mixture in cylinders | amount fraction %mol/mol | relative uncertainty | In house method using Gas Chromatography GC/TCD/FID Method code OE 504A-1 |
|  | Carbon Monoxide | [1*10-4-20] | 3,0% |  |
|  | Propane | [1,3*10-4-0,1] | 3,0% |  |
|  | Carbon Dioxide | [1*10-4-0,1] | 3,0% |  |

Site of assessment: Permanent laboratory premises, Mandra ,Thesi Trypio LIthari,Attica,Greece.

Approved Signatories: G. Karlos.

The Accreditation Certificate No. 1051, to ΕLΟΤ EN ISO/IEC 17025: 2005, is valid until 18.07.2020.

Athens, July 19th, 2020

Ioannis Sitaras

Director of the Laboratories Accreditation Division