Hellenic Accreditation System

| Annex F1/14 to the Certificate No. 383-5 SCOPE of ACCREDITATION of the Testing Laboratory of Analytical Instruments S.Α. |
| --- |
| Materials / Products to be tested | Types of test / Properties to be measured | Applied methods / Techniques to be used |
| Performance tests of spectrophotometers |
| Visible and ultraviolet spectrophotometers (UV-Vis) | Linearity at wavelength 230 nm to 700 nm | ASTM E 275-08(2022) |
|  | Stray light (220 nm, 340 nm, 370 nm) | ASTM E 387-04(2014) and European Pharmacopoeia method 2.2.25 Absorption Spectrophotometry, Ultraviolet and Visible (Edition 10). |
|  | Resolution (A269/A266) | European Pharmacopoeia method 2.2.25 Absorption Spectrophotometry, Ultraviolet and Visible (Edition 10). |
| Infrared spectrometers (FT-IR) | Stability test: Baseline noise and drift test, short term stability test. Wavelength accuracy, signal averaging test, wavelength resolution and photometric jitter. Wavelength range 10000 cm-1 to 100 cm-1 Transmittance range 0 to 100% Absorption range 0 to 2 (AU) | ASTM E 1421-99(2021) και European Pharmacopoeia method 2.2.24 Absorption Spectrophotometry, Infrared (Edition 10). |

Site of assessment: Permanent laboratory premises, 9, Tzavella Str., 152 31 Chalandri, Attiki, Greece.

Approved Signatory: Charalambos Perdikis.

This Scope of Accreditation replaces the previous one dated 06.09.2023.

The Accreditation Certificate No. 383-5, to ELOT EN ISO/IEC 17025:2017, has been extended according to ESYD’s decision and it is valid until 23.06.2024.

Athens, 21.03.2024

Christos Nestoras

CEO of ESYD