Hellenic Accreditation System

Annex G1/2 to the Certificate No. 1108 SCOPE of ACCREDITATION of the Analysis of Circulating Tumor Cells lab of the Department of Chemistry, of the National and Kapodistrian University of Athens

| Tested materials/ products | Types of test/ Properties to be measured | Applied Standards/ Techniques to be used |
| --- | --- | --- |
| Biological testing |
| 1. Peripheral blood, plasma (EDTA), (Liquid Biopsy) | 1. Detection of somatic mutations in exons 18, 19, 20, και 21 of the EGFR gene in patients with Non-Small Cell Lung cancer (NSCLC) CE-IVD approved FDA cleared assay EGFR MUTATIONS G719X (2156G>C, 2155G>A, 2155G>T) Ex19Del: 2240_2251del12, 2239_2247del9, 2238_2255del18, 2235_2249del15, 2236_2250del15, 2239_2253del15, 2239_2256del18, 2237_2254del18 2240_2254del15, 2240_2257del18, 2239_2248TTAAGAGAAG>C, 2239_2251>C, 2237_2255>T, 2235_2255>AAT, 2237_2252>T, 2239_2258>CA, 2239_2256>CAA, 2237_2253>TTGCT, 2238_2252>GCA, 2238_2248>GC, 2237_2251del15, 2236_2253del18, 2235_2248>AATTC, 2235_2252>AAT, 2235_2251>AATTC, 2253_2276del24, 2237_2257>TCT, 2238_2252del15, 2233_2247del15 | Cobas z 480 Analyzer, ROCHE DIAGNOSTICS* Real time PCR for the semi-quantitative measurement of mutations. COBAS® EGFR Mutation Test v2 For cfDNA isolation Cat.No: 07573758001-06EN Doc. Rev. 5.0 For PCR: 07340761001-09EN Doc. Rev. 6.0 CE-IVD approved FDA cleared assay ΟΕ 504-Α3 V2, 19.12.2019 |
| Tested materials/ products | Types of test/ Properties to be measured | Applied Standards/ Techniques to be used |
| 1. Peripheral blood, plasma (EDTA), (Liquid Biopsy) cont. | S768I (2303G>T) T790M (2369C>T) Ex20Ins 2307_2308ins9GCCAGCGTG, 2319_2320insCAC, 2310_2311insGGT, 2311_2312ins9GCGTGGACA, 2309_2310AC>CCAGCGTGGA L858R 2573T>G, 2573_2574TG>GT L861Q (2582T>A) | Cobas z 480 Analyzer, ROCHE DIAGNOSTICS* Real time PCR for the semi-quantitative measurement of mutations. COBAS® EGFR Mutation Test v2 For cfDNA isolation Cat.No: 07573758001-06EN Doc. Rev. 5.0 For PCR: 07340761001-09EN Doc. Rev. 6.0 CE-IVD approved FDA cleared assay ΟΕ 504-Α3 V2, 19.12.2019 |
| 2. Peripheral blood (Cellsave Preservative Tubes) (Liquid Biopsy) | Identification and enumeration of Circulating Tumor Cells (CTCs) | CELLSEARCH SYSTEM CIRCULATING TUMOR CELL KIT, MENARINI SILICON BIOSYSTEMS * CELLSEARCH® Circulating Tumor Cell Epithelial Kit (IVD) e631600006 V 2017-10 CE-IVD approved FDA cleared assay CELLSEARCH® Circulating Tumor Cell Control Kit (IVD) e631600016 V 2017-10 CellSave Preservative Tube (IVD) e631600046 V 2017-10 ΟΕ-504-Α1 –V2 ΟΕ-504-Α2 –V2 |

*Reference to the commercial name of a specific analyzer/kit,  refers to a specific analytical method and protocol

Site of assessment: Laboratory permanent premises: Department of Chemistry, National and Kapodistrian University of Athens, University Campus, 157 71 Zografou, Attiki, Greece.

Approved signatory: E. Lianidou

This Scope of Accreditation replaces the previous one dated 28.12.2017

The Accreditation Certificate No. 1108, to ELOT EN ISO 15189:2012, is extended until 27.06.2022

Athens, 22.12.2021 																																											Konstantinos Kourtalis

Chairman of ESYD