Hellenic Accreditation System Annex G1/A10 to the Certificate No. 898-5 SCOPE of ACCREDITATION of the Clinical Laboratory of KYTTARO IATRIKI LTD

| Materials/Products tested | Types of test/Properties measured | Applied methods/Techniques used |
| --- | --- | --- |
| Biochemical Tests |
| Blood serum Blood serum (continued) | Determination of 45 parameters | Automated immunobiochemical analyzer Alinity ci, Abbott* (catalogue Ε.550-1_8-12-2022) |
|  | 1. Glucose (GLU) | Enzymatic (Hexokinase) |
|  | 2. Urea (UREA) | Kinetic - Enzymatic (urease) |
|  | 3. Urea Nitrogen | Calculated from Urea |
|  | 4. Creatinine (CREA) | Kinetic – Colorimetric (Jaffè) |
|  | 5. Sodium (Na) | Ion Selective Electrode (ISE, indirect) |
|  | 6. Potassium (K) | Ion Selective Electrode (ISE, indirect) |
|  | 7. Cloride (Cl) | Ion Selective Electrode (ISE, indirect) |
|  | 8. Total Protein (TP) | Colorimetric method (Biuret) |
|  | 9. Albumin (ALB) | Colorimetric method (Bromcresol Green) |
|  | 10. Total Globulines | Calculated from Total Protein (TP) and Albumin (ALB) |
|  | 11. Albumin/Total Globulines Ratio | Calculate from Albumin and Total Globulines |
|  | 12. Triglycerides (TRIG) | Enzymatic - Colorimetric (GPO) |
|  | 13. Cholesterol Total (CHOL) | Enzymatic |
|  | 14. HDL-Cholesterol (HDLC) | Enzymatic - Colorimetric (ASD) |
|  | 15. VLDL Cholesterol (VLDL-C) | Calculated from Triglycerides (TRIG) |
|  | 16. LDL- Cholesterol (LDLC) | Calculated from Cholesterol Total (CHOL), Triglycerides (TRIG) and HDL-Cholesterol (HDLC). |
|  | 17. Total Lipids | Calculated from Cholesterol Total (CHOL) and Triglycerides (TRIG) |
|  | 18. Phospholipides | Calculated from Cholesterol Total (CHOL) |
|  | 19. Uric Acid (UA) | Enzymatic - Colorimetric (Uricase) |
|  | 20. Bilirubin Total (BILT) | Colorimetric (Diazonium Salt) |
|  | 21. Bilirubin Direct (BIL-D) | Colorimetric (Diazonium Salt) |
|  | 22. Bilirubin Indirect (BIL-I) | Calculated from Bilirubin Total (BILT) and Bilirubin Direct (BIL-D) |
|  | 23. Calcium (Ca) | Colorimetric (Arsenazo III) |
|  | 24. Phosphate (P) | Colorimetric (Phosphomolybdate UV) |
|  | 25. Magnesium (Mg) | Colorimetric (Enzymatic) |
|  | 26. Iron (Fe) | Colorimetric (Ferene) |
|  | 27. Aspartate Aminotranferase (AST/SGOT) | Enzymatic- Kinetic acc. IFCC** (NADH without P-5’-P) |
|  | 28. Alanine Aminotranferase (ALT/SGPT) | Enzymatic- Kinetic acc. IFCC** (NADH without P-5’-P) |
|  | 29. Alkaline Phosphatase (ALP) | Enzymatic–Colorimetric (p-NPP) |
|  | 30. Gamma-glutamyltransferase (GGT) | Enzymatic - Colorimetric (GCNA Liquid stand SZASZ) |
|  | 31. Lactate Dehydrogenase (LDH) | Enzymatic–Colorimetricacc. IFCC** |
|  | 32. Creatine Kinase (CKL) | Enzymatic–Photometric (NAC) |
|  | 33. Amylase (AMYL) | Enzymatic–Colorimetric (CNPG3) |
|  | 34. C-Reactive Protein (CRP) | Immunoturbidimetric |
|  | 35. Complement Factor C3 | Immunoturbidimetric |
|  | 36. Complement Factor C4 | Immunoturbidimetric |
|  | 37. Immunoglobulin IgG | Immunoturbidimetric |
|  | 38. Immunoglobulin IgM | Immunoturbidimetric |
|  | 39. Immunoglobulin IgA | Immunoturbidimetric |
|  | 40. Rheumatoid Factor (RF) | Immunoturbidimetric |
|  | 41. Antistreptolysin O (ASLOT) | Immunoturbidimetric |
|  | 42. Lipoprotein [Lp(a)] | Immunoturbidimetric |
|  | 43. β2-Microglobulin (Β2-Μ) | Immunoturbidimetric |
|  | 44. Atherogenic index | Calculated from Total Cholesterol and HDL-Cholesterol |
|  | 45. Serum osmolality | Calculated from Glucose, Urea and Na |
| Urine | Determination of 7 parameters | Automated immunobiochemical analyzer Alinity ci, Abbott* (catalogue Ε.550-1_8-12-2022) |
|  | 1. Calcium (Ca) | Colorimetric (Arsenazo III) |
|  | 2. Sodium (Na) | Ion Selective Electrode (ISE, indirect) |
|  | 3. Potassium (K) | Ion Selective Electrode (ISE, indirect) |
|  | 4. Cloride (Cl) | Ion Selective Electrode (ISE, indirect) |
|  | 5. Creatinine (CREA) | Kinetic – Colorimetric (Jaffè) |
|  | 6. Urine Total Protein | Benzethonium Chloride |
|  | 7. Urine Microalbumin | Turbidimetric/Immunoturbidimetric |
| Immunochemical Tests |
| Blood serum Blood serum (continued) | Determination of 22 parameters | Automated analyzer Atellica IM, SIEMENS* (catalogue Ε.550-1_8-12-2022) |
|  | 1. Thyroid_Stimulating_Hormone_3-Ultra (TSH3-UL) | Chemiluminescence (CLIA) |
|  | 2. Triidothyronine Total (T3) | Chemiluminescence (CLIA) (competitive) |
|  | 3. Thyroxin Total (T4) | Chemiluminescence (CLIA) (competitive) |
|  | 4. Triidothyronine Free (FT3) | Chemiluminescence (CLIA) (competitive) |
|  | 5. Thyroxin Free (FT4) | Chemiluminescence (CLIA) (competitive) |
|  | 6. Vitamine B12 | Chemiluminescence (CLIA) (competitive) |
|  | 7. Ferritin (FERRITIN) | Chemiluminescence (CLIA) 2-site sandwich |
|  | 8. Folate (FOLATE) | Chemiluminescence (CLIA) (competitive) |
|  | 9. Thyroglobulin Antibodies II (aTG II) | Chemiluminescence (CLIA) (competitive) |
|  | 10. Thyroid Peroxidase Antibodies (anti-TPO) | Chemiluminescence (CLIA) (competitive) |
|  | 11. Follicle Stimulating Hormone (FSH) | Chemiluminescence (CLIA) 2-site sandwich |
|  | 12. Luteinizing Hormone (LH) | Chemiluminescence (CLIA) 2-site sandwich |
|  | 13. Progesterone (PRGE) | Chemiluminescence (CLIA) (competitive) |
|  | 14. Prolactin (PRL) | Chemiluminescence (CLIA) (non-competitive sandwich) |
|  | 15. Enhanced Estradiol (eE2) | Chemiluminescence (CLIA) (competitive) |
|  | 16. Testosterone II (TSTII) | Chemiluminescence (CLIA) (competitive) |
|  | 17. Dehydroepiandrosterone sulfate DHEA-SO4 (DHEA-S) | Chemiluminescence (CLIA) (competitive) |
|  | 18. Sex hormone-binding globulin (SHBG) | Chemiluminescence (CLIA) 2-site sandwich |
|  | 19. Total hCG OUS (ThCG) | Chemiluminescence (CLIA)2-site sandwich |
|  | 20. Cortisol (CORT) | Chemiluminescence (CLIA)2-site sandwich |
|  | Total IGE (tIGE) | Chemiluminescence (CLIA)2-site sandwich |
|  | Intact Parathormone (PTH) | Chemiluminescence (CLIA) 2-site sandwich |
|  | Insulin (IRI) | Chemiluminescence (CLIA) 2-site sandwich |
|  | Free Androgen Index (FAI) | Calculated from Testosterone and SHBG |
|  | HOMA-IR Index (Homeostatic Model Assessment for Insulin Resistance) | Calculated from Insulin and Glucose |
| Blood serum | Drug Level Determination of 1 drug | Automated analyzer Αtellica IM, SIEMENS* (catalogue Ε.550-1_8-12-2022) |
|  | Digoxin (DIG) | Chemiluminescence (CLIA) (competitive) |
| Blood serum | Drug Level Determination of 1 drug | Automated analyzer Centaur XP, SIEMENS* (catalogue Ε.550-1_8-12-2022) |
|  | Valproic acid | Chemiluminescence (CLIA) (competitive) |
| Blood serum | Determination of 23 parameters | Automated immunobiochemical analyzer Alinity ci, Abbott* (catalogue Ε.550-1_8-12-2022) |
|  | 1. α1-Fetoprotein (AFP | Chemiluminescence Microparticle Immunoassay (CMIA) |
|  | 2. Carcinoembryonic Antigen (CEA) | Chemiluminescence Microparticle Immunoassay (CMIA) |
|  | 3. Cancer Antigen 19-9 (CA-19.9) | Chemiluminescence Microparticle Immunoassay (CMIA) |
|  | 4. Cancer Antigen 15-3 (CA-15.3) | Chemiluminescence Microparticle Immunoassay (CMIA) |
|  | 5. Cancer Antigen 125 (CA-125) | Chemiluminescence Microparticle Immunoassay (CMIA) |
|  | 6. Prostate Specific Antigen (PSA) | Chemiluminescence Microparticle Immunoassay (CMIA) |
|  | 7. Free Prostate Specific Antigen (FREE PSA) | Chemiluminescence Microparticle Immunoassay (CMIA) |
|  | 8. Ratio Free PSA/PSA | Calculated from PSA and Free PSA |
|  | 9. Detection of IgG antibodies to Rubella virus (RubellaIgG) | Chemiluminescence Microparticle Immunoassay (CMIA) |
|  | 10. Detection of IgM antibodies to Rubella virus (RubellaIgM) | Chemiluminescence Microparticle Immunoassay (CMIA) |
|  | 11. Detection of IgG antibodies to Cytomegalovirus (CMV IgG) | Chemiluminescence Microparticle Immunoassay (CMIA) |
|  | 12. Detection of IgM antibodies to Cytomegalovirus (CMV IgM) | Chemiluminescence Microparticle Immunoassay (CMIA) |
|  | 13. Detection of IgG antibodies to Toxoplasma gondii (TOXO IgG) | Chemiluminescence Microparticle Immunoassay (CMIA) |
|  | 14. Detection of IgM antibodies to Toxoplasma gondii (TOXOIgM) | Chemiluminescence Microparticle Immunoassay (CMIA) |
|  | 15. Detection of IgG antibodies to Epstein-Barr (EBV IgG) | Chemiluminescence Microparticle Immunoassay (CMIA) |
|  | 16. Detection of IgM antibodies to Epstein-Barr (EBV IgM) | Chemiluminescence Microparticle Immunoassay (CMIA) |
|  | 17. Detection of antibodies to hepatitis C virus (anti-HCV) | Chemiluminescence Microparticle Immunoassay (CMIA) |
|  | 18. Detection of HIV antigen p24 and antibodies to human immunodeficiency virus type 1 and/or type 2 (HIV1/HIV2) (HIVAg/AbCombo) | Chemiluminescence Microparticle Immunoassay (CMIA) |
|  | 19. Detection of surface antigen to hepatitis B (HBsAg Qual II) | Chemiluminescence Microparticle Immunoassay (CMIA) -2stages |
|  | 20. Detection of antibodies against the surface antigen of hepatitis B (Anti-HBs | Chemiluminescence Microparticle Immunoassay (CMIA)-2stages |
|  | 21. Detection antibodies against the core antigen of hepatitis B (Anti-HBc II) | Chemiluminescence Microparticle Immunoassay (CMIA)-2stages |
|  | 22. 25-hydroxy Vitamin D (25-OH VITAMIN D) | Chemiluminescence Microparticle Immunoassay (CMIA) |
|  | 23. Thyroglobulin (TG) | Chemiluminescence Microparticle Immunoassay (CMIA) |
| Blood plasma (EDTA) | Determination of 1 parameter | Automated analyzer ECOBAS 411, ROCHE* (catalogue Ε.550-1_8-12-2022) |
|  | Adrenocorticotropic hormone (ACTH) | Electrochemiluminescence (ECLIA) |
| Blood serum | Determination of 1 parameter | Automated analyzer ZENIT PRO * (catalogue Ε.550-1_8-12-2022) |
|  | Detection of Antinuclear antibodies | Indirect Immunofluorescence (IFA) |
| Blood serum | Determination of 1 parameter | Automated analyzer IMMULITE 2000, SIEMENS* (catalogue Ε.550-1_8-12-2022) |
|  | Calcitonin (CT) | Chemiluminescence (CLIA) |
| Blood serum Blood serum (continued) Blood serum (continued) Blood serum (continued) Blood serum (continued) Blood serum (continued) Blood serum (continued) | Determination of 202 parameters | 3gAllergy™ Specific IgE (Quantitative measurement of allergen specific IGE Universal Kit Automated analyzer IMMULITE 2000, SIEMENS* (catalogue Ε.550-1_8-12-2022) |
|  | Determination of 192 allergens (RAST): |
|  | 1.Rast D1 – Dermatophagoides PTERONYSIUS | Chemiluminescence (CLIA) |
|  | 2.Rast D2 - Dermatophagoides FARINAE | Chemiluminescence (CLIA) |
|  | 3.Rast F2 – cow milk | Chemiluminescence (CLIA) |
|  | 4.Rast M6 - ALTENARIA TENUIS | Chemiluminescence (CLIA) |
|  | 5.Rast Τ9 – olive | Chemiluminescence (CLIA) |
|  | 6.Rast F77 - Β-lactoglobulin | Chemiluminescence (CLIA) |
|  | 7.Rast F76 - Α-lactalbumin | Chemiluminescence (CLIA) |
|  | 8.Rast G2 – Bermuda grass | Chemiluminescence (CLIA) |
|  | 9.Rast F78 - casein | Chemiluminescence (CLIA) |
|  | 10.Rast Τ23 – Italian cypressΙ | Chemiluminescence (CLIA) |
|  | 11.Rast W19 - PARIET.OFFICINALIS | Chemiluminescence (CLIA) |
|  | 12.Rast G6 – timothy grass | Chemiluminescence (CLIA) |
|  | 13.Rast F1 – egg white | Chemiluminescence (CLIA) |
|  | 14.Rast E1 - Cat Dander-Epithelium | Chemiluminescence (CLIA) |
|  | 15.Rast E2 - DogEpithelium | Chemiluminescence (CLIA) |
|  | 16.Rast F75 – egg yolk | Chemiluminescence (CLIA) |
|  | 17.Rast M2 - CLADOSPORIUM HERBARUM | Chemiluminescence (CLIA) |
|  | 18.Rast M3 - ASPERGILLUS FUMIGATUS | Chemiluminescence (CLIA) |
|  | 19.Rast M1 - PENICILLIUM NOTATUM | Chemiluminescence (CLIA) |
|  | 20.Rast Τ11 - sycamore | Chemiluminescence (CLIA) |
|  | 21.Rast W21 - PARIET.JUDAICA | Chemiluminescence (CLIA) |
|  | 22.Rast F3 - codfish | Chemiluminescence (CLIA) |
|  | 23.Rast I1 - Honey Bee Venom | Chemiluminescence (CLIA) |
|  | 24.Rast F79 - gluten | Chemiluminescence (CLIA) |
|  | 25.Rast G12 - Cultivated Rye Grass | Chemiluminescence (CLIA) |
|  | 26.Rast H1 - House Dust—Greer | Chemiluminescence (CLIA) |
|  | 27.Rast Τ16 – White Pine | Chemiluminescence (CLIA) |
|  | 28.Rast I3 - Yellow Jacket Venom | Chemiluminescence (CLIA) |
|  | 29.Rast W6 - Mugwort | Chemiluminescence (CLIA) |
|  | 30.Rast F4 - Wheat | Chemiluminescence (CLIA) |
|  | 31.Rast F13 - Peanut | Chemiluminescence (CLIA) |
|  | 32.Rast C204 - AMOXYCILLIN (C56) | Chemiluminescence (CLIA) |
|  | 33.Rast G11 – Brome Grass | Chemiluminescence (CLIA) |
|  | 34.Rast H3 – house dust BENCARD | Chemiluminescence (CLIA) |
|  | 35.Rast F16 - walnut (F256) | Chemiluminescence (CLIA) |
|  | 36.Rast F17 - Hazelnut | Chemiluminescence (CLIA) |
|  | 37.Rast F27 - Beff | Chemiluminescence (CLIA) |
|  | 38.Rast C201 - CHEPHALOSPORIN (C7 η C55) | Chemiluminescence (CLIA) |
|  | 39.Rast F20 - Almond | Chemiluminescence (CLIA) |
|  | 40.Rast C1 - PENICILLIN G | Chemiluminescence (CLIA) |
|  | 41.Rast F52 - Chocolate(F105) | Chemiluminescence (CLIA) |
|  | 42.Rast C2 - PENICILLIN V | Chemiluminescence (CLIA) |
|  | 43.Rast G1 - Sweet Vernal Grass | Chemiluminescence (CLIA) |
|  | 44.Rast H2 – House Dust HOLLISTER STIER | Chemiluminescence (CLIA) |
|  | 45.Rast G3 – Orchard Grass | Chemiluminescence (CLIA) |
|  | 46.Rast G5 - Perennial Rye Grass | Chemiluminescence (CLIA) |
|  | 47.Rast I4 - Paper Wasp Venom | Chemiluminescence (CLIA) |
|  | 48.Rast W10 - Lamb’sQuarters | Chemiluminescence (CLIA) |
|  | 49.Rast W9 - ENGLISH PLANTAIN | Chemiluminescence (CLIA) |
|  | 50.Rast C203 - AMPICILLIN (C5 η C50) | Chemiluminescence (CLIA) |
|  | 51.Rast Τ3 - Birch | Chemiluminescence (CLIA) |
|  | 52.Rast I75 - European Hornet | Chemiluminescence (CLIA) |
|  | 53.Rast Τ14 - Cottonwood | Chemiluminescence (CLIA) |
|  | 54.Rast F44 - Strawberry | Chemiluminescence (CLIA) |
|  | 55.Rast I2 – White-faced Hornet | Chemiluminescence (CLIA) |
|  | 56.Rast D70 - Acarus SIRO | Chemiluminescence (CLIA) |
|  | 57.Rast F24 - Shrimp | Chemiluminescence (CLIA) |
|  | 58.Rast I5 - Yellow hornet | Chemiluminescence (CLIA) |
|  | 59.Rast F25 - Tomato | Chemiluminescence (CLIA) |
|  | 60.Rast F14 - Soybean | Chemiluminescence (CLIA) |
|  | 61.Rast Τ19 - Acacia | Chemiluminescence (CLIA) |
|  | 62.Rast E5 - Dog Dander | Chemiluminescence (CLIA) |
|  | 63.Rast F95 – Peach (F53) | Chemiluminescence (CLIA) |
|  | 64.Rast C307 - CIPROFLOXACIN (C108) | Chemiluminescence (CLIA) |
|  | 65.Rast F33 - Orange | Chemiluminescence (CLIA) |
|  | 66.Rast G4 – Meadow Fescue | Chemiluminescence (CLIA) |
|  | 67.Rast W8 - Dandelion | Chemiluminescence (CLIA) |
|  | 68.Rast F10 – Sesame seed | Chemiluminescence (CLIA) |
|  | 69.Rast F203 - Pistachio (F104) | Chemiluminescence (CLIA) |
|  | 70.Rast F92 - Banana (F29) | Chemiluminescence (CLIA) |
|  | 71.Rast Κ82 - LATEX | Chemiluminescence (CLIA) |
|  | 72.Rast W1 – Short Ragweed | Chemiluminescence (CLIA) |
|  | 73.Rast C217 - ACETYL SALIC.ACID(C51) | Chemiluminescence (CLIA) |
|  | 74.Rast F202 - Cashew | Chemiluminescence (CLIA) |
|  | 75.Rast H4 – House Dust ALLERGOPHARMA | Chemiluminescence (CLIA) |
|  | 76.Rast C211 - ΤETRACYCLINE (C205) | Chemiluminescence (CLIA) |
|  | 77.Rast F26 - Pork | Chemiluminescence (CLIA) |
|  | 78.Rast F333 – Honey (f247) | Chemiluminescence (CLIA) |
|  | 79.Rast F5 - Rye | Chemiluminescence (CLIA) |
|  | 80.Rast F83 – Chicken meat | Chemiluminescence (CLIA) |
|  | 81.Rast F9 - Rice | Chemiluminescence (CLIA) |
|  | 82.Rast C212 - ERYTHROMYCIN(C90) | Chemiluminescence (CLIA) |
|  | 83.Rast F180 - Sole Fish | Chemiluminescence (CLIA) |
|  | 84.Rast F37 – Blue Mussel | Chemiluminescence (CLIA) |
|  | 85.Rast F40 - Tuna | Chemiluminescence (CLIA) |
|  | 86.Rast F84 – Kiwi Fruit | Chemiluminescence (CLIA) |
|  | 87.Rast F18 – Brazil Nut | Chemiluminescence (CLIA) |
|  | 88.Rast F74 - Egg (F245) | Chemiluminescence (CLIA) |
|  | 89.Rast G8 – June Grass | Chemiluminescence (CLIA) |
|  | 90.Rast I6 - Cockroach | Chemiluminescence (CLIA) |
|  | 91.Rast C170 - CLARITHROMYCIN | Chemiluminescence (CLIA) |
|  | 92.Rast D3 – AcareaMIKROCERAS | Chemiluminescence (CLIA) |
|  | 93.Rast F31 - Carrot | Chemiluminescence (CLIA) |
|  | 94.Rast F35 - Potato | Chemiluminescence (CLIA) |
|  | 95.Rast F6 - Barley | Chemiluminescence (CLIA) |
|  | 96.Rast F65 - Lentil | Chemiluminescence (CLIA) |
|  | 97.Rast F7 - Oat | Chemiluminescence (CLIA) |
|  | 98.Rast F93 - Cacao | Chemiluminescence (CLIA) |
|  | 99.Rast G15 - Cultivated Wheat Grass | Chemiluminescence (CLIA) |
|  | 100.Rast C209 - PARACETAMOL (C85) | Chemiluminescence (CLIA) |
|  | 101.Rast C286 - IBUPROFEN | Chemiluminescence (CLIA) |
|  | 102.Rast D71 -LEPIDOGLYPHUS DESTRUCTOR | Chemiluminescence (CLIA) |
|  | 103.Rast E3 – Horse Dander | Chemiluminescence (CLIA) |
|  | 104.Rast F41 - Salmon | Chemiluminescence (CLIA) |
|  | 105.Rast F49 - Apple | Chemiluminescence (CLIA) |
|  | 106.Rast P1 - ASCARIS | Chemiluminescence (CLIA) |
|  | 107.Rast Τ27 – Red maple | Chemiluminescence (CLIA) |
|  | 108.Rast E82 - RabbitEpithelium | Chemiluminescence (CLIA) |
|  | 109.Rast F12 – Green Pea | Chemiluminescence (CLIA) |
|  | 110.Rast F210 - Pineaapple | Chemiluminescence (CLIA) |
|  | 111.Rast F8 - Corn | Chemiluminescence (CLIA) |
|  | 112.Rast F94 - Pear (F30) | Chemiluminescence (CLIA) |
|  | 113.Rast G10 - JOHNSON GRASS | Chemiluminescence (CLIA) |
|  | 114.Rast G9 – Red Top | Chemiluminescence (CLIA) |
|  | 115.Rast I71 - Mosquito | Chemiluminescence (CLIA) |
|  | 116.Rast M5 - CANDIDA ALBICANS | Chemiluminescence (CLIA) |
|  | 117.Rast Τ6 – Mountain Cedar | Chemiluminescence (CLIA) |
|  | 118.Rast C213 - GENTAMYCINE (C207) | Chemiluminescence (CLIA) |
|  | 119.Rast C223 - SULFAMETHOXAZOL(C58) | Chemiluminescence (CLIA) |
|  | 120.Rast C308 - CEFUROXIM | Chemiluminescence (CLIA) |
|  | 121.Rast D72 - TYROPHAGUS PUTRESCENYIAE | Chemiluminescence (CLIA) |
|  | 122.Rast E4 – Cow Dander | Chemiluminescence (CLIA) |
|  | 123.Rast F127 - Mushroom (F212) | Chemiluminescence (CLIA) |
|  | 124.Rast F34- Tangerine | Chemiluminescence (CLIA) |
|  | 125.Rast F45 - Baker’sYeast | Chemiluminescence (CLIA) |
|  | 126.Rast F47 - Garlic | Chemiluminescence (CLIA) |
|  | 127.Rast F48 - Onion | Chemiluminescence (CLIA) |
|  | 128.Rast F59 - Octopus | Chemiluminescence (CLIA) |
|  | 129.Rast F73 – Cherry (F242) | Chemiluminescence (CLIA) |
|  | 130.Rast F87 - Melon | Chemiluminescence (CLIA) |
|  | 131.Rast G14 - Cultivated Oat Grass | Chemiluminescence (CLIA) |
|  | 132.Rast G70 - WHILD RYE GRASS | Chemiluminescence (CLIA) |
|  | 133.Rast Κ20 – Sheep;swhool treated | Chemiluminescence (CLIA) |
|  | 134.Rast M4 - MUCOR RACEMOSUS | Chemiluminescence (CLIA) |
|  | 135.Rast P4 - ANISAKIS VARVAE | Chemiluminescence (CLIA) |
|  | 136.Rast S2 – curry (F281) | Chemiluminescence (CLIA) |
|  | 137.Rast Τ12 - Willow | Chemiluminescence (CLIA) |
|  | 138.Rast Τ22 - PECAN | Chemiluminescence (CLIA) |
|  | 139.Rast Τ25 - GOLDEN CHAIN | Chemiluminescence (CLIA) |
|  | 140.Rast Τ4 - Hazelnut | Chemiluminescence (CLIA) |
|  | 141.Rast Τ7 - Oak | Chemiluminescence (CLIA) |
|  | 142.Rast Τ73 – Austraulian Pine | Chemiluminescence (CLIA) |
|  | 143.Rast W11 – Russian Thistle | Chemiluminescence (CLIA) |
|  | 144.Rast W20 - Nettle | Chemiluminescence (CLIA) |
|  | 145.Rast W3 – Giant Ragweed | Chemiluminescence (CLIA) |
|  | 146.Rast D73 - GLYCYPHAGUS DOMESTICUS | Chemiluminescence (CLIA) |
|  | 147.Rast E10 – Parrot Feathers | Chemiluminescence (CLIA) |
|  | 148.Rast Ε11 – Pigeon Feathers | Chemiluminescence (CLIA) |
|  | 149.Rast E7 - PigeonDroppings | Chemiluminescence (CLIA) |
|  | 150.Rast E83 - SwineEpithelium | Chemiluminescence (CLIA) |
|  | 151.Rast E84 – Hamster Epithelium | Chemiluminescence (CLIA) |
|  | 152.Rast Ε9 – Canary Feathers | Chemiluminescence (CLIA) |
|  | 153.Rast F11 - Buckwheat | Chemiluminescence (CLIA) |
|  | 154.Rast F114 Sunflower Seeds- | Chemiluminescence (CLIA) |
|  | 155.Rast F123 Cooked Beef | Chemiluminescence (CLIA) |
|  | 156.Rast F133 - Cucumber | Chemiluminescence (CLIA) |
|  | 157.Rast F162 - Nectarine | Chemiluminescence (CLIA) |
|  | 158.Rast F183 - Appricot | Chemiluminescence (CLIA) |
|  | 159.Rast F22 - Trout | Chemiluminescence (CLIA) |
|  | 160.Rast F221 - Coffee | Chemiluminescence (CLIA) |
|  | 161.Rast F23 - Crab | Chemiluminescence (CLIA) |
|  | 162.Rast F234 - Vanilla | Chemiluminescence (CLIA) |
|  | 163.Rast F32 - Lemon (F208) | Chemiluminescence (CLIA) |
|  | 164.Rast F39 – Spinach (F214) | Chemiluminescence (CLIA) |
|  | 165.Rast F42 - HADDOCK | Chemiluminescence (CLIA) |
|  | 166.Rast F50 - Grappe (F259) | Chemiluminescence (CLIA) |
|  | 167.Rast F61 - Sardine | Chemiluminescence (CLIA) |
|  | 168.Rast F71 - Lobster | Chemiluminescence (CLIA) |
|  | 169.Rast F85 - Celery | Chemiluminescence (CLIA) |
|  | 170.Rast F89 - Mustard | Chemiluminescence (CLIA) |
|  | 171.Rast F96 - Avocado | Chemiluminescence (CLIA) |
|  | 172.Rast G20 – Cultivated Corn | Chemiluminescence (CLIA) |
|  | 173.Rast G7 – Common Reed Grass | Chemiluminescence (CLIA) |
|  | 174.Rast Κ1 - Acrylon | Chemiluminescence (CLIA) |
|  | 175.Rast Κ2 - Cotton | Chemiluminescence (CLIA) |
|  | 176.Rast Κ5 - Linen | Chemiluminescence (CLIA) |
|  | 177.Rast M8 - HELMINTHOSPORIUM HALODES | Chemiluminescence (CLIA) |
|  | 178. RastΤ18- Eucalyptus | Chemiluminescence (CLIA) |
|  | 179.Rast Τ34- Almont Tree | Chemiluminescence (CLIA) |
|  | 180.Rast T1 - MAPLE | Chemiluminescence (CLIA) |
|  | 181.Rast Τ10 - WALNUT | Chemiluminescence (CLIA) |
|  | 182.Rast Τ13 - Jasmine | Chemiluminescence (CLIA) |
|  | 183.Rast Τ15 – WHITE ASH | Chemiluminescence (CLIA) |
|  | 184.Rast Τ18 - EUCALYPTUS | Chemiluminescence (CLIA) |
|  | 185.Rast Τ2 - ALDER | Chemiluminescence (CLIA) |
|  | 186.Rast Τ5 - BEECH | Chemiluminescence (CLIA) |
|  | 187.Rast Τ8 - ELM | Chemiluminescence (CLIA) |
|  | 188.Rast W12 - GOLDENROD | Chemiluminescence (CLIA) |
|  | 189.Rast W2 – WESTERN RAGWEED | Chemiluminescence (CLIA) |
|  | 190.Rast W29 - SYNFLOWER | Chemiluminescence (CLIA) |
|  | 191.Rast W43 – Common Sagebrush | Chemiluminescence (CLIA) |
|  | 192.Rast W5 –Wormwood | Chemiluminescence (CLIA) |
|  | 3gAllergy™ Specific IgE Universal Kit |
|  | Determination 10 RAST MIX |
|  | 193.RastMP2 – Mold panel - 2 (M1, M2, M3, M5, M6) | Chemiluminescence (CLIA) |
|  | 194.RastTP6 – Tree panel – 6 (Τ1, Τ3, Τ5, Τ7, Τ10) | Chemiluminescence (CLIA) |
|  | 195.Rast GP3 - Grass Panel – 3 (G1, G5, G6, G12, G13, G17) | Chemiluminescence (CLIA) |
|  | 196.RastFP2 – Food Panel-2 (F3, F24, F37, F40, F41) | Chemiluminescence (CLIA) |
|  | 197.Rast EP1 – Animal Panel 1 (E1, E3, E4, E5) | Chemiluminescence (CLIA) |
|  | 198.RastWP1 – Wood Panel – 1 (W1, W6, W9, W10, W11) | Chemiluminescence (CLIA) |
|  | 199.RastFP1 – Food panel-1 (F13, F17, F18, F20, F36) | Chemiluminescence (CLIA) |
|  | 200.RastGP2 – Grass panel – 2 (G2, G5, G6, G8, G10) | Chemiluminescence (CLIA) |
|  | 201.RastGP1 – Grass Panel – 1 (G3, G4, G5, G6, G8) | Chemiluminescence (CLIA) |
|  | 202.RastMP1- Mold Panel – 1 (M1, M2, M3, M5, M6) | Chemiluminescence (CLIA) |
| Hematological Tests |
| Whole blood (EDTA) | Determination of 8 parameters | Automated hematology analyzerAdvia 2120i, Siemens* (catalogue Ε.550-1_8-12-2022) |
|  | 1. Red Blood Cells(RBC) | Flow cytometry |
|  | 2. Haemoglobin (HGB) | Colorimetric |
|  | 3. Hematocrit (HCT) | Calculated from RBC and MCV |
|  | 4. Mean Cell Haemoglobin (MCH) | Calculated from HGB and RBC |
|  | 5. Mean Cell Haemoglobin Concentration (MCHC) | Calculated from HGB and HCT |
|  | 6. Platelets (PLT) | Flow cytometry |
|  | 7. Mean Cell Volume (MCV) | Flow cytometry |
|  | 8. White Blood Cells (WBC) | Flow cytometry |
|  | Determination of 1 parameter | High performance liquid chromatography (HPLC) analyzer G8 TOSOH* (catalogue Ε.550-1_8-12-2022) |
|  | 1. Glycated Hemoglobin A1C (HbA1C) | Ion-exchange high performance liquid chromatography (HPLC) |
| Blood Coagulation Tests |
| Blood plasma (citrate) | Determination of 1 parameter | Automated analyzer IMMULITE 2000, SIEMENS* (catalogue Ε.550-1_8-12-2022) |
|  | 1. D-Dimer | Chemiluminescence (CLIA) |
|  | Determination of 5 parameters | Automated analyzer ACL ELITE PRO, INSTRUMENTATIONAL LABORATORY* (catalogue Ε.550-1_8-12-2022) |
|  | 1. Prothrombin time (PT sec) | Clot detection |
|  | 2. Prothrombin time (PT %) | Clot detection |
|  | 3. Prothrombin time (International Normalized Ratio, PT INR) | Clot detection |
|  | 4. Activated partial prothrombin time (APPT) | Clot detection |
|  | 5. Fibrinogen (FIB) | Clot detection |

*Reference to the commercial name of a specific analyzer/kit,  refers to a specific analytical method and protocol

**IFCC: International Federation of Clinical Chemistry

Site of assessment: Laboratory permanent premises, 7 K. Palamastr., 54630 Thessaloniki, Greece.

Approved signatories : L.Vogiatzoglou, E.Karagiannis, A. Samalidou

This Scope of Accreditation replaces the previous one dated 28.02.2022.

The Accreditation Certificate No.898-5, to ELOT EN ISO 15189:2012, is valid until 29.12.2025.

Athens, 30.08.2023

Christos Nestoras

CEO of E.SY.D.