Hellenic Accreditation System

Annex F1/10 to the Certificate No.758-5 SCOPE of ACCREDITATION of the Chemical Analysis Testing Laboratory of the Hellenic Gas Transmission System Operator (DESFA) SA

| Tested materials / products | Types of test / Properties to be measured | Applied standards / Techniques to be used |
| --- | --- | --- |
| Chemical Tests |
| Natural gas | Determination of %mol/mol amount fractions [C1, C2, C3, i-C4, n-C4, i-C5, n-C5, C6+, N2, CO2] by gas-chromatographic analysis | According to ISO 6974-1:2012 |
|  | Calculation from %mol/mol amount fraction: * | According to ISO 6976:2016 |
|  | Superior calorific value (real gas) |  |
|  | Inferior calorific value (real gas) |  |
|  | Relative density (real gas) |  |
|  | Density (real gas) |  |
|  | Superior Wobbe index (real gas) |  |
|  | Inferior Wobbe index (real gas) |  |
|  | Molar mass |  |
|  | Compressibility factor |  |
|  | * Restriction of calculations to gas mixtures with compressibility factor greater than 0,9 at reference conditions. |  |
| Natural gas (continued) | Calculation from %mol/mol amount fraction: Carbon dioxide emission factor (ideal gas superior calorific value) Carbon dioxide emission factor (ideal gas inferior calorific value) Carbon dioxide emission factor (real gas volume) | Internal laboratory method ΟΕ17.06 05 based on guide of UK Department of Energy & Climate Change: “Guidance on provision of UK natural gas supply quality data relevant to the EU emissions trading scheme – for emissions prior to January 1st 2013” issue C: April 2012 |

Site of assessment:   Laboratory permanent premises, DESFA/Revythoussa LNG Terminal, Greece

Approved signatories: E. Karantanas, K. Tsakou, N. M. Moneos.

This Scope of Accreditation replaces the previous one dated 16.01.2024.

The Accreditation Certificate No.758-5, to ELOT EN ISO/IEC 17025:2017, is valid until 27.07.2028.

Athens, 29.01.2024

Christos Nestoras                                                                                         CEO of ESYD