Hellenic Accreditation System

Annex F1/4 to the Certificate No. 1110 SCOPE of ACCREDITATION of Standard Dialog LLC

| Materials / products tested | Types of test / Properties to be measured | Applied Methods / Techniques to be used |
| --- | --- | --- |
| Chemical Tests |
| Wine | Determination of sorbic, benzoic and salicylic acid. | OIV-MA-AS313-20 |
| Non-fatty foodstuff | Determination of acesulfame-K, aspartame and saccharin. | EN 12856:1999 |
| Water (drinking, bottled, mineral water) | Determination of Ag, As, Au, B, Ba, Be, Ca, Cd, Co, Cr, Cu, Fe, Ga, Ge, In, Ir, Mg, Mn, Mo, Ni, Pd, Pt, Re, Ru, Sb, Sc, Se, Sn, V, W, Zn. | ISO 17294-2:2016 |
| Wine | Determination of Aluminium, Boron, Bromine, Cadmium, Cobalt, Copper, Strontium, Iron, Lithium, Magnesium, Manganese, Nickel, Lead, Rubidium, Sodium, Vanadium, Zinc. | Multielemental analysis using ICP-MS OIV-Oeno 344-2010 |
| Foodstuffs (dried fruits, processed vegetables, juices) | Determination of Arsenic, Cadmium, Mercury, Lead. | EN 15763:2009 |
|  | Determination of Tin. | EN 15765:2009 |
| Microbiological Testing |
| Water (drinking, bottled, mineral water). | Enumeration of culturable micro-organisms. | ISO 6222:1999 |
|  | Detection and enumeration of Pseudomonas aeruginosa. | ISO 16266:2006 |
|  | Enumeration of Escherichia coli and coliform bacteria. | ISO 9308-1:2014 |
|  | Enumeration of Clostridium perfringens. | ISO 14189:2013 |
|  | Detection of Salmonella spp. | ISO 19250:2010 |
| Foodstuff (dried fruits, processed vegetables, juices ) | Horizontal method for the enumeration of coliforms. | ISO 4832:2006 |
|  | Horizontal method for the enumeration of microorganisms. | ISO 4833-2:2013 |
|  | Horizontal method for the detection of Salmonella spp. | ISO 6579:2017 |
|  | Horizontal method for the enumeration Staphylococcus aureus. | ISO 6888-1:1999 |
|  | Horizontal method for the detection and enumeration of presumptive Escherichia coli. | ISO 7251:2005 |
|  | Horizontal method for the enumeration of presumptive Bacillus cereus. | ISO 7932:2004 |
|  | Horizontal method for the enumeration of Clostridium perfringens. | ISO 7937:2004 |
|  | Horizontal method for the detection and enumeration of Listeria monocytogenes. | ISO 11290-1:1996* |
|  | Horizontal method for the enumeration of yeasts and moulds. | ISO 21527-1:2008 |
|  | Horizontal method for the enumeration of yeasts and moulds. | ISO 21527-2:2008 |
|  | Horizontal methods for the detection and enumeration of Enterobacteriaceae | ISO 21528-2:2004* |

*: These standards have been withdrawn and replaced by: ISO 11290-1:2017 and ISO 21528:2017 after the assessment

Site of assessment: Permanent laboratory premises, 49/4 Komitas Avenue, Yerevan, Armenia.

Approved Signatories: Karen Darbinyan, Haykush Batikyan, Nazik Harutyunyan

The Accreditation Certificate No. 1110, to ISO/IEC 17025:2017, has been extended to 26.11.2022 by ESYD decision

Athens, 27.6.2022

Konstantinos Kourtalis

Chairman , ESYD