Hellenic Accreditation System

Annex F1/15 to the Certificate No. 270-5 SCOPE of ACCREDITATION of the Testing Laboratory ‘ANALYTIKON’ Nikoleta Foukadaki

| Tested materials and products | Types of test/ Properties to be measured | Applied standards/ Techniques to be used |
| --- | --- | --- |
| Chemical Tests |
| Water | 1. Determination of pH | ΑPHA* 4500-H+, 23rd Ed. 2017 |
|  | 2. Determination of conductivity | In house method based on APHA* 2510-B, 23rd Ed. 2017 |
|  | 3. Determination of alkalinity | In house method based on APHA* 2320-B, 23rd Ed. 2017 |
|  | 4. Determination of chloride | APHA* 4500-Cl--B, 23rd Ed. 2017 |
|  | 5. Determination of residual chlorine | Measurement on site- In house method based on APHA* 4500-CL F, 23rd Ed. 2017 |
|  | 6. Determination of nitrate | Screening method based on ΑΡΗΑ* 4500-Β NΟ3, 23rd Ed. 2017 |
|  | 7. Determination of calcium | APHA* 3500-Β Ca, 23rd Ed. 2017 |
|  | 8. Determination of magnesium | APHA* 3500-Β Mg, 23rd Ed. 2017 |
|  | 9. Determination of turbidity | In house method based on APHA 2130B, 23rd Ed. 2017 |
|  | 10. Determination of Total Suspended Solids (TSS), 103-105° C | In house method based on ELOT 872:2005 |

| Tested materials and products | Types of test/ Properties to be measured | Applied standards/ Techniques to be used |
| --- | --- | --- |
| Chemical Tests |
| Potable and surface Water | 1.Determination of total hardness | In house method based on APHA* 2340-C, 23rd Ed. 2017 |
|  | 2. Determination of sulfates | HACH LCK 153 |
|  | 3. Determination of nitrite | HACH LCK 341 |
| Potable Water | 1. Determination of ammonium | HACH LCK 304 |
|  | 2. Determination of iron | HACH FERROVER 8008 |
|  | 3. Determination of Aluminum | HACH LCK 301 |
|  | 4. Determination of colour | In house method based on APHA* 2120-C, 23rd Ed. 2017 |
|  | 5. Determination of phosphate | HACH LCK 348 |
| Wastewater | 1. Determination of pH | ΑPHA* 4500-H+, 23rd Ed. 2017 |
|  | 2. Determination of conductivity | In house method based on APHA* 2510-B, 23rd Ed. 2017 |
|  | 3. Determination of alkalinity | In house method based on APHA* 2320-B, 23rd Ed. 2017 |
|  | 4. Determination of chloride | APHA* 4500-Cl--B, 23rd Ed. 2017 |
|  | 5. Determination of Ammonium Nitrogen | HACH LCK 304 |
|  | 6. Determination of Total Nitrogen | HACH LCK 138 |
|  | 7. Determination of turbidity | In house method based on APHA 2130B, 23rd Ed. 2017 |
|  | 8. Determination of Total Suspended Solids (TSS), 103-105° C | In house method based on ELOT 872:2005 |
|  | 9. Determination of Biochemical Oxygen demand (BOD) | In house method based on APHA 5210 D, 23rd Ed. 2017 |
|  | 10. Determination of Chemical Oxygen demand (COD) | HACH LCK 314 HACH LCK 514 |
|  | 11. Determination of residual chlorine | In house method based on APHA* 4500-CL F, 22nd Ed. 2012 |
|  | 12. Determination of total phosphorus | HACH LCK 348 |

| Tested materials and products | Types of test/ Properties to be measured | Applied standards/ Techniques to be used |
| --- | --- | --- |
| Organoleptic tests |
| Potable Water | 1. Determination of Odor | In house method based on EN 1622:2006 |
|  | 2. Determination of Taste | In house method based on EN 1622:2006 |
| Sampling |
| Potable water, swimming pools, sewage effluent | Sampling for chemical parameters | ISO 5667-5:2006 |
| Potable water, swimming pools, sea water, sewage effluent | Sampling for microbiological parameters | ISO 19458:2006 (§ 4.4.1, 4.4.3, 4.4.6) ISO 5667-5:2006 |
| Surface samples using contact plates | 1.Horizontal method for sampling technique enumerating microorganisms – Colony count technique at 30oC | ISO 18593:2018 |
|  | 2.Horizontal method for sampling technique enumerating microorganisms – Total coliforms and E. Coli. | ISO 18593:2018 Chromagar ECC |
|  | 3.Horizontal method for sampling technique enumerating microorganisms – Listeria monocytogenes | ISO 18593:2018 Chromagar Listeria |
|  | 4.Horizontal method for sampling technique enumerating microorganisms – Salmonella spp | ISO 18593:2018 Chromagar Salmonella spp. |
| Chemical Tests |
| Virgin olive oil | 1. Ultraviolet spectroscopic analysis | Regulation EEC 2568/91, annex IX as in force |
|  | 2. Determination of acidity | Regulation EEC 2568/91, annex II as in force |
|  | 3. Determination of peroxide value | Regulation EEC 2568/91, annex III as in force |

| Tested materials and products | Types of test/ Properties to be measured | Applied standards/ Techniques to be used |
| --- | --- | --- |
| Food | 1. Enumeration of coagulase-positive staphylococci (Staphylococcus aureus and other species) | ISO 6888-2:1999 |
|  | 2. Enumeration of coliforms | ISO 4832:2006 |
|  | 3. Enumeration of beta-glucuronidase-positive E. coli. Colony count technique at 44 oC | ISO 16649-2:2001 |
|  | 4. Horizontal method for the enumeration of total coliforms-Colony count method at 30 oC | ISO 4833-1:2013 |
|  | 5. Detection of L. Monocytogenes | ISO 11290-1:2017 |
|  | 6. Enumeration L. monocytogenes | ISO 11290-2:2017 |
|  | 7. Enumeration of yeasts and moulds having Wa ≤ 0,95 | ISO 21527-2: 2008 |
|  | 8. Enumeration of yeasts and moulds having Wa > 0,95 | ISO 21527-1: 2008 |
|  | 9. Enumeration of enterobacteriaceae | ISO 21528-2: 2017 |
|  | 10. Enumeration of Clostridium Perfringens | ISO 7937:2004 |
| Food, (including milk and milk products), animal feed, animal faeces, and environmental samples from the primary production stage. | Detection of Salmonella spp. Except Salmonella typhi and Paratyphi | ISO 6579-1:2017 |

| Tested materials and products | Types of test/ Properties to be measured | Applied standards/ Techniques to be used |
| --- | --- | --- |
| Potable Water, surface and swimming pool water. | 1. Detection and enumeration of intestinal enterococci | ISO 7899-2:2000 |
|  | 2. Detection and enumeration of Escherichia coli and coliform bacteria | ISO 9308-1: 2014/Amd-1:2016 |
|  | 3. Enumeration of total viable count (22 and 36oC) | ISO 6222:1999 |
|  | 4. Detection and enumeration of Pseudomonas aeruginosa | ISO 16266:2006 |
|  | 5. Enumeration of Clostridium perfringens | ISO 14189:2013 |
| Sewage effluent | Detection and enumeration of Escherichia coli and coliform bacteria | ISO 9308-1: 2014/Amd-1:2016 |
| Sea Water | 1. Detection and enumeration of intestinal enterococci | ISO 7899-2:2000 |
|  | 2. Detection and enumeration of Escherichia coli and coliform bacteria | ISO 9308-1: 2014/Amd-1:2016 |
| Potable water, surface and swimming pool water, cooling tower and air condition water. | Detection and enumeration of Legionella spp. | ISO 11731:2017 |

*American Public Health Association, American Water Works Association, Water Environment Federation, “Standard Methods for the Examination of Water and Wastewater”, 23rd Edition, 2017

Site of assessment: Permanent Laboratory premises, 2o klm Agios Nikolaos - Kritsas., 72100 , Agios Nikolaos,

Crete, Greece.

Approved signatories: Ν. Foukadaki, E. Skoulikari, E. Tsagarakis.

This scope of Accreditation replaces the previous one dated 18.07.2019.

The Accreditation Certificate No. 270-5, to ELOT EN ISO/IEC 17025:2017, is valid until 02.05.2022

Athens, 02.09.2020

Spyridon Podaras

CEO of ESYD

# Text boxes

###### Microbiological Tests