Hellenic Accreditation System

Annex F1/7 to the Certificate No.1112-3 SCOPE of ACCREDITATION of the Testing Laboratories of ArC LABORATORIES Analytical and Research Chemical Laboratories

| Materials / Products Tested | Types of Test / Properties | Applied Standards / Techniques |
| --- | --- | --- |
| Chemical Testing |
| 1. Water for human consumption | 1. Determination of pH | Internal method code: O12-10 Modified method based to ISO 10523:2008 |
|  | 2. Determination of Conductivity | Internal method code: O12-17 Modified method based to APHA_2510B* |
|  | 3. Determination of Total and Composite Alkalinity | ISO 9963-1:1994 |
|  | 4. Determination of Ammonium (NH4+) | Internal method code: O12-13 Modified method based to ISO 7150-1:1984 |
|  | 5. Determination of: Sodium (Na), Potassium (K), Calcium (Ca), Magnesium (Mg), Barium (Ba), Cobalt (Co), Chromium (Cr). | Internal method code: O12-16 Modified method based to ISO 11885:2007 (ICP-OES) |
|  | 6. Determination of Fluoride (F-), Chloride (Cl-), Nitrate (NO3-), Nitrite (NO2-), Sulfate (SO42-), Phosphate (PO43-) | U.S.EPA 300.1:1999 |
| 2. Wastewater | 1. Determination of pH | Internal method code: O12-10 Modified method based to ISO 10523:2008 |
|  | 2. Determination of Conductivity | Internal method code: O12-17 Modified method based to APHA_2510B* |
|  | 3. Determination of: Aluminum (Al), Cadmium (Cd), Cobalt (Co), Chromium (Cr), Copper (Cu), Iron (Fe), Manganese (Mn), Nickel (Ni), Lead (Pb), Zinc (Zn), Phosphorus (P) | Internal method code: O12-24 Modified method based to ISO 11885:2007 (ICP-OES) |
|  | 4. Determination of Hexavalent Chromium (Cr6+) | ISO 11083:1994 |
| Microbiological testing |
| 1. Water for human consumption | 1. Detection and enumeration of total coliforms and E. coli | ISO 9308-1:2014/Amd.1:2016 |
|  | 2. Detection and enumeration of intestinal enterococci | ISO 7899-2:2000 |
|  | 3. Enumeration of culturable micro-organisms at 22(2 οC and 36(2 οC | ISO 6222:1999 |
|  | 4. Enumeration of Pseudomonas aeruginosa | ISO 16266:2006 |
| 2. Water with a low concentration of interfering microorganisms (ISO 11731:2017, § 8.4.3) | 1. Enumeration of Legionella spp. | ISO 11731:2017, § 8.2.2., (Annex J, Procedure 5,7 Medium A & C – GVPC) |
| 3. *** Solid food (Meat (not ground), cheese, pastry, etc. | 1. Enumeration of β-glucuronidase-positive Escherichia coli | ISO 16649-2:2001 |
|  | 2. Enumeration of coagulase – positive staphylococci (Staphylococcus aureus and other species) | ISO 6888-2:2021 |
|  | 3. Detection of nontyphi, non paratyphi Salmonella spp. | ISO 6579-1:2017/Amd.1:2020 |

* American Public Health Association, American Water Works Association, Water Environment Federation, “Standard Methods for the Examination of Water and Wastewater”, 23rd Edition, 2017

** Category B.3 ESYD G-Metals

*** Category 4 Appendix A ESYD G-MICROBIOL

Site of assessment:  Laboratory permanent premises, Orchomenou 14, Peristeri 12132, Athens, Greece

Approved signatories: Leonidas Lellos.

This scope of Accreditation replaces the previous one dated 22.12.2022.

The Accreditation Certificate No. 1112-3, to ELOT EN ISO/IEC 17025:2017, is valid until 15.02.2027.

Athens, 29.03.2024

# Christos Nestoras

# CEO of ESYD