Hellenic Accreditation System

Annex G1/5 to the Certificate No. 1106-2 SCOPE of ACCREDITATION of the Clinical Laboratory of Perseys Sanitary Care S.A. (Metropolitan Hospital)

| Materials/Products tested | Types of test/Properties measured | Applied methods/Techniques used |
| --- | --- | --- |
| Hematological testing |
| 1. Whole blood (EDTA) | Determination of 8 parameters | Automatic Hematological Analyzers Advia 2120i (S/N IR17271948) (1) Siemens* and Advia 2120i (S/N IR 17191947) (2) Siemens* |
|  | 1. White blood cells (WBC) | Flow cytometry 067D0165-01 Rev.05, 2019-03 (p.9.21-9.23) |
|  | 2. Red blood cells (RBC) | Flow cytometry 067D0165-01 Rev.05, 2019-03 (p.9.21-9.23) |
|  | 3. Haemoglobin (HGB) | Colorimetric 067D0165-01 Rev.05, 2019-03 (p.9.21-9.23) |
|  | 4. Haematocrit (HCT%) | Automatic calculation (RBC x MCV)/10 067D0165-01 Rev.05, 2019-03 (p.9.21-9.23) |
|  | 5. Mean cell volume (ΜCV) | Flow cytometry 067D0165-01 Rev.05, 2019-03 (p.9.21-9.23) |
|  | 6. Mean corpuscular haemoglobin (MCH) | Automatic calculation (HGB/RBC) x10 067D0165-01 Rev.05, 2019-03 (p.9.21-9.23) |
|  | 7. Mean corpuscular haemoglobin volume (MCHC) | Automatic calculation (HGB/HCT) x100 067D0165-01 Rev.05, 2019-03 (p.9.21-9.23) |
|  | 8. Platelets (PLTs) | Flow cytometry 067D0165-01 Rev.05, 2019-03 (p.9.21-9.23) |
| Biochemical testing |
| 1. Blood serum Blood serum (continued) | Determination of 26 parameters | Automated biochemical analyzers Atellica CH 930 (S/N CM01753) (1) Siemens* and Atellica CH 930 (S/N CM01754) (2) Siemens* |
|  | 1. Albumin (ALB) | BCG Albumin Alb 11110153_EL Rev. 03, 2019-07 |
|  | 2. Alkaline phosphatase (ALP) | AMP-BUFFER IFCC** ALP_2c 11110163_EL Rev. 03, 2019-07 |
|  | 3. Alanine Aminotransferase (ALT) | Enzymatic, kinetic/IFCC without P-5-P ALT 11110168_EL Rev.5, 2020-08 |
|  | 4. Aspartate Aminotransferase (AST) | Enzymatic, kinetic/IFCC without P-5-P AST 11110170_EL Rev.03, 2020-08 |
|  | 5. Calcium (Ca) | Photometric with o‑cresolphthalein complexone (without deproteinization) Ca 11110158_EL Rev. 02, 2019-10 |
|  | 6. Direct Bilirubin (DBil) | Chemical oxidation using Vanadate DBil_2 11110149_EL Rev. 04, 2020-08 |
|  | 7. Total Bilirubin (TBil) | Chemical oxidation using Vanadate TBil_2 11110150_EL Rev.04, 2020-08 |
|  | 8. Creatinine | JAFFE METHOD (picric acid reaction) Crea_2 11110159_EL Rev. 04, 2019-07 |
|  | 9. Cholesterol (Chol) | Enzymatic reaction CHOD – PAP Chol_2 11110172_EL Rev.04, 2020-11 |
|  | 10. Creatinine kinase (CK) | IFCC** (HEXOCINASE-G6PD) CK_L 11110165_EL Rev. 03, 2019-09 |
|  | 11. Iron (Iron) | Ferrozine Iron_2 11110164_EL Rev. 02, 2019-07 |
|  | 12. Glucose (Glu) | Enzymatic Hexokinase GluH_3 11110155_EL Rev.04, 2020-08 |
|  | 13. Gamma-glutamyl trasferase (γ-GT) | Photometric measurement 5-Amino-2-Nitrobenzoate (ANB)/IFCC** substrate (L-γ-glutamyl-3-carboxy-4-nitroanilide) GGT 11110160_EL Rev. 02, 2019-07 |
|  | 14. High Density Cholesterol (HDL) | Direct homogeneus enzymatic (HDAOS) D_HDL 11110193_EL Rev. 04, 2020-08 |
|  | 15. Low Density Cholesterol (LDL) | Direct homogeneus enzymatic (TOOS) DLDL 11110195_EL Rev. 03, 2019-11 |
|  | 16. Lactate dehydrogenase (LDH) | UV/NADH/OSM DGKC |
|  | 17. Magnesium (Mg) | Xylidyl Blue Mg 11110175_EL Rev. 02, 2019-06 |
|  | 18. Phosphorus (Phos) | Ammonium molybdate IP 11110174_EL Rev. 04, 2020-07 |
|  | 19.Total Protein (TP) | Biuret method TP_II 11110167_EL Rev. 03, 2020-08 |
|  | 20. Triglycerides (Trig) | Enzymatic reaction GPO – PAP Trig conc 11110154_EL Rev. 05, 2021-03 |
|  | 21. Uric acid (UA) | Enzymatic photometric reaction uricase/peroxidase UA 11110171_EL Rev. 03, 2019-05 |
|  | 22. Urea (Urea) | Urease UV liquid with glutamate dehydrogenase UN_c 11110156_EL Rev. 03, 2020-08 |
|  | 23. Potassium (K) | Indirect Ion-selective Potentiometry A-LYTE IMT 11109447_EL Rev. 03, 2019-09 |
|  | 24. Sodium (Na) | Indirect Ion-selective Potentiometry A-LYTE IMT 11109447_EL Rev. 03, 2019-09 |
|  | 25. Chloride (Cl) | Indirect Ion-selective Potentiometry A-LYTE IMT 11109447_EL Rev. 03, 2019-09 |
| Immunochemical Tests |
| Blood serum Blood serum (continued) | Determination of 6 parameters | Automated Analyzer Atellica IM 1600 (S/N IRH 007151941) (2) Siemens* |
|  | 1. Testosterone (TESTO) | Direct Chemiluminescense TSTII 10995435_EL Rev. 06, 2021-05 |
|  | 2. Prolactin (PRL) | Direct Chemiluminescense PRL 10995414_EL Rev. 04, 2020-06 |
|  | 3. Progesterone (PRG) | Direct Chemiluminescense PRGE 10995415_EL Rev. 04, 2020-06 |
|  | 4. Follicle Stimulating Hormone (FSH) | Direct Chemiluminescense FSH 10995346_EL Rev.06, 2020-09 |
|  | 5. Luteinizing Hormone (LH) | Direct Chemiluminescense LH 10995369_EL Rev. 04, 2020-06 |
|  | 6. Estradiol (E2) | Direct Chemiluminescense eE2 10995342_EL Rev.05, 2020-11 |
|  | Determination of 13 parameters | Automated Analyzer Atellica IM 1600 (S/N IRH 007601944) (1) Siemens* |
|  | 1. Free Triiodothyronine (FT3) | Direct Chemiluminescense FT3 10995347_EL Rev. 03, 2020-06 |
|  | 2. Triidothyronine total (T3) | Direct Chemiluminescense T3 10995424_EL Rev. 03, 2020-06 |
|  | 3. Free Thyroxin (FT4) | Direct Chemiluminescense FT4 10995348_EL Rev.06, 2020-11 |
|  | 4. Thyroxin total (Τ4) | Direct Chemiluminescense T4 10995425_EL Rev.03, 2020-06 |
|  | 5. Thyroid Stimulatin Hormone (TSH) | Direct Chemiluminescense TSH3-UL 10995434_EL Rev. 04, 2021-03 |
|  | 6. Carcinoembryonic antigen (CEA) | Direct Chemiluminescense CEA 10995312_EL Rev.04, 2020-05 |
|  | 7. Cancer antigen CA 125 | Direct Chemiluminescense CA 125II 10995283_EL Rev. 04, 2020-05 |
|  | 8. Cancer antigen CA 15-3 | Direct Chemiluminescense CA 15-3 10995284_EL Rev. 04 ,2020-03 |
|  | 9. Cancer antigen CA 19-9 | Direct Chemiluminescense CA 19-9TM 10995285_EL Rev. 03, 2019-07 |
|  | 10. Prostate Specific Antigen (PSA) | Direct Chemiluminescense PSA 10995416_ EL Rev.04, 2021-05 |
|  | 11. Free Prostate Specific Antigen (fPSA) | Direct Chemiluminescense fPSA 10995345_EL Rev. 03, 2019-10 |
|  | 12. Ferritin (Fer) | Direct Chemiluminescense Fer 10995343_EL Rev. 03, 2019-07 |
|  | 13. β-Human Chorionic Gonadotropin (β-hCG) | Direct Chemiluminescense ThCG 10995426_EL Rev. 03, 2020-02 |
| 2.Blood plasma (Heparin) | Determination of 2 parameters | Automated analyzers Atellica IM 1600 (S/N IRH 007601944) (1) Siemens* and Atellica IM 1600 (S/N IRH 007151941) (2) Siemens* |
|  | 1. High Sensitivity troponin I (TnIH) | Direct Chemiluminescense TnIH 11200497_EN Rev. 06, 2019-08 |
|  | 2. Creatine kinase –MB (CK-MB) | Direct Chemiluminescense CKMB 10995316_EL Rev. 02, 2019-07 |
| Blood serum Blood serum (continued) | Determination of 10 parameters | Automated analyzer Architect i1000 SR (S/N L1SR50884) Abbott * |
|  | 1. Antibodies IgG to Hepatitis A virus (HAV IgG) | Chemiluminescense microparticle immunoassay (CMIA) HAVAb-IgG 6C29 G6-3888/R04, 2021-02 |
|  | 2. Antibody to Hepatitis C virus (Anti-HCV) | Chemiluminescense microparticle immunoassay (CMIA) Anti-HCV 6C37 482342/R02 B6CW76, 2020-01 |
|  | 3. Hepatitis B surface antigen (HBsAg) | Chemiluminescense microparticle immunoassay (CMIA) HBsAg Qualitative II B2G22G G3-8857/R07, 2020-07 |
|  | 4. Antibodies to Hepatitis B core antigen (Anti HBc) | Chemiluminescense microparticle immunoassay (CMIA) Anti-HBc II 8L44 G4-8891/ R08, 2015-01 |
|  | 5. Antibody to Hepattitis B surface antigen (Anti-HBs) | Chemiluminescense microparticle immunoassay (CMIA) Anti-HBs 7C18 G6-8275 / R02, 2016-11 |
|  | 6. Antibody e to Hepatitis B antigen (Anti HBe) | Chemiluminescense microparticle immunoassay (CMIA) Anti-HBe 6C34 G6-3814/ R08, 2020-02 |
|  | 7. Antigen e to Hepatitis B virus (HBeAg) | Chemiluminescense microparticle immunoassay (CMIA) HBeAg 6C32 G6-3817/ R04, 2020-02 |
|  | 8. Antibodies IgM to Hepatitis B core antigen (Anti HBc-IgM) | Chemiluminescense microparticle immunoassay (CMIA) Anti-HBc IgM 6C33 G6-3719/ R05, 2020-01 |
|  | 9. Antibodies IgM to Hepatitis A virus | Chemiluminescense microparticle immunoassay (CMIA) HAVAb-IgM 6C30 G6-8259/ R03, 2021-01 |
|  | 10. Human Immunodeficiency Virus (HIV-1/HIV-2) | Chemiluminescense microparticle immunoassay (CMIA) G3-8978/R05, 2014-05 |
| Blood coagulation Tests |
| 1. Blood plasma (sodium citrate) | Determination 5 parameters | Automated analyzers BCS-XP (S/N 282767) (1) and BCS-XP (S/N 141920) (2) Siemens* |
|  | 1. Prothrombin time (ΡΤ) | Clot formation Thromborel S OUHPG29C34 Rev. 10 – el, 2018-08 |
|  | 2. PT - INR (International Normalized Ratio) | Calculated Thromborel S OUHPG29C34 Rev. 10 - el, 2018-08 |
|  | 3. Activated Partial Thromboplastin time (APTT) | Clot formation Pathromtin SL OQGSG29E34 Rev. 09 – el, 2018-08 |
|  | 4. Fibrinogen (FIB) | Mοdified Clauss Multifibren U OWZGG19E34 Rev. 04 – el, 2018-01 |
|  | 5. DDimers (DD) | Immunoturbidimetry INNOVANCE D‑Dimer OPBPG03C34 Rev. 12 – el, 2018-10 |

*Reference to the commercial name of a specific analyzer/kit, refers to a specific analytical method and protocol

**IFCC: International Federation of Clinical Chemistry

Site of assessment : Laboratory permanent premises, 12 El. Venizelou str & Giannopoulou, 18547

Ν. Faliro, Greece.

Approved signatories: Α.Tsakris, Ε.Psomas, Ι.Dedrinos, M Dedrinou-Thomakou, A.Adamopoulou

This Scope of Accreditation replaces the previous one dated 7.02.2022

The Accreditation Certificate No. 1106-2, to ELOT EN ISO 15189:2012, is valid until 16.11.2025

Athens, 5.04.2022

Christos Nestoras

CEO of ESYD