Hellenic Accreditation System

Annex F1/4 to the Certificate No.1166 SCOPE of ACCREDITATION Of the Testing Laboratory of ENVIA S.A.

| Tested materials or products | Types of tests / Properties to be measured | Applied methods/ Techniques to be used |
| --- | --- | --- |
| Acoustic tests |
| Air quality | Determination of environmental noise levels in outdoor and indoor industrial plants | Measurement TESTO 816-1, ELOT EN 11250.02:2011 ELOT EN 1996-2_2007 ELOT EN 1996-1_2016 ΚΥΑ 13586/724 |
| Chemical measurements |
| Indoor and outdoor air | Measurement of suspended dust simultaneous measurement of six (6) different in diameter dust particles a) 0.3, 0.5, 1.0, 2.5, 5.0, 10.0 μm b) PM 2.5, PM 10.0 & TPM μg/m3 | Manufacturer method HANDHELD 3016 IAQ (According to the manufacturer's statement the method complies with EN 16450-1: 2017) |
| Indoor and outdoor air | Measurements 1) CH4 2) CO 3) O2 0 4) NH3 5) H2S 0 6) VOCs | Manufacturer method EAGLE 2 ELOT EN 60079-29-1 ELOT EN 60079-29-2 ELOT EN 45544-1 ELOT EN 45544-4 |

Site of assessment: permanent laboratory premises, Politechneiou 24, 54625, Thessaloniki.

Approved signatories: X. Papanikos, A. Maragkoulidis

The Accreditation certificate No. 1166, to ELOT EN ISO/IEC 17025:2017, is valid until 30.10.2024.

Athens, 25.04.2024

Christos Nestoras

CEO of ESYD