Hellenic Accreditation System

Annex F1/12 to the Certificate No.620-5 SCOPE of ACCREDITATION of the Testing Laboratory of Parmakli Biochemical Laboratories Ltd.

| Materials/Products tested | Types of test/Properties measured | Applied methods/Techniques used |
| --- | --- | --- |
| Microbiological Tests |
| 1. Food and animal feeding stuffs | 1. Detection of non typhi, non paratyphi Salmonella spp. | ISO 6579-1:2017 |
|  | 2. Enumeration of coagulase-positive staphylococci | ISO 6888-2:2021 |
|  | 3. Enumeration of total coliforms | ISO 4832:2006 |
|  | 4. Enumeration of β–glucuronidase-positive E. coli | ISO 16649-2 :2001 |
|  | 5. Enumeration of the total aerobic micro-organisms at 30 °C | ISO 4833-1:2013 |
| 2. Food, animal feeding stuffs and environmental samples in the area of food production and food handling. | 1 Detection of Listeria spp and Listeria monocytogenes | ISO 11290-1: 2017 |
| 3. Drinking water | 1. Enumeration of total coliforms and E. coli | ISO 9308-1:2014 |
|  | 2. Enumeration of culturable micro-organisms at 22(2οC and 36(2 οC | ISO 6222:1999 |
|  | 3. Detection and enumeration of intestinal enterococci | ISO 7899-2:2000 |
| 4. Milk | 1.Detection of antimicrobic substances Penicillins [Penicillin G, Amoxicillin, Ampicillin, Oxacillin, Cloxacillin, Nafcillin), Cephalosporins (Cephalexin, Cefquinome, Ceftiofur, Cephapirin, Cefazolin, Cephalonium, Cefoperazone), Tetracyclines (Oxytetracycline, Tetracycline, Chlortetracycline, Doxycycline), Sulfamides (Sulfathiazole, Sulfadiazine, Sulfadimethoxine, Sulfamethoxypyridazine, Sulfamethazine), Macrolides (Tylosin, Erythromycin), Aminoglycosides (Neomycin, Gentamicin, DH-streptomycin, Streptomycin), (Lincomycin, Rifaximin, Dapsone)] | Diffusion method, ECLIPSE 4G/ZEU, |
| Physical Tests |
| 1.Raw milk | 1. Determination of freezing point | M-10, Thermistor cryoscope routine method ISO 5764/IDF 108: 2009-Annex C |
| Chemical Tests |
| 1.Raw milk | 1. Determination of fat and protein | Internal Method of automated analyzer, Mid Infrared Spectrometry (Lactoscope), based on ISO 9622:2013 /IDF 141: 2013 |
|  | 2. Determination of protein | Internal Method based on ΑΟΑC Official method 991.20 |
| 2. Animal feeding stuffs and cereals | 1. Determination of fat | Internal Method (without hydrolysis) based on ISO6492:1999 |
| 3. Drinking water surface water | 1. Determination of pH | Internal Method based onAPHA* 4500-H |
|  | 2. Determination of Conductivity | Internal Method based onAPHA* 2510 B |
|  | 3. Determination of nitrates | HACH LANGE (LCK 339) |
|  | 4.Determination of nitrites | HACH LANGE (Method 8507 POWDER PILLOWS) |
| 4. Wastewater | 1. Determination of Biochemical Oxygen demand (BOD) | In house method based on APHA* 5210 D, 23rd Ed. 2017 |
|  | 2. Determination of Chemical Oxygen demand (COD) | HACH LANGE (LCK 314 & 514) |

*American Public Health Association, American Water Works Association, Water Environment Federation, “Standard Methods for the Examination of Water and Wastewater”, 24th edition, 2022

Site of assessment: Laboratory permanent premises: 8th km Larisas - Agias, 40009 , Larisa, Greece.

Approved signatories: N. Panou,P.Kotziakozidou

This scope of Accreditation replaces the previous one dated 21.01.2022.

The Accreditation Certificate No.620-5, to ELOT EN ISO/IEC 17025:2017, is valid until 22.09.2025.

Athens, 24.11.2023

Christos Nestoras

CEO of ESYD