Hellenic Accreditation System

Annex G1/4 to the Certificate No. 1141 SCOPE of ACCREDITATION of the Clinical Laboratory of APOSTOLAKOPOULOS Medical Diagnostic Center

| Materials/Products tested | Types of test/Properties measured | Applied methods/Techniques used |
| --- | --- | --- |
| Biochemical Tests |
| Blood serum Blood serum (continued) | Determination of 23 parameters | Automated biochemical analyzer, Dimension Siemens* Ε.410-1/2/01.09.2019 |
|  | 1. Glucose | Enzymatic (HKGGP-DH) |
|  | 2. Calcium | Colorimetric (Arsenazo III) |
|  | 3. Albumin | Colorimetric (BCG) |
|  | 4. Protein (total) | Colorimetric (biuret) |
|  | 5. Urea | Enzymatic (urease, UV) |
|  | 6. Creatinine | Colorimetric (Jaffe, no deproteinization) |
|  | 7. Uric acid | Enzymatic (uricase- PAP) |
|  | 8. Bilirubin (total) | DPD |
|  | 9. Bilirubin (direct) | DPD |
|  | 10. Iron | Ferrozine |
|  | 11. Cholesterol (total) | Enzymatic (CHOD – POD) |
|  | 12. HDL-Cholesterol | a) Selective Immunointerference, b) Enzymatic - colorimetric |
|  | 13. Triglycerides | Enzymatic (GPO – PAP) |
|  | 14. Amylase | IFCC (EPS) |
|  | 15. Alkaline phosphatase | IFCC |
|  | 16. γ-GT | IFCC |
|  | 17. Creatinine kinase | IFCC |
|  | 18. LDH→P | IFCC/DGKC |
|  | 19. ALT/SGPT | IFCC/DGKC |
|  | 20. AST/GOT | IFCC/DGKC |
|  | 21 CK | IFCC |
|  | 22. Sodium | Direct potentiometric, ISE |
|  | 23. Potassium | Direct potentiometric, ISE |
| Immunochemical Tests |
| Blood serum | Determination of 11 parameters | Automated Immunochemical analyzer CENTAUR XP SIEMENS* Ε.410-1/2/01.09.2019 |
|  | B-Human Chorionic gonadotropin (b-ThCG) | CLIA |
|  | Thyrotropin Hormone (TSH) |  |
|  | Triidothyronine total (T3) |  |
|  | Thyroxin total (T4) |  |
|  | Free Thyroxin (FT4) |  |
|  | Free Triidothyronine |  |
|  | Prostatic Specific Antigen (PSA) |  |
|  | Estradiol (E2) |  |
|  | Follicle stimulating hormone (FSH) |  |
|  | Luteinizing hormone (LH) |  |
|  | Prolactin (PRL) |  |
| Haematological Tests |
| Whole Blood EDTA Whole Blood EDTA (continued) | Determination of 15 parameters | Automated analyser ADVIA 2120 SIEMENS* Ε.410-1/2/01.09.2019 |
|  | White Blood Cells(WBC) | Flow Cytometry method |
|  | Hematocrit (HCT) | Calculated |
|  | Haemoglobin (HGB) | Photometry |
|  | Red Blood Cells (RBC) | Flow Cytometry method |
|  | Platelets (PLTs) | Flow Cytometry method |
|  | Mean Cell Volume (MCV) | Calculated |
|  | Mean Cell hemoglobin (MCH) | Calculated |
|  | Mean Cell Hemoglobin Concentration (MCHC) | Calculated |
|  | Red Blood cell Distribution Width (RDW) | Calculated |
|  | Mean platelets Volume (MPV) | Calculated |
|  | Neutrophils | Flow Cytometry method |
|  | Monocytes | Flow Cytometry method |
|  | Lymphocytes | Flow Cytometry method |
|  | Eosinophils | Flow Cytometry method |

*Reference to the commercial name of a specific analyzer refers to a specific analytical method and protocol

Site of assessment: Permanent laboratory premises: 22, Aretaiou str & Panormou, 11522, Athens.

Approved signatories: Panagiotis Apostolakopoulos, Konstantinos Tsiartas.

The Accreditation Certificate No.1141, κατά ΕΛΟΤ ΕΝ ISO 15189:2012, has been extended until 02.06.2023.

Athens, 15/10/2022

Christos Nestoras

CEO of ESYD