Hellenic Accreditation System

Annex G1/3 to the Certificate No. 1227 SCOPE of ACCREDITATION of the Biochemistry Department of the General Cancer Hospital "AGIOS SAVVAS"

| Tested materials/products | Types of test/Properties to be measured | Applied standards/Techniques |
| --- | --- | --- |
| BiochemicalTests |
| Blood Serum Blood Serum (continued) | Determination of 31 parameters | Automated biochemical analyzers Architect c8000 (ARC I and ARC II)* Δ.410/1/01.03.15, E410-1/3/28.11.21 |
|  | Glucose | Enzymatic (HK,G6P-DH) |
|  | Albumin | Colorimetric (BCG) |
|  | Protein (total) | Colorimetric (biuret) |
|  | Magnesium | Colorimetric (xylidylblue) |
|  | Bilirubin Total | Colorimetric (DPD) |
|  | Bilirubin Direct | Colorimetric (DPD) |
|  | Iron | Colorimetric (Ferrozin) |
|  | Cholesterol Total | Enzymatic (CHOD-POD) |
|  | HDL- Cholesterol | Enzymatic – colorimetric with Selective Immunointerference |
|  | Triglycerides | Enzymatic (GPO-POD) |
|  | Alkaline phosphatase | IFCC** |
|  | γ-GT | IFCC** |
|  | CPK | IFCC** |
|  | LDH-L | IFCC** |
|  | ALT/SGPT | Modified IFCC without pyridoxal phosphate |
|  | AST/GOT | Modified IFCC without pyridoxal phosphate |
|  | Cholinesterase | Kinetic catalytic (butyrylthiocholine) |
|  | UIBC | Iron saturation of transferrin – Colorimetric (nitroso-PSAP) |
|  | Total Bilirubin | Colorimetric |
|  | Direct Bilirubin | Colorimetric |
|  | UIBC | Colorimetric |
| Blood Serum, Urine | Calcium | Colorimetric (Arsenazo III) |
|  | Phosphorus | Colorimetric (ammonium heptamolybdate) |
|  | Urea | Enzymatic (urease, UV) |
|  | Creatinine | Enzymatic |
|  | Uric acid | Enzymatic (uricase- PAP) |
|  | α-Amylase | IFCC** |
|  | Sodium | Indirect potentiometric, ISE |
|  | Potassium | Indirect potentiometric, ISE |
|  | Chloride | Indirect potentiometric, ISE |
| Urine, CSF | Protein | Turbidimetric (Benzethonium Chloride) |
| Blood Serum, Urine | Determination of 1 parameter | Osmometer Knauer* Δ.410/1/01.03.15, E410-1/3/28.11.21 |
|  | Osmolality | Freezing point depression |
| Blood Serum | Determination of 6 parameters | Αutomated clinical capillary electrophoresis system V8 HELENA* Δ.410/1/01.03.15, E410-1/3/28.11.21 |
|  | Albumin | Capillary Electrophoresis |
|  | α1 |  |
|  | α2 |  |
|  | β1 |  |
|  | β2 |  |
|  | γ |  |
| ImmunochemicalTests |
| Blood Serum | Determination of 20 parameters | Automated immunochemical analyzer Cobas 6000* (A and Z), Roche Δ.410/1/01.03.15, E410-1/3/28.11.21 |
|  | Carcinoembryonic antigen (CEA) | Electro-Chemiluminescence |
|  | Alpha Fetoprotein (α-FP) | Electro-Chemiluminescence |
|  | Tumor marker CA 15-3 | Electro-Chemiluminescence |
|  | Tumor marker CA 125 | Electro-Chemiluminescence |
|  | Tumor marker CA 19-9 | Electro-Chemiluminescence |
|  | Total Prostate Specific Antigen (PSA-total) | Electro-Chemiluminescence |
|  | Free Prostate Specific Antigen (PSA-free) | Electro-Chemiluminescence |
|  | Ferritin | Electro-Chemiluminescence |
|  | Folate | Electro-Chemiluminescence |
|  | Vitamin Β12 | Electro-Chemiluminescence |
|  | Marker S-100 | Electro-Chemiluminescence |
|  | Marker NSE | Electro-Chemiluminescence |
|  | Tumor marker CA 72-4 | Electro-Chemiluminescence |
|  | Tumor marker CYFRA 21-1 | Electro-Chemiluminescence |
|  | Triidothyronine total (T3) | Electro-Chemiluminescence |
|  | Thyroxin total (Τ4) | Electro-Chemiluminescence |
|  | Thyrotropin Hormone (TSH) | Electro-Chemiluminescence |
|  | Free Triidothyronine total (Free T3) | Electro-Chemiluminescence |
|  | Free Thyroxin (Free T4) | Electro-Chemiluminescence |
|  | Thyroglobulin (TG) | Electro-Chemiluminescence |
| Blood Serum | Determination of 4 parameters | Automated immunochemical analyzer, Integra 400plus*, Roche Δ.410/1/01.03.15, E410-1/3/28.11.21 |
|  | Valproic acid | FPIA (mouse monoclonal) |
|  | Carbamazepine | FPIA (sheep antiserum) |
|  | Phenytoin | FPIA (mouse monoclonal) |
|  | Digoxin | KIMS |
| Hematological Tests |
| Whole blood (EDTA) | Determination of 1 parameter | HPLC Analyzer Adams HA8160, Menarini* Δ.410/1/01.03.15, E410-1/3/28.11.21 |
|  | 1. Glycozylated Hemoglobin HbA1c | HPLC |

*Reference to the commercial name of a specific analyzer/kit, refers to a specific analytical method and protocol

**IFCC: International Federation of Clinical Chemistry

Site of assessment: Laboratory permanent premises: Biochemistry Department of the General Cancer Hospital "AGIOS SAVVAS", 171, Alexandras Av., 11522, Athens.

Approved signatories: N. Courtis, V. Karagiannis,  E. Lykoka, A. Papandreou, K. Piperaki, Ch. Sakellaridis.

This scope of Accreditation replaces the previous one dated 01.02.2022

The Accreditation Certificate No. 1227, to ELOT EN ISO 15189:2012, is valid until 16.11.2024.

# Athens, 16th October 2023

# Christos Nestoras

CEO of ESYD