| Hellenic Accreditation System Annex F1/1 to the Certificate No.1252 SCOPE of ACCREDITATION of the Testing Laboratory of ENVIROSYS |
| --- |
| Tested materials or products | Types of tests / Properties to be measured | Applied methods / Techniques to be used |
|  | Chemical tests |  |
| Ambient Air | Sampling and Measurement of Benzene | EN 14662-3:2005, EN 15267- 1:2009 |
|  | Sampling and Measurement of O3 | ΕΝ 14625:2012 |
|  | Sampling and Measurement of CO | EN 14626:2012 |
|  | Sampling and Measurement of SO2 , H2S | EN 14212:2012 ISO 7935:1992 |
|  | Sampling and Measurement of NOx | EN 14211:2012 ISO 10849:1996 |
|  | Sampling and Measurement of PM10, PM2.5 particles | Horiba Automatic Analyzer Manufacturer Method (APDA-372) equivalent to EN 12341 en14907 Cert No.0000043107-_02/12.06.2019 |

Site of assessment: Permanent laboratory premises: Lefkados 10, PO 11362, Athens.

Approved signatories: A. Vagiannou, L.Eleftheriadis

The Accreditation Certificate No 1252, to ELOT EN ISO/IEC 17025:2017, is valid until 20.04.2025.

Athens, 21.04.2021

Spyridon Podaras

CEO of ESYD