Hellenic Accreditation System

Annex F1/ΧV12 to the Certificate No. 142-5 SCOPE of ACCREDITATION of the Chemical Service of Serres of the General Chemical State Laboratory

| Tested materials/ products | Types of test/ Properties to be measured | Applied Standards/ Techniques to be used |
| --- | --- | --- |
| Chemical Tests |
| 1. Cigarettes (with filter) | 1. Cigarettes-Determination of: (a) total particulate matter (TPM) (b)Nicotine free dry particulate matter (NFDPM or Tar), in Smoke condensates. | ISO 4387:2019 Routine Analytical Smoking Machine |
|  | 2. Determination of Water in Smoke Condensates | ISO 10362-1:20109 Gas Chromatographic Method (GC-TCD) |
|  | 3. Determination of Nicotine in Smoke Condensates | ISO 10315:2013 Gas Chromatographic Method (GC – FID) |
|  | 4. Determination of Carbon monoxide in the vapor phase of cigarette smoke | ISO 8454:2007 NDIR method |
| 2. Εlectronic cigarettes liquid (e-liquid) | 1.Detection and determination of Nicotine | In house method with GC/FID, based on ISO 10315, 2013 and: CORESTA Recommended Method No 62: 2005. |
| 3. Tobacco products and substitutes, Whole tobacco and Tobacco by products | 1. Determination of nicotine | In house method with GC/FID based on: CORESTA Recommended Method No 62: 2005. |
|  | 2. Determination of Ammonia | In house method with Ion Chromatography, based on: CORESTA Recommended Method No 79: 2015 |
|  | 3. Determination of Nitrate ions | In house method with Ion Chromatography, based on: CORESTA Recommended Method No 36: 2015 |
| 4. Tobacco products and substitutes, Whole tobacco and Tobacco by products, Εlectronic cigarettes liquid (e-liquid) | 1. Detection and Determination of Glycerol and Propylene Glycol | In house method with GC/FΙD, based on: CORESTA Recommended Method No 60: 2015 |
| Microbiological Tests |
| 1. Drinking water | 1. Detection and enumeration of Ε. coli and coliform bacteria. Membrane filtration method. | ISO 9308-1:2014 |
|  | 2. Detection and enumeration of Pseudomonas Aeruginosa by membrane filtration. | ΕLΟΤ EN 16266:2006 |
|  | 3. Enumeration of culturable micro-organisms - Colony count by inoculation in a nutrient agar culture medium | ISO 6222:1999 |
| 2. Disinfected pool water | 1. Detection and enumeration of Ε. coli and coliform bacteria. Membrane filtration method. | ISO 9308-1:2014 |
| 3. Drinking, surface water | 1. Detection and enumeration of intestinal enterococci. Membrane filtration method. | ISO 7899-2:2000 |

Site of assessment:   Permanent laboratory premises, Omonoias str., Serres.

Approved signatories: Kydros K., Kositzi M., Mertzanos G.

This Scope of Accreditation replaces the previous one dated 01.11.2023.

The Accreditation Certificate No. 142-5, according to ELOT EN ISO/IEC 17025:2017, has been extended until 06.11.2024.

Athens, 02.05.2024

Christos Nestoras

CEO of ESYD