Hellenic Accreditation System

Annex G1/5 to the Certificate No.1198 SCOPE of ACCREDITATION of the Clinical Laboratory of Institute of Applied Biosciences - INAB Centre for Research and Technology Hellas – CERTH

| Tested materials/ products | Types of test/ Properties to be measured | Applied Standards/ Techniques to be used |
| --- | --- | --- |
| Molecular genetics |
| 1. Peripheral Blood, Bone Marrow, DNA, Surgical Biopsy | Detection of TP53 gene mutations | Method based on general recommendations from the European Initiative in CLL, ERIC published in 2018 ‘ERIC recommendations for TP53 mutation analysis in chronic lymphocytic leukemia—update on methodological approaches and results interpretation’ for the amplification of exons 4-10 of the TP53 gene using polymerase chain reaction and Sanger sequencing on the Sanger sequencer 3500 Genetic Analyzer (Applied-HITACHI). ΟΕ05-01-09/1η, 18-02-2020: SOPs for mononuclear cell isolation, DNA and RNA extraction and cDNA synthesis ΟΕ05-01-05/1η, 18-02-2020: SOP for TP53_SS test |
| 2. Peripheral Blood, Bone Marrow, DNA, RNA, Surgical Biopsy | Determination of mutational status of the heavy chain immunoglobulin gene | Method based on general recommendations from the European Initiative in CLL, ERIC published in 2017 ‘Immunoglobulin gene sequence analysis in chronic lymphocytic leukemia: updated ERIC recommendations’ for the amplification of B cell receptor immunoglobulin gene rearrangements using polymerase chain reaction and Sanger sequencing on the Sanger sequencer 3500 Genetic Analyzer (Applied-HITACHI). ΟΕ05-01-09/1η, 18-02-2020: SOPs for mononuclear cell isolation, DNA and RNA extraction and cDNA synthesis ΟΕ05-01-04/1η, 18-02-2020: SOP for BCR_SS test |
| 3. Peripheral Blood, Bone Marrow, DNA, RNA, Surgical Biopsy | Determination of immunoglobulin heavy chain gene rearrangements | Method based on general recommendations form EuroClonality published in 2019‘EuroClonality/BIOMED-2 guidelines for interpretation and reporting of Ig/TCR clonality testing in suspected lymphoproliferations’ ‘EuroClonality-NGS Working group Standard Operating Procedure (SOP) for Two-step IG/TR NGS-based marker identification for the Illumina MiSeq platform’ and NEBNext® Ultra™ II DNA Library Prep kit (New England Biolabs)* for the amplification of B cell receptor immunoglobulin gene rearrangements using polymerase chain reaction and library preparation, respectively, as well as next generation sequencing on the MiSeq (Illumina) sequencer. ΟΕ05-01-09/1η, 18-02-2020: SOPs for mononuclear cell isolation, DNA and RNA extraction and cDNA synthesis ΟΕ05-01-06/1η, 18-02-2020: SOP for BCR_NGS test ΟΕ05-01-10/1η, 01-10-2020: SOP for data analysis of BCR_NGS, TCR_NGS tests |
| 4. Peripheral Blood, Bone Marrow, RNA, Surgical Biopsy | Determination of β chain T cell receptor gene rearrangements | Clonality Assay - Tube A (Invivoscribe Technologies)* and NEBNext® Ultra™ II DNA Library Prep kit (New England Biolabs)* for the amplification of T cell receptor rearrangements using polymerase chain reaction and library preparation, respectively, and next generation sequencing on the MiSeq (Illumina) sequencer. ΟΕ05-01-09/1η, 18-02-2020: SOPs for mononuclear cell isolation, DNA and RNA extraction and cDNA synthesis ΟΕ05-01-07/1η, 18-02-2020: SOP for TCR_NGS test ΟΕ05-01-10/1η, 01-10-2020: SOP for data analysis of BCR_NGS, TCR_NGS tests |
| 6. Peripheral Blood, Bone Marrow, RNA, Surgical Biopsy | Detection of TP53 gene mutations by next-generation sequencing | Method based on general recommendations from ERIC, the European Initiative in CLL, published in 2018 ‘ERIC recommendations for TP53 mutation analysis in chronic lymphocytic leukemia—update on methodological approaches and results interpretation’ and the recommendations of the NEBNext® Ultra™ II DNA Library Prep kit (New England Biolabs)* for the amplification of exons 2-11 of the TP53 geneusing polymerase chain reaction and library preparation, respectively, and next generation sequencing on the MiSeq (Illumina) sequencer. ΟΕ05-01-09/1η, 18-02-2020: SOPs for mononuclear cell isolation, DNA and RNA extraction and cDNA synthesis ΟΕ05-01-12/0, 04-05-2020: SOPs for TP53_NGS test ΟΕ05-01-15/1η, 01-07-2019: SOP for data analysis of TP53_NGS, HaemaPMN_NGS_panel,OncoPMN_NGS_panel |
| 7. Peripheral Blood, Bone Marrow, DNA, Surgical Biopsy | Detection of mutations in Hematologic malignancies in the genes ASXL1, CXCR4, IKZF 2,NPM1,SRSF2, ATM, DNMT3A, IKZF 3, NRAS, STAG2BRAF, ETV6, IKZF1, PAX5, TET2BTK, EZH2, JAK1, PLCG2, TP53, CALR, FBXW7,JAK2, RHOA, U2AF1, CBL, FLT3, MPL, RUNX1, ZRSR2, CEBPA, IDH1, MYD88, SETBP1, CSF3R, IDH2, NOTCH1, SF3B1 | Ampliseq for Illumina Custom Panel)**(Illumina) for library preparation and next generation sequencing on the NextSeq (Illumina) sequencer. ΟΕ05-01-09/1η, 18-02-2020: SOPs for mononuclear cell isolation, DNA and RNA extraction and cDNA synthesis ΟΕ05-01-11/0,01-07-2019:SOPs HAEMAPMN_NGS_PANEL L test ΟΕ05-01-15/1η 01-07-2019: SOP for data analysis of TP53_NGS, HaemaPMN_NGS_panel,OncoPMN_NGS_panel |
| 8. Peripheral Blood, Bone Marrow, RNA, Surgical Biopsy | Detection of mutations of Solid tumor in the genes AKT1, CDKN2A, IDH2, MLH1, PTEN, ALK, CHEK1, JAK2, MSH2, RAD50 AR, CHEK2, JUN, MSH6, RAD51 ATM, CTNNB1, KDR, mTOR, RB1, BCL2, EGFR, KIT, MYC, RET, BRAF, ERBB2, KMT2C, NF1, ROS1, BRCA1, ERBB4, KRAS, NOTCH1, SMAD4, BRCA2, ESR1, MAP2K1, NRAS, STAT3, CCND1, FGFR1, MDM2, PALB2, STK11, CCNE1, FGFR2, MDM4, PDGFRA, TP53, CDK4, FGFR3, MEN1, PIK3CA, CDK6, IDH1, MET, PIK3CB | Ampliseq for Illumina Custom Panel)***(Illumina) for library preparation and next generation sequencing on the NextSeq (Illumina) sequencer. ΟΕ05-01-09/1η, 18-02-2020: SOPs for mononuclear cell isolation, DNA and RNA extraction and cDNA synthesis ΟΕ05-01-016/0, 01-07-2019: SOPs for DNA FFPE isolation ΟΕ05-01-14/0, 01-07-2019:SOPs OncoPMN_NGS_PANEL L test ΟΕ05-01-15/1η, 01-07-2019: SOP for data analysis of TP53_NGS,HaemaPMN_NGS_panel,OncoPMN_NGS_panel |
| 9. Oropharyngeal / Nasal Swabs | Molecular detection of RNA of novel corona virus SARS-CoV-2 | Manufacturer’s Direct SARS-COV-2 Real Time PCR Kit for in vitro diagnostic use (Vircell Microbiologists). Using AriaMx Real-Time PCR System. ΟΕ05-01-013/0, 01-12-2020: SOPs SARs_CoV_2test In house Real Time PCR ‘Real-time RT-PCR assays for the detection of SARS-CoV-2 Institut Pasteur, Paris’ using AriaMx Real-Time PCR System and Rotor-Gene Q Real-Time ΟΕ05-01-013/0, 01-12-2020: SOPs SARs_CoV_2test |

*Reference to the commercial name of a specific kit, refers to a specific analytical method and protocol

Site of assessment: Centre for Research and Technology Hellas – CERTH, 6th km Charilaou-Thermi Rd, GR 57001,Thermi, Thessaloniki.

Approved signatories: K. Stamatopoulos, A. Hadzidimitriou

This scope of Accreditation replaces the previous one dated 01.02.2024.

The Accreditation Certificate No.1198, to ELOT EN ISO 15189:2012, is extended until 02.07.2024.

Athens, 01.06.2024

Christos Nestoras

CEO of ESYD