Hellenic Accreditation System

Annex G1/1 to the Certificate No.1244 SCOPE of ACCREDITATION of the Clinical Laboratory XHELILI PRIVATE DIAGNOSTIC LABORATORY

| Materials/Products tested | Types of test/Properties measured | Applied methods/Techniques used |
| --- | --- | --- |
| Biochemical Testing |
|  | Determination of 9 parameters | Automated analyzer Cobas Integra 400* LAB_P #504/1/5.1.19 |
| Blood Serum | 1. Aspartate Aminotransferase (AST) | Quantitative determination of the catalytic activity of AST (EC 2.6.1.1; L-aspartate; 2-oxoglutarate aminotransferase) in serum and plasma REF: 20764949322 |
|  | 2. Alanine Aminotransferase (ALT) | Quantitative determination of the catalytic activity of ALT (EC w.6.1.2; L-alanine: 2-oxoglutarate aminotransferase) in serum and plasma REF: 20764957322 |
|  | 3. Creatinine | The enzymatic method is based on the established determination of hydrogen peroxide after conversion of Creatinine with the aid of creatininase, creatinase, and sarcosine oxidase REF:04810716190 |
|  | 4. Uric Acid | END POINT- The hydrogen peroxide formed reacts with N-ethyl-N-(2-hydroxy-3-sulfopropyl)-m-toluidine (TOOS) and 4-aminoantipyrine (4-AAP) in the presence of peroxidase (POD) and forms a red quinone-imine dye REF: 03183807190 |
|  | 5.Urea | FIXE TIME- In the second reaction 2-oxoglutarate reacts with ammonium in the presence of glutamate dehydrogenase (GLDH) and the coenzyme NADH to produce L-glutamate. In this reaction two moles of NADH are oxidized to NAD for each mole of urea hydrolyzed REF: 04460715190 |
|  | 6.Glucose (GLU) | END POINT- Hexokinase (HK) catalyzes te phosphorylation of glucose by ATP to form glucose-6-phosphate and ADP REF: 04404483190 |
|  | 7.Triglycerides (TRI ) | END POINT- In the presence of peroxidase (POD), hydrogen peroxide effects the oxidative coupling of 4-chlorophenol and 4-aminophenazone to form a red-colored quinone-imine dye REF: 20767107322 |
|  | 8. Bilirubin Total (BILT) | END POINT- in the presence of a suitable solubilizing agent, is coupled with a 3.5 dichlorophenyl diazonium ion in a strongly acidic medium REF: 05795397190 |
|  | 9. Cholesterol (total) | END POINT-In the presence of peroxidase (POD), the hydrogen peroxide formed effects the oxidative coupling of phenol and 4-amino-antipyrine (4-AAP) to form a red-colored quinone-imine dye REF: 030399773190 |
| Hematology Tests |
|  | Determination of 8 parameters | Automated Hematology Sysmex XS-1000i* LAB_P #504/1/5.1.19 |
| Whole Blood (EDTA) | 1. Hemoglobim (HB) | Method Photometry |
|  | 2. Haematocrit (HCT) | Method Numeric integration |
|  | 3. White Blood Cells (WBC) | Technology Cytometry & Cytochemical association |
|  | 4. Red Blood Cells (RBC) | Method Impedance |
|  | 5. MCV (Vellimi Mesatar Korpuskular) | Calculated Parameter |
|  | 6. MCH (Hemoglobina Mesatare Korpuskulare) | Calculated Parameter |
|  | 7. MCHC (Perqendrimi I Hemoglobines Mesatare Korpuskulare) | Calculated Parameter |
|  | 8. Platelet (PTL) | Method Impedance |

*Reference to the commercial name of a specific analyzer  refers to a specific analytical method and protocol

Site of assessment:  Permanent laboratory premises, ELBASAN Lagjja Haxhias, rruga Petrit Gaçe, zona kadastrale nr.8525, pasuria nr.9/249, kati 1, Albania.

Approved signatories: Dr.Ferdinant Xhelili.

The Accreditation Certificate No.1244, to EN ISO 15189:2012, is valid until 28.03.2025.

Athens, March 29, 2021

# Spyridon Podaras

CEO of ESYD