Hellenic Accreditation System

Annex G1/13 to the Certificate No.499-5 SCOPE of ACCREDITATION of the Laboratory of Standard Biotechnology Laboratories Ltd. MY CELLS

| Materials/Products tested | Types of test/Properties measured | Applied methods/Techniques used |
| --- | --- | --- |
| Haematology Tests |
| 1.Umbilical cord blood prior and after processing | 1. Enumeration of nucleated cells (White Blood Cells, WBC) | Automated haematological analyzer ROCHE SYSMEX K-800, electrical resistance method ΟΕ.ΜΔ.01/5.1/05.08.21 |
|  | 2. Enumeration of viable CD45+dim/CD34+ haematopoietic progenitor cells | Flow cytometry according to the Immunostep STEM CELL kit and ISHAGE guidelines (FACSCalibur, Becton Dickinson) ΟΕ.ΜΔ.02/6.1/05.08.21 |
| Microbiological Tests |
| 1.Umbilical cord blood | 1. Detection of aerobic and anaerobic microbial contamination | Closed system with colorimetric detection (BACTALERT 3D 60/ BIOMERIEUX) ΟΕ.ΜΔ.03/6/05.08.21 |

Site of assessment:  Permanent laboratory premises, 49 I. Polemi str., Thessaloniki, Greece.

This scope of Accreditation replaces the previous one dated 19.05.2021.

The Accreditation Certificate No.499-5 to ELOT EN ISO 15189:2012, is extended until 25.01.2025.

Athens, October 21 2021

Spyridon Podaras

CEO of ESYD