Hellenic Accreditation System

Annex F1/7 to the Certificate No. 1150-3 SCOPE of ACCREDITATION of Testing Laboratory of “Delta Analytical Labs”

| Tested Materials/Products | Types of test/Properties measured | Applied methods/Techniques used |
| --- | --- | --- |
| Chemical tests |
| 1. Water for human consumption | 1. Determination of Sulfates (*) | HACH 8051 |
|  | 2. Determination of Nitrates (*) | HACH LCK 339 |
|  | 3. Determination of Chloride (*) | HACH LCK 311 |
|  | 4. Determination of Iron (*) | HACH 8008 |
|  | 5. Determination of Copper (*) | HACH 8506 |
|  | 6. Determination of Aluminum (*) | HACH 8012 |
|  | 7. Determination of Total Hardness (as CaCO3) | ELOT 170 :1980 |
|  | 8. Determination of Total Residual Chlorine (*) | HACH 8167 |
|  | 9. Determination of Fluoride (*) | HACH LCK323 |
|  | 10. Determination of pH at 25 oC (*) | APHA(**) 4500-H |
|  | 11. Determination of Total Dissolved Solids at 180 oC (*) | APHA(**) 2540-C |
|  | 12. Determination of Turbidity (*) | APHA(**) 2130-B |
| Microbiological tests |
| 1. Water for human consumption | 1. Detection and enumeration of Escherichia coli and coliform bacteria(*) | ISO 9308-1:2014/Amd 1:2016 |

*Methods marked with (*) are in accordance with the method specification of Common Ministerial Decision

Δ1(δ)/ΓΠ  οικ.  27829:2023 (regulation EC 98/83 and its amendments) concerning the quality of drinking water.

** American Public Health Association, American Water Works Association, Water Environment Federation, “Standard Methods for the Examination of Water and Wastewater”, 24th  Edition, 2022.

Site of assessment: Mandra, Attica

Approved signatories: Charalampos Tsantilas, Athanasios Dimogiorgas

This Scope of Accreditation replaces the previous one dated 15.09.2023.

The Accreditation Certificate No. 1150-2, to ELOT EN ISO/IEC 17025:2017, is valid until 18.12.2027.

Athens, 29.01.2024

Christos Nestoras

CEO of ESYD