Hellenic Accreditation System

Annex F1/3 to the Certificate No. 1217 SCOPE of ACCREDITATION of Thessaloniki Water Treatment Plant Laboratory οf Water Facilities Direction οf Thessaloniki Water Supply & Sewerage Company S.A. (EYATH AE)

| Materials/Tested products | Type of test/Measured properties | Applied standards/ Techniques used |
| --- | --- | --- |
| Physicochemical Tests |
| Drinking water | Determination of free chlorine | Μ-04, In house method based on DPD, 8021 HACH |
| Surface and drinking water | Determination of pH | Μ-01, In house method based on ΕLΟΤ 658:1983 |
|  | Determination of conductivity | Μ-02, In house method based on APHA 2510 |
|  | Determination of turbidity | Μ-03, In house method based on APHA 2130B |
|  | Determination of Total Organic Carbon (TOC) | Μ-20, In house method based on APHA5310 |
| Drinking, surface and ground water | Determination of Chloride Ions | Μ-05, In-house method based on APHA 4500-Cl– B |

| Materials/Tested products | Type of test/Measured properties | Applied standards/ Techniques used |
| --- | --- | --- |
| Drinking and ground water | Determination of Ammonium Ions | Μ-06, Colorimetric, 114752 Spectroquant Merck |
|  | Determination of Nitrite Ions | Μ-07, In-house method based on APHA 4500-NO2- B* |
|  | Determination of Nitrate Ions | Μ-08, In-house method based on APHA 4500-NO3- B, screening |
|  | Determination of Total Iron | Μ-09, In-house method based on APHA 3500-Fe B |
|  | Determination of Color | Μ-10, Color HAZEN (Platin-Cobalt) Method number 180 Spectroquant Merck |
|  | Determination of Boron | Μ-11, Method 100826 Spectroquant Merck |
|  | Determination of Manganese, Cadmium, Chromium, Copper, Lead, Nickel | Μ-12, In-house method Atomic Absorption – graphite furnace |
|  | Determination of Arsenic, Antimony, Selenium, Mercury | Μ-13, In-house method Atomic Absorption – hydride analysis |
| Drinking water | Determination of Aluminum | M-14, Method HACH LCK 301 |
| Surface and drinking water | Determination of Volatile Organic Compounds (VOCs): 1. Methyloisoborneol (MIB), 2. Geosmin, 3. cis-1,2dichloroethene (cis-DCE), 4. trans-1,2-dichloroethene (trans-DCE), 5. Chloroform, 6. 1,2-dichloroethane, 7. Benzene, 8. Trichloroethene, 9. Bromodichloromethane, 10. Toluene, 11. Tetrachloroethene, 12. Dibromochloromethane, 13. Chlorobenzene 14. Ethylbenzene, 15. Styrene, 16. Bromoform, 17. 1,2-Dichlorobenzene | Μ-21, In-house method HS-SPME-GC/MS based on ELOT EN ISO 17943_2016 (HS-SPME-GC/MS) |
| Surface and drinking water | Προσδιορισμός φυτοφαρμάκων: 1. 2,4-D (2,4-PA), 2. Acetochlor, 3. Acibenzolar-S-methyl, 4. Aldicarb-Sulfone (Aldoxycarb), 5. Ametryn, 6. Amitraz, 7. Atrazine, 8. Azaconazole, 9. Azimsulfuron, 10. Azinphos methyl, 11. Azoxystrobin, 12.Benalaxyl, 13. Bentazone, 14. Benzoximate, 15. Bispyribac-sodium, 16. Boscalid, 17. Bromacil, 18. Bromoxynil, 19. Bromuconazole 1, 20. Bromuconazole 2, 21. Bupirimate, 22.Buprofezin, 23.Butafenacil, 24.Cadusafos, 25.Carbaryl, 26. Carbofuran, 27. Carboxin, 28. Carpropamid, 29. Chlorantraniliprole, 30. Chlorbromuron, 31. Chloridazon, 32. Chloroxuron, 33. Chlorpyrifos, 34. Chlorsulfuron, 35. Clethodim, 36. Climbazole, 37. Clodinafop-propargyl, 38. Clomazone, 39. Coumaphos, 40. Crimidine, 41. Cyanazine, 42. Cyazofamid, 43. Cycloxydim, 44. Cyproconazole, 45. Cyprodinil, 46. Demeton-S, 47. Desmedipham, 48. Desmetryn, 49. Diazinon, 50. Dichlofluanid 51.Dichlorprop, 52.Diclobutrazol (stereo isomer), 53.Diethofencarb, 54.Difenoconazole, 55. Diflubenzuron, 56. Dimethenamid, 57. Dimethoate, 58. Dimethomorph, 59. Diphenamid, 60. Dipropetryn, 61. Diuron, 62. EPN, 63. Epoxiconazole, 64. Etaconazole, 65. Ethiofencarb, 66. Ethoprophos, 67.Famphur, 68.Fenarimol, 69. Fenbuconazole, 70. Fenhexamid, 71. Fenoxycarb, 72. Fensulfothion, 73. Fipronil, 74. Fipronil-desulfinyl, 75. Florasulam 76. Fluazifop, 77. Fludioxonil, 78. Flufenacet, 79. Flufenoxuron, 80. Fluometuron, 81. Fluopyram, 82. Fluquinconazole, 83. Fluroxypyr, 84. Flusilazole, 85. Flutolanil, 86. Flutriafol, 87. Foramsulfuron, 88. Forchlorfenuron, 89. Formetanatehydrochloride, 90. Furalaxyl, 91. Halosulfuron-methyl, 92. Hexaconazole, 93. Hexazinone, 94. Hexythiazox, 95. Imidacloprid, 96. Iodosulfuron-methyl, 97. Ioxynil, 98.Iprovalicarb, 99. Isoprothiolane, 100. Isoproturon, 101. Isoxaflutole, 102. Malathion, 103. MCPA, 104. Mefenpyr-diethyl, 105. Mepronil, 106. Mesosulfuron methyl, 107. Metalaxyl-M (Mefenoxam) | Μ-22, In-house method Direct Injection- LC-MS/MS based on Shimadzu application news No SCA_210_043 |

| Materials/Tested products | Type of test/Measured properties | Applied standards/ Techniques used |
| --- | --- | --- |
| Surface and drinking water (continued) | 108. Metazachlor, 109. Methabenzthiazuron, 110. Methiocarb, 111. Methomyl, 112. Methoprotryne, 113. Methoxyfenozide, 114. Metobromuron, 115. Metolachlor, 116. Metoxuron, 117. Metribuzin, 118. Metsulfuron-methyl, 119. Mevinphos, 120. Monocrotophos, 121. Myclobutanil, 122. Naled, 123. Napropamide, 124. Nicosulfuron, 125. Norflurazon, 126. Nuarimol, 127. Oxadixyl, 128. Oxamyl 129. Paclobutrazol, 130. Penconazole, 131. Pencycuron, 132. Pendimethalin, 133. Penoxsulam, 134. Phenmedipham, 135. Phorate, 136. Pinoxaden, 137. Pirimicarb, 138. Prochloraz, 139. Profoxydim, 140. Promecarb, 141. Prometryn, 142. Propanil (DCPA), 143. Propaquizafop, 144. Propazine, 145. Propiconazole, 146. Propyzamide, 147. Proquinazid, 148. Prothiophos, 149. Pymetrozine, 150. Pyraclostrobin, 151. Pyrimethanil, 152. Pyriproxyfen, 153. Pyroxsulam, 154. Quinoxyfen, 155. Simazine, 156. Sulfotep, 157. Sulprofos, 158. Tebuconazole, 159. Tebufenozide, 160. Tembotrione, 161. TEPP (Tetraethylpyrophosphate), 162. Terbumeton, 163. Terbutryn, 164. Tetrachlorvinphos (CVMP), 165. Tetraconazole, 166. Thiacloprid, 167. Thiencarbazone-methyl, 168. Thifensulfuron-methyl, 169. Thiobencarb, 170. Thiophanate-methyl, 171. Tolylfluanid, 172. Triadimefon, 173. Tribenuron-methyl, 174. Triclopyr, 175. Tricyclazole, 176. Trifloxystrobin, 177. Triflumizole, 178. Triflumuron, 179. Triticonazole, 180. Tritosulfuron, 181. Uniconazole P | Μ-22, In-house method Direct Injection- LC-MS/MS based on Shimadzu application news No SCA_210_043 |
| Surface and drinking water | 1. 2-Phenylphenol, 2. Acenaphthene, 3. Acibenzolar-S-methyl, 4. Aclonifen, 5. Acrinathrin – Cyhalothrin, 6. Aldrin, 7. Azinphos-ethyl, 8. Benfluralin 9. Benthiavalicarb-isopropyl, 10. Benz[a]anthracene, 11. Benzo[a]pyrene, 12. Benzo[b]fluoranthene, 13. Benzo[g,h,i]perylene, 14. Benzo[k]fluoranthene, 15. BHC-alpha (benzene hexachloride), | Μ-23, In-house method SPE-GC-MS/MS based on EPA 525.2 «Determination of Organic Compounds in Drinking Water by Liquid-Solid Extraction and Capillary Column Gas Chromatography /Mass Spectrometry» |
| Surface and drinking water (continued) | 16. BHC-beta, 17. BHC-delta, 18. BHC-gamma (Lindane,gamma HCH), 19. Bifenox, 20. Biphenyl, 21. Boscalid, 22. Bromacil, 23. Bromocyclen, 24. Bromophos-ethyl, 25. Bupirimate, 26. Buprofezin, 27. Butafenacil, 28. Cadusafos, 29. Carbophenothion, 30. Chlordane-cis, 31. Chlordane-trans, 32. Chlorfenapyr, 33. Chlorfenson, 34. Chlorfenvinphos, 35. Chlorobenzilate, 36. Chloroneb, 37. Chlorpropham, 38. Chlorpyrifos, 39. Chlorpyrifos-methyl, 40. Chlorthion, 41. Chrysene, 42. Clomazone, 43. Cloquintocet-mexyl, 44. Coumaphos, 45. Cyanophos, 46. Cyhalothrin (Lambda), 47. Cypermethrin, 48. Cyproconazole, 49. DCPA (Dacthal,Chlorthal-dimethyl), 50. DDD-o,p', 51. DDD-p,p', 52. DDE-o,p', 53. DDE-p,p', 54. DDT-o,p', 55. DDT-p,p', 56.Diazinon, 57.Dichlofenthion,58.Dichloran, 59. Dichlorobenzonitrile,2,6-(Dichlobenil), 60. Dichlorvos, 61. Diclofop-methyl, 62. Dicofol, o, p', 63. Dicofol, p, p', 64. Dieldrin, 65. Dimethoate, 66. Dimethomorph I & II, 67. Diniconazole, 68. Diphenamid, 69. Ditalimfos, 70. Endosulfan I (alpha isomer), 71. Endosulfan II (beta isomer), 72. Endosulfan sulfate, 73. Endrin, 74. EPN, 75. EPTC, 76. Ethalfluralin, 77. Ethion, 78. Ethofenprox, 79. Ethofumesate, 80. Ethoprophos, 81. Etridiazole, 82.Fenarimol, 83. Fenazaquin, 84. Fenitrothion, 85. Fenpropathrin, 86. Fenpropimorph, 87. Fenson, 88. Fensulfothion, 89. Fenthion 90. Fenvalerate, 91. Fipronil, 92. Fluchloralin, 93. Flucythrinate I & II, 94. Flufenacet, 95. Fluoranthene, 96. Fluorene, 97. Fluvalinate, 98.Fonofos, 99. Fosthiazate I & II, 100. Heptachlor, 101.Heptachlor endo-epoxide, 102. Heptachlor exo-epoxide, 103.Heptenophos, 104.Indeno[1,2,3-cd]pyrene, 105. Indoxacarb, 106. Iodofenphos, 107. Iprobenfos, 108. Iprodione, 109.Isazofos,110. Isocarbophos, 111. Isodrin, 112. Isofenphos, 113. Isofenphos-methyl, 114. Isoprothiolane, 115. Leptophos, 116. Malathion, 117. Mecarbam, 118. Mefenpyr-diethyl, 119. Mepanipyrim, 120. Mepronil, 121. Methacrifos, | Μ-23, In-house method SPE-GC-MS/MS based on EPA 525.2 «Determination of Organic Compounds in Drinking Water by Liquid-Solid Extraction and Capillary Column Gas Chromatography /Mass Spectrometry» |

| Materials/Tested products | Type of test/Measured properties | Applied standards/ Techniques used |
| --- | --- | --- |
| Surface and drinking water (continued) | 122. Methidathion, 123. Methylnaphthalene-1, 124. Methylnaphthalene-2, 125. Metolachlor, 126. Mirex, 127. Naphthalene, 128. Nitrapyrin, 129. Nitrofen, 130. Nitrothal-isopropyl, 131. Nuarimol, 132. Octachlorodipropyl ether (S 421), 133. Ofurace, 134. Oxadiazon, 135. Oxyfluorfen, 136. Parathion, 137. Pendimethalin, 138. Pentachloroanisole, 139. Pentachloronitrobenzene (Quintozene), 140. Permethrin, (1R)-cis, 141. Permethrin (1R)-trans, 142. Phenanthrene, 143. Phenthoate, 144. Phosalone, 145. Phosmet, 146. Phosphamidon I, 147. Phosphamidon II, 148. Piperonyl butoxide, 149. Pirimiphos-ethyl, 150. Pirimiphos-methyl, 151. Procymidone, 152.Profenofos, 153.Promecarb, 154. Propanil, 155. Propargite, 156. Propetamphos, 157. Propham, 158. Propyzamide, 159.Prothiofos, 160. Pyrazophos, 161. Pyrene, 162. Pyridaben, 163. Pyridaphenthion, 164. Pyrimethanil, 165. Pyriproxyfen, 166. Quinalphos, 167.Quizalofop-ethyl, 168. Spiromesifen, 169. Sulfotep, 170. Tebufenpyrad, 171. Tecnazene, 172. Tefluthrin, 173. Terbufos, 174. Tetrasul, 175. Tolclofos-methyl, 176.Transfluthrin, 177. Triadimefon, 178. Triazophos, 179. Trichloronat, 180. Tricyclazole, 181.Vinclozolin | Μ-23, In-house method SPE-GC-MS/MS based on EPA 525.2 «Determination of Organic Compounds in Drinking Water by Liquid-Solid Extraction and Capillary Column Gas Chromatography /Mass Spectrometry» |
| Drinking, surface and ground water | Fluorides, Chlorites, Chlorides, Nitrites, Bromides, Chlorates, Nitrates, Orthophosphates, Sulphates | Μ-24, In-house method of Ion Chromatography based on ISO 10304-1:2007 & EPA Method 300.1 |
| Drinking, surface and ground water | Sodium, Ammonium, Magnesium, Potassium, Calcium Ions | Μ-25, In-house method of Ion Chromatography based on ISO 14911:1998 |
| Drinking, surface and ground water | Bromate | Μ-26, In-house method of Ion Chromatography on ISO 11206:2011 & MetrOhm IC Application Note U-51 |
| Drinking, surface and ground water | Free Cyanides | Μ-27, In-house method of Ion Chromatography based on MetrOhm IC Application Note P-52 |

| Materials/Tested products | Type of test/Measured properties | Applied standards/ Techniques used |
| --- | --- | --- |
| Surface and drinking water | 1.Perfluorobutanoic acid (PFBA), 2. Perfluorobutanesulfonic acid (PFBS), 3. Perfluoropentanoic acid (PFPeA), 4. Perfluoropentanesulfonic acid (PFPeS), 5. Perfluorohexanoic acid (PFHxA), 6. Perfluorohexanesulfonic acid (PFHxS), 7. Perfluoroheptanoic acid (PFHpA), 8. Perfluoroheptanesulfonic acid (PFHpS), 9. Perfluorooctanoic acid (PFOA), 10. Perfluorooctanoicsulfonic acid (PFOS), 11. Perfluorononanoic acid (PFNA), 12. Perfluorononanesulfonic acid (PFNS), 13. Perfluorodecanoic acid (PFDA), 14. Perfluorodecanesulfonic acid (PFDS), 15. Perfluoroundecanoic acid (PFUdA), 16. Perfluoroundecanesulfonic acid (PFUdS), 17. Perfluorododecanoic acid (PFDoA), 18. Perfluorododecanesulfonic acid (PFDoS), 19. Perfluorotridecanoic acid (PFTrDA), 20. Perfluorotridecanesulfonic acid (PFTrDS). | M-28, In-house method based on ISO 21675:2019 and EPA 537.1 methods |
| Microbiological Tests |
| Drinking Water | Enumeration of Total Coliforms and Escherichia coli | Μ-40, ISO 9308-1:2014 /Amd.1:2016 |
|  | Detection and enumeration of intestinal enterococci | Μ-41, ISO 7899-2:2000 |
|  | Enumeration of culturable microorganisms at 22±2οC and 36±2οC | Μ-42, ISO 6222:1999 |
|  | Enumeration of Clostridium perfringens | Μ-43, ISO 14189:2013 |
| Sensory Tests |
| Drinking Water | Taste and odor – Qualitative simplified procedure | M-50, In-house method based on EN 1622:2006 - ANNEX C |

* American Public Health Association, American Water Works Association, Water Environment Federation, “Standard Methods for the Examination of Water and Wastewater”, 24th Edition, 2017.

Site of assessment: Permanent laboratory premises, N. Ionia Thessaloniki

Approved Signatory: Alexiadou Despoina, Gkementzoglou Chrysoula, Karayannakidis Panayotis, Kontopoulou Maria, Xanthopoulou Nikoletta, Seretoudi Georgia, Tsirtou Marianthi.

This Scope of Accreditation replaces the previous one dated 15.07.2022.

The Accreditation Certificate No. 1217, to ELOT EN ISO/IEC 17025: 2017, is valid until 29.07.2024.

Athens, 02.06.2023

Christos Nestoras

CEO of ESYD