Hellenic Accreditation System

Annex F1/Α11 to the Certificate No. 195-9

SCOPE of ACCREDITATION

of the

Testing Laboratory

of

Quality Assurance & Control Systems Ltd.

(QACS Ltd.)

| Materials / Products tested | Types of test / Properties measured | Applied methods / Techniques used |
| --- | --- | --- |
| Microbiological Tests |
| 1. Food, animal feed, animal faeces, and environmental samples from the primary production stage | Detection of Salmonella spp. except S. typhi and S. Paratyphi | ISO 6579-1:2017 |
| 2. Cosmetics | 1. Preservation efficacy test (challenge test) Pseudomonas aeruginosa, Staphylococcus aureus, Escherichia coli, Candida albicans, Aspergillus brasiliensis | European Pharmacopoeia, current edition, Chap. 5.1.3 ISO 11930:2019 |
|  | 2. Enumeration of Total Aerobic Μicrobial Count (TAMC) of non-sterile products | European Pharmacopoeia, current edition, Chap. 2.6.12 |
|  | 3. Enumeration of Total Combined Yeasts and Mould Count (TYMC) of non-sterile products | European Pharmacopoeia, current edition, Chap. 2.6.12 |
|  | 4. Detection of Escherichia coli of non-sterile products | European Pharmacopoeia, current edition, Chap. 2.6.13 |
|  | 5. Detection of Pseudomonas aeruginosa of non-sterile products | European Pharmacopoeia, current edition, Chap. 2.6.13 |
|  | 6. Detection of Staphylococcus aureus of non-sterile products | European Pharmacopoeia, current edition, Chap. 2.6.13 |
|  | 7. Detection of Candida albicans of non-sterile products | European Pharmacopoeia, current edition, Chap. 2.6.13 |
| 3. Potable water | 1. Enumeration of the total aerobic microorganisms at 22 ( 2 oC and 36 ( 2 oC | ISO 6222:1999 |
|  | 2. Detection and enumeration of Escherichia coli and total coliform bacteria | ISO 9308-1:2014/Amd-1(2016) |
| 4. Potable and swimming pool waters | Detection and enumeration of Pseudomonas aeruginosa | ISO 16266-2:2006 |
| 5. Chemical disinfectants and antiseptics | 1. Testing of disinfecting efficacy | EN 14885:2018 |
|  | 2. Quantitative suspension tests (phase 1 & phase 2, step 1 ) | EN 1040:2005 |
|  |  | EN 1276:2019 |
|  |  | EN 1650:2019 |
|  |  | EN 1656:2019 |
|  |  | EN 13624:2021 |
|  |  | EN 13727:2012+A2:2015 |
|  |  | ΕΝ 1657:2016 |
|  |  | ΕΝ 13704:2018 |
|  |  | EN 14476:2013+A2:2019 |
|  | 3. Quantitative carrier tests, Quantitative tests on porous or non-porous surfaces with or without mechanical action, (Phase 2, step 2) | EN 13697:2015+A1:2019 |
|  |  | ΕΝ 14561:2006 |
|  |  | EN 14562:2006 |
|  |  | EN 16615:2015 |
|  |  | EN 14349:2012 |
|  |  | EN 16438:2014 |
|  |  | EN 17387:2021 |
|  | 4. Evaluation of Hygienic Handwash efficacy (phase 2/step 2) | EN 1499:2013 |
|  | 5. Evaluation of Hygienic Handrub efficacy (phase 2/step 2) | EN 1500:2013 |
|  | 6. Evaluation of surgical hand disinfection efficacy (phase 2/step 2) | EN 12791:2016+A1:2017 |
| Biological - Molecular Tests |
| 1. Soya: Seeds, food (grains, flour), feed Soya: Seeds, food (seeds, flour, processed), feed | 1. Screening method for genetically modified organisms (GMOs), by the detection of CaMV 35S promoter, nopaline synthase terminator (NOS) | Real-Τime PCR, based on: a) ISO 21570:2005 b) ISO 21569:2005/Amd1:2013 DNA extraction with CTAB method (ISO 21571:2005) and by using Nucleospin Food Kit |
|  | 2. Detection of event MON89788 soya | Real-Τime PCR, based on: CRLVL05/06VP JRC, CRL GMFF: Protocol MON89788 soybean (2008) DNA extraction with CTAB method (ISO 21571:2005) and by using Nucleospin Food Kit |
|  | 3. Detection of event Roundup Ready (GTS 40-3-2) soya | Real Time PCR, based on ISO 21570:2005 TC2006 DNA extraction with CTAB method (ISO 21571:2005/Amd1:2013) and by using Nucleospin Food Kit |
|  | 4. Screening method for genetically modified organisms (GMOs), by the detection of FMV promoter. | Real Time PCR based on ISO 21571:2005 and ISO TS 21569-5:2016 DNA extraction with CTAB method (ISO 21571:2005/ Amd1:2013) and by using Nucleospin Food Kit |
|  | 5. Quantification of genetically modified event Roundup Ready Soya (GTS 40-3-2) | Real Time PCR based on ISO 21570:2005 TC2006 DNA isolation according to ISO 21571 (CTAB method) using NucleoSpin Food kit. |
|  | 6. Screening method for genetically modified organisms (GMOs), by the detection of elements PAT and ctp2-cp4-epsps | Real Time PCR based on a) PAT: Weighardt F et al, AOAC (2004) b) EPSPS: ISO 21569/2011 DNA extraction with CTAB method (ISO 21571:2005) and by using Nucleospin Food Kit |
| 2. Maize: Seeds, food (grains, flour), feed | 1.Screening method for genetically modified organisms (GMOs), by the detection of CaMV 35S promoter, nopaline synthase terminator (NOS) | Real Time PCR, based on ISO 21570:2005 and ISO 21569:2005/ Amd1:2013 DNA extraction with CTAB method (ISO 21571:2005) and by using Nucleospin Food Kit |
|  | 2. Screening method for genetically modified organisms (GMOs), by the detection of elements PAT and ctp2-cp4-epsps | Real Time PCR based on a) PAT: Weighardt F et al, AOAC (2004) b) EPSPS: ISO 21569/2011 DNA extraction with CTAB method (ISO 21571:2005) and by using Nucleospin Food Kit |
|  | 3. Screening method for genetically modified organisms (GMOs), by the detection of event MON810 | Real Time PCR based on a) ISO 21570:2005 b) CRL-VL-25/04VR, JRC (2006) DNA extraction with CTAB method (ISO 21571:2005) and by using Nucleospin Food Kit |
|  | 4. Screening method for genetically modified organisms (GMOs), by the detection of event NK603 | Real Time PCR based on CRLVL27/04VP, JRC (2005) DNA extraction with CTAB method (ISO 21571:2005) and by using Nucleospin Food Kit |
|  | 5. Quantification of genetically modified maize, by the detection of element CamV P35S | Real Time PCR based on a) ISO 21570:2005 b) ISO 21569:2005/Amd1:2013 DNA extraction with CTAB method (ISO 21571:2005) and by using Nucleospin Food Kit |
| 3. Cotton: Seeds | Screening method for genetically modified organisms (GMOs), by the detection of CaMV 35S promoter, nopaline synthase terminator (NOS) | Real Time PCR based on ISO 21569:2005/Amd1:2013 and CRLVL13/04VP, JRC, CRL-GMFF Protocol LL Cotton 25 (2007) DNA extraction with CTAB method (ISO 21571:2005) and by using Nucleospin Food Kit |
| 4. Colonies of microorganisms derived from Food, Drugs, Cosmetics or Εnvironmental Samples | Identification of microorganisms | Sanger Sequencing according to MM09A2E_Nucleic Acid Sequencing Methods in Diagnostic Laboratory Medicine 2nd edition MM18Ed2E_Interpretive Criteria for Identification of Bacteria Fungi by Targeted DNA Sequencing |
| 5. Cheese | Screening method for presence of bovine milk | Real Time PCR method based on ISO 20224-1 2020, DNA extraction by using Nucleospin Food Kit |
| 6. Foodstuffs, cosmetics | Screening method for presence of pork DNA, HALAL | Real Time PCR method based on Sure Food Animal ID Pork Sens Plus kit of CONGEN, DNA extraction by using Nucleospin Food Kit |

Site of assessment: Permanent laboratory premises, Antigonis 1, 14451, Metamorfossi, Greece

Approved signatories: D. Melissos, S. Simpson, G. Lagiopoulos, V. Beletsiotis, Ag. Stathopoulos

This scope of Accreditation replaces the previous one, dated 06.03.2023.

The Accreditation Certificate No. 195-9, according to ELOT EN ISO/IEC 17025:2017, is valid until 08.03.2025.

Athens, 11th of January 2024

Christos Nestoras

CEO of ESYD