Hellenic Accreditation System

Annex F1/13 to the Certificate No. 694-4 SCOPE of ACCREDITATION of the Testing Laboratory “Giannios D. Konstantinos” ENVIROLABS Laboratory of Applied Agricultural Research

| Tested materials/ products | Types of test/ Properties to be measured | Applied Standards/ Techniques to be used |
| --- | --- | --- |
| Chemical Tests |
| 1. Potable, surface and underground water, wastewater | 1. Determination of pH | In house method based on APHA* 4500-Η+ Β (O.E 03) |
|  | 2. Determination of conductivity | In house method, based on APHA* 2510 B (Ο.Ε 04) |
|  | 3. Determination of Ammonia | Merck, Ν-ΝΗ3 (Ο.Ε 05) |
|  | 4. Determination of Nitrite Ions | Merck, N-NO2 (Ο.Ε 02) |
|  | 5. Determination of Nitrate Ions | APHA* 4500-ΝO3 B (screening method) (Ο.Ε 07) |
|  | 6. Determination of Manganese and total Chromium | In house method based on APHA* 3113, (O.E 08) |
| 2. Potable, surface and underground water | 1. Determination of Sulphate Ions | In House method based on HACH, (Ο.Ε 11) |
|  | 2.Determation of Chloride Ions | In house method based on APHA* 4500-B (Ο.Ε 12) |
| 3. Olive oil | UV-Spectrophotometric analysis (coefficients K232, K270, ΔΚ) | Regulation EEC 2568/91 (Annex: IX), as in force (Ο.Ε 09) |
| 4. Soil and hydroponic substrates | Determination of pH | In House method Based on ISO 10390:2005 (Ο.Ε 10) |
| 5. Olives, olive oil | Determination of pesticide residues: Azoxystrobin και Trifloxystrobin | In house method based on EN-15662 (Ο.Ε 17-1) |
| Microbiological Tests |
| Potable, surface and underground water | 1. Enumeration of Total coliforms | ISO 9308-2:2012 (O.E 14) |
|  | 2. Enumeration of Escherichia Coli | ISO 9308-2:2012 (O.E 13) |
|  | 3. Detection and enumeration of Intestinal Enterococci | ISO 7899-2-2000 (O.E 15) |

*American Public Health Association, American Water Works Association, Water Environment Federation, “Standard Methods for the Examination of Water and Wastewater”, 23rd Edition, 2017.

Site of assessment: Permanent laboratory premises – St. Georgios Square, Skala-Lakonias, Greece

Approved signatories: K. Giannios, D. Chasapoglou

This scope of Accreditation replaces the previous one, dated 14.12.2022.

The Accreditation Certificate No. 694-4, according to ELOT EN ISO/IEC 17025:2017, is valid until 26.07.2027.

Athens, 1st of February 2023

Christos Nestoras

CEO of ESYD