Hellenic Accreditation System

Annex G1/8 to the Certificate No. 1085-2 SCOPE of ACCREDITATION of the Clinical Laboratory of ACCESS TO GENOME

| Tested materials/ products | Types of test/ Properties to be measured | Applied Standards/ Techniques to be used |
| --- | --- | --- |
| Molecular Genetics/Molecular Cytogenetics |
| 1.Peripheral Blood, Amniotic Fluid, Chorionic Villi, Product of Conception | 1.High resolution Array-CGH Analysis (backbone resolution of ~500kb in the entire genome and ~50kb in 240 regions associated with ~512 Genetic disorders). | Array Comparative Genomic Hybridization (aCGH) with the SurePrint 8x60k G3 ISCA V.3 kit* and the use of the Surescan following fluorescent labeling of genomic DNA and hybridization in the SurHyb chamber (Agilent Technologies). Analysis of the data is performed with the use of Agilent Cytogenomics 3.0.4.1 Software. (Document number ΔΠ-18-1/ Version 2) |
| 2.Amniotic Fluid, Chorionic Villi, Product of Conception | 1. Rapid detection of chromosomal aneuploidies for chromosomes 13, 18, 21, X, Y by QF-PCR and detection of the ΔF508 mutation in the CFTR gene. | In-House method Quantitative Fluorescent Polymerase Reaction (QF-PCR) for specific STRs of chromosomes 13, 18, 21, Χ, Υ and part of exon 10 of the CFTR gene. Fragment analysis is performed using Genetic Analyzer ABI 3130xl followed by data analysis with the use of GeneMapper v4.0. (Document number ΔΠ-18-2/ Version 2) |
| 3.Peripheral Blood, Amniotic Fluid, Chorionic Villi | 1.Molecular detection of mutations in the CFTR (cystic fibrosis transmembrane conductance regulator) gene: Mutation analysis in exons 11,13,21 Detection of the 621+1G→T mutation in intron 4 Detection of the ΔF508 mutation in exon 10 Detection of deletions/duplications in the 27 exons of the CFTR gene | In-House method CFTR (cystic fibrosis transmembrane conductance regulator) gene analysis, by Denaturating Gradient Gel Electrophoresis (DGGE), Restriction Fragment Length Polymorphism (RFLP) and QF-PCR fragment analysis. Multiplex Ligation-dependent Probe Amplification (MLPA) is performed for the identification of deletions/duplications in the CFTR gene (SALSA MLPA P091 CFTR probemix, P091-100R (CE-IVD)*). In the case of unknown gel patterns DNA sequencing is performed using Genetic Analyzer ABI 3130xl (Applied Biosystems) (Document number ΔΠ-18-3/ Version 2) |
| 4. Peripheral Blood | 1.Molecular detection of mutations in the MTHFR gene ( Methylene-tetrahydrofolate reductase gene): - Detection of the A1298C mutation in exon 7 Detection of the C677T mutation in exon 4 | In-House method PCR amplification of the targeted regions and consequent processing by Restriction Fragment Length Polymorphism (RFLPs). Analysis of the digested PCR product by agarose gel electrophoresis. (Document number ΔΠ-18-4/ Version 1) |
| 5. Cervicovaginal specimens, sperm specimens, urine specimens, oropharyngeal specimens, anal specimens, wart specimens, paraffin embedded specimens | 1.Simultaneous screening and genotyping of 36 HPV types (High risk-HPV 16, 18, 26, 31, 33, 35, 39, 45, 51, 52, 53, 56, 58, 59, 66,68, 73and 82-, and low risk-HPV 6, 11, 40, 42,43,44, 54, 55,61,62, 67, 69, 70, 71, 72, 81, 84 and 89) | Simultaneous screening and genotyping of 36 HPV types (High risk-HPV 16, 18, 26, 31, 33, 35, 39, 45, 51, 52, 53, 56, 58, 59, 66,68, 73and 82-, and low risk-HPV 6, 11, 40, 42,43,44, 54, 55,61,62, 67, 69, 70, 71, 72, 81, 84 and 89) is performed with the use of the CE-IVD kit: ΗPV direct flow CHIP kit (Masterdiagnostica). With the specific CE IVD kit, direct amplification of the L1 HPV region is performed followed by reverse dot blot automatic hybridization, based on DNA-Flow Technology (e-BRID System®). Data analysis is performed with the use of hybriSoft 12. (Document number ΔΠ-18-5/ Version 1) |
| 6. Νasopharyngeal (NP) specimen Oropharyngeal (OP) specimen Nasal mid-turbinate swab specimen Anterior nares (nasal swab) specimen Nasopharyngeal wash/aspirate or nasal wash/aspirate (NW) specimen Saliva specimen Bronchoalveolar lavage Tracheal aspirate | 1. Molecular testing for the detection of viral RNA of SARS-CoV-2 | The extracted RNA from the samples is analyzed by Real - time PCR, using specific primers for E-gene conserved genetic region of the Sarbecovirus subgenus species that includes SARS-CoV-2 and specific primers for RNA Polymerase gene (RdRP) specific for SARS-CoV-2. The specific methodology is performed using LightMix® Modular Sarbecovirus E-gene TIB-MOLBIOL (CE-IVD)/LightMix® Modular RdRP-gene TIB-MOLBIOL and SARS-CoV-2 Multiplex qPCR kit (YouSeq Ltd).. The analysis of the data is performed using the system COBAS z 480 (Roche) and Agilent AriaMx Real-Time PCR System. (Document number ΔΠ-18-6/ Version 1) |
| 7. Cervicovaginal specimens | The test utilizes amplification of target DNA by the Polymerase Chain Reaction (PCR) and nucleic acid hybridization for the detection of 14 high-risk (HR) HPV types in a single analysis. The test specifically identifies types HPV16 and HPV18 while concurrently detecting the rest of the high risk types (31, 33, 35, 39, 45, 51, 52, 56, 58, 59, 66 and 68). | CE-IVD Cobas 4800 HPV test. Application of the protocol according to manufacturer instructions (Roche Diagnostics) with automated nucleic acid isolation by the COBAS x 4800 system and real time PCR by the COBAS Z system. (Document number ΔΠ-18-6/ Version 1) |
| 8. Peripheral blood Saliva | Mutation detection in BRCA1 & BRCA2 genes (Breast Cancer susceptibility genes 1 and 2) (coding regions, all splice sites and ± 8bp flanking intronic sequences) by Next Generation Sequencing | Sequencing by Next Generation Sequencing with the use of Ion Chef Instrument in combination with Ion GeneStudio™ S5 System (ThermoFisher), of all coding regions, all splice sites and ± 8bp flanking intronic sequences. Data analysis of the sequenced regions by Variant caller plugin with Ion Reporter 5.18, and Alamut®Visual. (Document number ΔΠ-18-6/ Version 1) |
| 9. Peripheral blood Saliva | Detection of large genomic rearrangements (deletions/duplications) in BRCA1 & BRCA2 genes (Breast Cancer susceptibility genes 1 and 2) by Multiplex Ligation-Dependent Probe Amplification | Multiplex Ligation-Dependent Probe Amplification (MLPA) CE-IVD SALSA MLPA BRCA1 probemix and CE-IVD SALSA MLPA BRCA2 probemix (MRC-Holland) Data analysis of the genomic data with the use of Genetic analyser ABI 3130xl and analysis software GeneMapper v4.0. (Document number ΔΠ-18-6/ Version 1) |
| 10. Peripheral blood Saliva | Detection and analysis/confirmation of known familial mutation in BRCA1 & BRCA2 genes (Breast Cancer susceptibility genes 1 and 2) by Sanger sequencing | Primer designing to specific targeted regions of the BRCA1 & BRCA2 genes (Breast Cancer susceptibility genes 1 and 2) and sequence analysis by Sanger sequencing. Data analysis of the genomic data with the use of Genetic analyser ABI 3130xl and analysis software UGENE v1.31.1 (Document number ΔΠ-18-6/ Version 1) |

*Reference to the commercial name of a specific kit,  refers to a specific analytical method and protocol

                - Site of assessment: Laboratory permanent premises:  33Α Ethnikis Antistaseos str., 55134, Kalamaria,

                - Thessaloniki, Greece.

                - Approved signatories: Ioannis Papoulidis.

This scope of Accreditation replaces the previous one dated 01.04.2022.

The Accreditation Certificate No.1085, to ELOT EN ISO 15189:2012, is valid until 12.03.2025.

Athens, 6th June 2023

Christos Nestoras

CEO of ESYD