Hellenic Accreditation System

Annex G1/9 to the Certificate No. 920-3 SCOPE of ACCREDITATION of the Department of Microbiology of General Pediatric Hospital “Aghia Sophia”

| Tested materials/ products | Types of test/ Properties to be measured | Applied Standards/ Techniques to be used |
| --- | --- | --- |
| Immunological testing |
| 1. Blood serum | Determination of 1 parameter | Automated analyzers Immage 800, Beckman Coulter (NEF1 and NEF2)* |
|  | 1. C-Reactive Protein (CRP) | Nephelometry Ε.ΜΚ.530-1/3/10-1-2021 |
| 2. Blood serum | Determination of 1 parameter | Automated analyzer Immage 800, Beckman Coulter (NEF2)* |
|  | 1 Antistreptolysin O (ASTO) | Nephelometry Ε.ΜΚ.530-1/3/10-1-2021 |
| 3. Blood Serum | Determination of 8 parameters | Automated analyzer ARCHITECT i2000SR Abbott* |
|  | CMV IgM Abs | Chemiluminesced (CMIA) Ε.ΜΚ.530-1/3/10-1-2021 |
|  | CMV IgG Abs | Chemiluminesced (CMIA) Ε.ΜΚ.530-1/3/10-1-2021 |
|  | Toxo-IgM Abs | Chemiluminesced (CMIA) Ε.ΜΚ.530-1/3/10-1-2021 |
|  | Toxo-IgG Abs | Chemiluminesced (CMIA) Ε.ΜΚ.530-1/3/10-1-2021 |
|  | Rubella IgM Abs | Chemiluminesced (CMIA) Ε.ΜΚ.530-1/3/10-1-2021 |
|  | Rubella IgG Abs | Chemiluminesced (CMIA) Ε.ΜΚ.530-1/3/10-1-2021 |
|  | EBV VCA-IgM | Chemiluminesced (CMIA) Ε.ΜΚ.530-1/3/10-1-2021 |
|  | EBV VCA-IgG | Chemiluminesced (CMIA) Ε.ΜΚ.530-1/3/10-1-2021 |
| Microbiological testing |
| 1. Blood | 1.Culture Blood | BACTEC FX, Becton-Dinkinson* Ο.ΜK.530.03/4/ 19-11-2019 Ο.ΜK.530.10/1/ 30-09-2012 |
| 2. Pharyngeal swab | 1.Culture of pharyngeal swab for the isolation of group A beta-haemolytic streptococcus (GAS) | Laboratory Instruction Ο.ΜK.530.01, 2/25-09-2015 |
| 3. Urine | 1.Quantitative Culture Urine | Laboratory Instruction Ο.ΜK.530.06, 4/06-03-2019 |
| Urine tests |
| 1. Urine | Determination of 10 parameters | Automated analyzers AUTION MAX AX-4030 kit* AUTION MAX AX-4280* Ο.ΜK.530.05/5/ 19-11-2019 |
|  | 1. Specific Gravity | Ion quantification Ο.ΜK.530.05/5/ 19-11-2019 |
|  | 2. pH | Colour change detection Ο.ΜK.530.05/5/ 19-11-2019 |
|  | 3. Leukocytes | Hydrolysis of esters Ο.ΜK.530.05/5/ 19-11-2019 |
|  | 4. Nitrates | Griess diozotization reaction Ο.ΜK.530.05/5/ 19-11-2019 |
|  | 5. Protein | Protein error of indicators Ο.ΜK.530.05/5/ 19-11-2019 |
|  | 6. Glucose | Oxidase/peroxidase reaction Ο.ΜK.530.05/5/ 19-11-2019 |
|  | 7. Ketones | Legal’s – nitroprusside test Ο.ΜK.530.05/5/ 19-11-2019 |
|  | 8. Urobilinogen | Elrich’s aldehyde test Ο.ΜK.530.05/5/ 19-11-2019 |
|  | 9. Bilirubin | Van Den Berch reaction Ο.ΜK.530.05/5/ 19-11-2019 |
|  | 10. Erythrocytes (blood) | Oxidisation reaction Ο.ΜK.530.05/5/ 19-11-2019 |
| 2. Urine Sediment | Examination of the urine sediment for leucocytes, red blood cells and their morphology, squamous cells, epithelial cells of urine system, bacteria, fungi, casts, crystals, amorphous salts. | Microscopic examination Ο.ΜK.530.05/5/ 19-11-2019 |
| Molecular tests |
| 1. Nasal Washing | 1. DNA Detection Bordetella pertussis | Real-Time PCR LightCycler 2,0 ROCHE: Fast Start DNA Bordetella kit* Ο.ΜΚ.530.08/1/18-07-2018 Ο.ΜΚ.620.01/1/19-11-2019 |

* Reference to the commercial name of a specific kit,  refers to a specific analytical method and protocol

Site of assessment: Laboratory permanent premises:Department of Microbiology “Aghia Sophia” Children’s Hospital, 11527 Athens, Greece.

Approved signatories: L. Zachariadou, E. Kirikou, E. Petridou, N. Petropoulou, M. Mika, K. Banou, M. Mplouna, Z. Paparrizou, A. Stathi, S. Zisi.

This scope of Accreditation replaces the previous one dated 03.10.2022.

The Accreditation Certificate No. 920-3, to ELOT EN ISO 15189:2012, has been extended until 19.06.2023.

# Athens, December  16th 2022

# Christos Nestoras

CEO of ESYD