Hellenic Accreditation System

Annex F1/15 to the Certificate No. 689-5

SCOPE of ACCREDITATION

of the

Testing Laboratory

ΒIOCHIMIKI S.A.

| Tested materials / products | Types of test / Properties to be measured | Applied Standards / Techniques to be used |
| --- | --- | --- |
| Microbiological Tests |
| 1. Food and animal Feedstuff | 1. Enumeration of total aerobic micro-organisms at 30 °C | ISO 4833-1:2013 |
|  | 2. Enumeration of total Enterobacteriaceae | ISO 21528–2:2017 |
|  | 3. Enumeration of β-glucuronidase-positive Escherichia coli | ISO 16649-2:2001 |
|  | 4. Enumeration of coagulase – positive staphylococci (Staphylococcus aureus and other species) | ISO 6888-2:2021 |
|  | 5. Detection of Salmonella spp except S. typhi and paratyphi | ISO 6579-1:2017 |
|  | 6. Detection of Listeria spp | Compass Listeria Agar Method (AFNOR BKR 23/02-11/02) |
|  | 7. Detection of Listeria monocytogenes | Compass Listeria Agar Method (AFNOR BKR 23/02-11/02) |
|  | 8. Enumeration of Listeria monocytogenes | Compass Listeria Agar Method (AFNOR BKR 23/05-12/07) |
|  | 9. Horizontal method for the enumeration of coliforms | ISO 4832:2006 |
| 2. Food and animal feedstuff with aw > 0,95 | Enumeration of yeasts and moulds | ISO 21527-1:2008 |
| 3. Food and animal feedstuff with aw ≤ 0,95 | Enumeration of yeasts and moulds | ISO 21527-2:2008 |
| 4. Potable, surface, groundwater and swimming pool water | 1. Enumeration of culturable microorganisms at 22±20C | ISO 6222: 1999 |
|  | 2. Enumeration of culturable microorganisms at 36±20C | ISO 6222: 1999 |
|  | 3. Detection and enumeration of coliforms bacteria | ISO 9308 – 1 : 2014 |
|  | 4. Detection and enumeration of Pseudomonas aeruginosa | ISO 16266: 2006 |
|  | 5. Enumeration of Clostridium perfringens (including spores) | ISO 14189:2013 |
|  | 6. Enumeration of Legionella | ISO 11731:2017 (except § 8.4.2 and 8.4.5) |
| 5. Potable, surface, groundwater swimming pool and coastal water | 1. Detection and enumeration of E. coli | ISO 9308 – 1 : 2014 |
|  | 2. Detection and enumeration of intestinal Enterococci | ISO 7899 – 2: 2000 |
| 6. Surface water and waste water | Detection and enumeration of total coliforms and fecal coliforms | APHA* 9222 B, D (23rd edition, 2017) |
| 7. Surfaces from the area of food production and food handling. | 1. Enumeration of the total aerobic micro-organisms at 30°C | ISO 4833-1:2013 |
|  | 2. Enumeration of total Enterobacteriaceae | ISO 21528–2:2017 |
|  | 3. Enumeration of coagulase – positive staphylococci (Staphylococcus aureus and other species) | ISO 6888-2:2021 |
|  | 4. Detection of Salmonella spp except S. typhi and paratyphi | ISO 6579-1:2017 |
|  | 5. Detection of Listeria spp | Compass Listeria Agar Method (AFNOR BKR 23/02-11/02) |
| 7. Surfaces from the area of food production and food handling. (continue) | 6. Detection of Listeria monocytogenes | Compass Listeria Agar Method (AFNOR BKR 23/02-11/02) |
|  | 7. Enumeration of Listeria monocytogenes | Compass Listeria Agar Method (AFNOR BKR 23/05-12/07) |
|  | 8. Horizontal method for the enumeration of coliforms | ISO 4832:2006 |
| 8. Environmental samples from water related matrices (swabs from cooling towers, air conditioning systems, dental units, etc.) (Matrix B) | 1. Enumeration of Legionella | ISO 11731:2017 Annex J; Procedure 11,12,13; Medium C-GVPC |
| Chemical Tests |
| 1. Potable water, surface water and groundwater 1. Potable water, surface water and groundwater (continued) | 1. Determination of anions: Fluoride (F-), Chloride (Cl-), Bromide (Br-), Nitrate (NO3-), Nitrite (NO2-), Phosphate (PO43-), Sulfate (SO42-) (#) | In-house method Χ-503 (Ion Chromatography, IC-CD) based on ISO 10304-1:2007/Cor 1: 2010 |
|  | 2. Determination of cations: Lithium (Li+), Sodium (Na+), Ammonium (NH4+), Potassium (K+), Magnesium (Mg2+), Calcium (Ca2+) (#) | In-house method Χ-504 (Ion Chromatography, IC-CD) based on ISO 14911:1998 |
|  | 3. Determination of Total Hardness | APHA* 2340 B. (23rd edition, 2017) |
|  | 4. Determination of permanent hardness | Calculated by the total and carbonate hardness |
|  | 5. Determination of Permanganate Index (Oxidisability) (#) | ISO 8467:1993 |
|  | 6. Determination of heavy metals: Aluminium (Al), Cadmium (Cd), Chromium (Cr), Copper (Cu), Manganese (Mn), Nickel (Ni), Lead (Pb), Arsenic (As), Iron (Fe) (#) | APHA* 3113Β. (23rd edition, 2017) GF AAS Graphite Furnace Atomic Absorption Spectroscopy |
|  | 7. Determination of Mercury (Hg) (#) | In house method based on EPA 245.7 Determination by cold-vapor Atomic Absorption Spectroscopy (cold – vapor, AAS) |
|  | 8. Determination of Antimony (Sb) (#) | In house method based on ISO 17378-1:2014 Determination by Hydride Generation Atomic Fluorescence Spectroscopy (HG-AFS) |
|  | 9. Determination of Selenium (Se) (#) | In house method based on ISO 17379-1:2013 Determination by Hydride Generation Atomic Fluorescence Spectroscopy (HG-AFS) |
| 2. Potable water, surface, groundwater and Wastewater 2. Potable water, surface, groundwater and Wastewater (continue) | 1. Determination of pH (#) | Method Based on APHA* 4500-H+ B/(23rd edition, 2017) |
|  | 2. Determination of electrical conductivity (#) | APHA* 2510 B/ (23rd edition, 2017) |
|  | 3. Determination of total and composite alkalinity, carbonate (CO32-) and bicarbonate (HCO3-) ions and carbonate hardness | APHA* 2320 B/ (23rd edition, 2017) |
|  | 4. Determination of hexavalent chromium (Cr VI)) (#) | HACH Method 8023 based on APHA* 3500-Cr Β/(23rd edition, 2017) |
|  | 5. Determination of Total and dissolved phosphorus (P-PO4) | HACH: LCK 349 |
|  | 6. Determination of Ammonia (NΗ4+) (#) | HACH: LCK 304 |
|  | 7. Determination of Nitrates (NO3-) (#) | HACH: LCK 339 |
|  | 8. Determination of Nitrites (NO2-) (#) | HACH: LCK 341 |
|  | 9. Determination of free cyanide (CN-) | HACH METHOD 8027 |
|  | 10. Determination of Boron (Β) (#) | Merck: Boron Cell Test method 100826 |
|  | 11. Determination of Turbidity (#) | APHA* 2130 B. (23 rd edition, 2017), with portable turbidometer |
|  | 12. Determination of silicates (SiO2) | APHA* 4500-SiO2 D+E. (23rd edition, 2017) |
|  | 13. Determination of Total nitrogen (ΤΝ) | HACH: LCK 138 |
|  | 14. Determination of Total Kjeldahl nitrogen (TKN), Total oxidisable nitrogen (ΤΟΝ), Inorganic and organic nitrogen | In house method X 532 part B, determination by calculation |
|  | 15. Determination of Total Solids (Dry Residue - TS) | APHA* 2540 B. (23rd edition, 2017) |
|  | 16. Determination of Total Dissolved Solids (TDS) | Modified method X- APHA* 2540 C. (23rd edition, 2017) |
|  | 17. Determination of Total suspended solids (TSS) | APHA* 2540 D. (23rd edition, 2017) |
| 3. Potable water, surface, groundwater, sea water and Wastewater | Determination of colour (#) | Modified method Χ-516 APHA* 2120 C/ (23rd edition, 2017) |
| 4. Surface water and Wastewater | 1. Determination of Chemical Oxygen Demand (COD) | HACH LANGE: LCK 314, 514 based on APHA* 5220-D/(23rd edition, 2017) |
|  | 2. Determination of BOD (Biological Oxygen Demand) | Manometric method based on APHA* 5210 D/ (23rd edition, 2017) |
| 5. Potable water, surface, groundwater and swimming pool water | Determination of total and free chlorine | APHA* 4500-G. (23rd edition, 2017), using portable photometer |
| 6. Vegetable oils 6. Vegetable oils (continued) | 1. Determination of free fatty acids, cold method | International Olive Council COI/T.20/Doc. No. 34 |
|  | 2. Determination of the peroxide value | International Olive Council COI/T.20/Doc. No. 35 |
|  | 3. Specific extinction at λ=232 nm (K232) | International Olive Council COI/T.20/Doc. No. 19 |
|  | 4. Specific extinction at λ =268 nm (K268) | International Olive Council COI/T.20/Doc. No. 19 |
|  | 5. Variation of the specific extinction (ΔΚ) |  |
| Sampling |
| 1. Potable water, groundwater, coastal sea water, swimming pool water and waste | Determination of physicochemical parameters and microorganisms | ISO 5667-1:2020 ISO 5667-3:2018 ISO 5667-4:2016 ISO 5667-5:2006 ISO 5667-6:2014 ISO 5667-10:2020 ISO 5667-11:2009 ISO 5667-14:2014 ISO 19458:2006 Directive 2006/7/EC |
| 2. Samples from surfaces of food production and food handling area | Sampling techniques using stick swabs on surfaces in the food chain environment in order to detect and enumerate culturable microorganisms | ISO 18593:2018 |

*APHA: American Public Health Association, American Water Works Association, Water Environment Federation, “Standard Methods for the Examination of Water and Wastewater”, 23rd edition, 2017

# Methods marked with (#) are in accordance with the method specification of Common Ministerial Decision Γ1(δ)/ ΓΠ οικ.67322/6.9.2017 (ΦΕΚ 2382/Β/19-9-2017) concerning the quality of the water intended for human consumption and applies to the parameters for which performance characteristics are specified.

Site of assessment: Permanent laboratory premises – Vinianis Str, Settlement of Nea Evrytania,

Lamia, Greece

Approved signatories: M. Pitsaris, M. Skyrianou

This scope of Accreditation replaces the previous one, dated 01.11.2022.

The Accreditation Certificate No. 689-5, according to ΕLΟΤ ISO/IEC 17025:2017, is valid until  08.07.2027.

Athens, 2nd of June 2023

Christos Nestoras

CEO of ESYD