Hellenic Accreditation System

Annex G1/7 to the Certificate No.1092-2 SCOPE of ACCREDITATION of the Microbiology Department of Laboratories Division of General Hospital of Athens «G. GENNIMATAS»

| Tested materials/ products | Types of test/ Properties to be measured | Applied Standards/ Techniques to be used |
| --- | --- | --- |
| Microbiology testing |
| 1.Total blood/Biological fluids from normally sterile sites | 1.Microorganism detection/ aerobic bacteria, anaerobic bacteria, fungi | Blood culture in liquid media, manufacturers’ methodologies: (a) BACTEC FX – Becton Dickinson* (b) Βact/ALERT 3D – BioMerieux* Laboratory Method: ΕΔ.Β07 Blood Cultures, Issue: 3, Valid: 10-02-2021 |
| 2.Isolated bacteria culture | 1.Gram (+), Gram (-) bacteria Identification | Biochemical profile testing, automated analysis in VITEK 2 Compact– BioMerieux* IFU 045555-02-el, Valid: 03-2018 |
| 3.Isolated bacteria culture | 1.Gram (+), Gram (-) bacteria Antimicrobial Susceptibility Testing in several antibiotics | Microdilution / MICs determination, automated analysis in VITEK 2– Compact BioMerieux* IFU 045555-02-el, Valid: 03-2018 |
| 4.Isolated bacteria culture | 1.Gram (+), Gram (-) bacteria Antimicrobial Susceptibility Testing in several antibiotics | Disk diffusion method – Kirby Bauer (M2-S100 EUCAST)** Laboratory Method: ΕΔ.E02 Antimicrobial Susceptibility Testing using the Disk Diffusion method (Kirby-Bauer), Issue: 3, Valid: 10-02-2021 |

* Reference to the commercial name of a specific kit/system,  refers to a specific analytical method and protocol

**CLSI: Clinical Laboratory Standards Institute

Site of assessment: Department laboratory facilities, General Hospital of Athens «G. Gennimatas»

154 Mesogeion Av.  11527 Athens, Greece.

Approved signatories: E. Vagiakou, M. Orfanidou, M. Kamperogianni, S. Antonopoulou,An. Tsakalos, Ek. Michelaki, Vasiliki Karampali.

This scope of Accreditation replaces the previous one dated  21.01.2022.

The Accreditation Certificate No. 1092, to ELOT EN ISO 15189:2012, is valid until 22.05.2025.

Athens, 12th May 2023

Christos Nestoras

CEO of ESYD