Hellenic Accreditation System

Annex G1/2 to the Certificate No. 1273 SCOPE of ACCREDITATION of the Serology Laboratory of the Department of Microbiology of General Hospital “KORGIALENEIO-MPENAKEIO RED CROSS HOSPITAL”

| Tested materials/ products | Types of test/ Properties to be measured | Applied Standards/ Techniques to be used |
| --- | --- | --- |
| Immunological testing |
| 1. Blood serum | Determination of 1 parameter | Automated analyzers BN Prospec (BN-02) καιAtellica NEPH630 (BN-01)* |
|  | 1. C-Reactive Protein (hsCRP) | Nephelometry Ε.530-1/1 23-11-2020 |
| 2. Blood Serum | Determination of 8 parameters | Virological Immunological analyzer LIAISONDIASORIN (LI-03)* Ε.530-1/1 23-11-2020 |
|  | CMV IgM Abs | Chemiluminesce (CMIA) Ε.530-1/1 23-11-2020 |
|  | CMV IgG Abs | Chemiluminesce (CMIA) Ε.530-1/1 23-11-2020 |
|  | Toxo-IgM Abs | Chemiluminesce (CMIA) Ε.530-1/1 23-11-2020 |
|  | Toxo-IgG Abs | Chemiluminesce (CMIA) Ε.530-1/1 23-11-2020 |
|  | EBV VCA-IgM | Chemiluminesce (CMIA) Ε.530-1/1 23-11-2020 |
|  | EBV VCA-IgG | Chemiluminesce (CMIA) Ε.530-1/1 23-11-2020 |
|  | HSV (1&2) IgM | Chemiluminesce (CMIA) Ε.530-1/1 23-11-2020 |
|  | HSV (1&2) IgG | Chemiluminesce (CMIA) Ε.530-1/1 23-11-2020 |
| Microbiological testing |
| 1. Blood Serum | TPHA | Passive haemagglutination assay(BIORAD) Ε.530-1/1 23-11-2020 |
| 2. Blood Serum | RPR | Carbonlatex agglutination assay(LORNE, BIOREX) Ε.530-1/1 23-11-2020 |
| Urine tests |
| 1. Urine | Determination of 10 parameters | Automated analyzers AUTIONMAX -4280 (AU-04)andAUTIONMAX-4281 (AU-05) Ε.530-1/1 23-11-2020 |
|  | 1. Specific Gravity | Ion quantification Ε.530-1/1 23-11-2020 |
|  | 2. pH | Colour change detection Ε.530-1/1 23-11-2020 |
|  | 3. Leukocytes | Hydrolysis of esters Ε.530-1/1 23-11-2020 |
|  | 4. Nitrates | Griess diozotization reaction Ε.530-1/1 23-11-2020 |
|  | 5. Protein | Protein error of indicators Ε.530-1/1 23-11-2020 |
|  | 6. Glucose | Oxidase/peroxidase reaction Ε.530-1/1 23-11-2020 |
|  | 7. Ketones | Legal’s – nitroprusside test Ε.530-1/1 23-11-2020 |
|  | 8. Urobilinogen | Elrich’s aldehyde test Ε.530-1/1 23-11-2020 |
|  | 9. Bilirubin | Van Den Berch reaction Ε.530-1/1 23-11-2020 |
|  | 10. Erythrocytes (blood) | Oxidisation reaction Ε.530-1/1 23-11-2020 |
| 2. Urine Sediment | Examination of the urine sediment for leucocytes, red blood cells and their morphology, squamous cells, epithelial cells of urine system, bacteria, fungi, casts, crystals, amorphous salts. | Microscopic examination Ε.530-1/1 23-11-2020 |
| Active Urine | Secondmorning urine for the detectionof abnormal red blood cells. | Microscopic examination Ε.530-1/1 23-11-2020 |

* Reference to the commercial name of a specific kit,  refers to a specific analytical method and protocol

Site of assessment:Laboratory permanent premises:Department of Microbiology “Korgialeneio-Mpenakeio Red Cross Hospital”, Athanasaki 2, Ampelokipoi 11526, Athens.

Approved signatories: P.Pantazi, K.Tsiveriotis, T. Nadeem. E. Papagrigoriou, S. Psallida, M. Afentoglou,

T. Guajardo.

This scope of Accreditation replaces the previous one dated  02.11.2021.

The Accreditation Certificate No.1273, to ELOT EN ISO 15189:2012, is valid until 01.11.2025.

# Athens, 28th February 2023

# Christos Nestoras

CEO of ESYD