Hellenic Accreditation System

| Annex G1/2 to the Certificate No.1281 SCOPE of ACCREDITATION of the Clinical Laboratory οf ALMA BANAJ (SIKLEDA) |
| --- |
| Tested materials/ products | Types of test/ Properties to be measured | Applied Standards/ Techniques to be used |
| Biochemical Testing |
|  | Determination of 7 parameters | Automated analyzer SELECTRA PRO X* |
| Blood Serum | CHOLESTEROL | END POINT-Cholesterol |
|  | GLUCOSE | END POINT |
|  | UREA | KINETIC |
|  | CREATININE | FIX TIME |
|  | TRIGLYCERIDES | END POINT |
|  | AST | KINETIC |
|  | ALT | KINETIC |

*The use of the analyser’s brand name refers to a specific analytical method and the corresponding experimental protocol

Site of assessment: Laboratory Permanent premises: Lagjia "1 Maj", Rruga "Çameria", Fier, ALBANIA.

Approved signatories: ALMA BANAJ.

Primary Sample Collection Site: Lagjia "1 Maj", Rruga "Çameria", Fier, ALBANIA.

The Accreditation Certificate No. 1281, to EN ISO 15189:2012, is valid until 10.01.2026.

Athens,18.06.2024

# Christos Nestoras

# CEO of ESYD