Hellenic Accreditation System

Annex F1/10 to the Certificate No. 717-4 SCOPE of ACCREDITATION of the Water Testing Laboratory of Laboratory of Hygiene, Social – Preventive Medicine and Medical Statistics Medical School, Aristotle University

| Tested materials / products | Types of test / Properties to be measured | Applied Standards / Techniques to be used |
| --- | --- | --- |
| Microbiological Testing |
| 1. Water: Potable, surface and recreational (swimming pools) water Marine water | 1. Enumeration of total aerobic microorganisms at 22(2 οC and 36(2 οC | ISO 6222:1999 |
|  | 2. Detection and enumeration of intestinal enterococci | ISO 7899-2:2000 |
|  | 3. Detection and enumeration of Escherichia coli, Feacal and total coliform bacteria | Α.P.H.A. 9222: 2017 |
|  | 4. Detection and enumeration of Pseudomonas aeruginosa | ISO 16266: 2006 |
|  | 5. Detection and enumeration of Clostridium perfringens | ISO 14189:2013 |
|  | 6. Detection and enumeration of E.Coli and Coliforms | ISO 9308-1:2014 |
| 2. Water: With a low concentration of interfering microorganisms (Matrix A) With high concentration of interfering microorganisms (Matrix B) | Detection and enumeration of Legionella spp | ISO 11731:2017 procedures 8,9,10 |

Site of assessement: Permanent Laboratory premises – Aristotle University, Thessaloniki 54124, Greece

Approved signatories: Theodoros Dardavesis, Ilias Tirodimos

This Scope of Accreditation replaces the previous one, dated 15.11.2022.

The Accreditation Certificate No. 717-4, according to ELOT EN ISO/IEC 17025:2017, has been extended until 22.11.2027.

Athens, 12th of January 2023

Christos Nestoras

CEO of ESYD