Hellenic Accreditation System

Annex F1/7 to the Certificate No. 1163-3

SCOPE of ACCREDITATION

of the

Water and Wastewater Analysis Laboratory

of the

Municipal Enterprise for Water and Sewage of Chania (D.E.Y.A.Ch.)

| Materials/Products tested | Types of test/Properties measured | Applied methods/Techniques used |
| --- | --- | --- |
| Chemical Tests |
| 1. Drinking water of the city supply network. Raw groundwater and swimming pool water | 1. Determination of pH | ΕLOT 658:1983 |
|  | 2. Determination of conductivity | ΕLΟΤ ΕΝ 27888:1993 modified1 |
|  | 3. Determination of turbidity | ISO 7027:2016 Nephelometry |
| 2. Drinking water of the city supply network and raw groundwater | 1. Determination of Chromium, Nickel, Manganese | ΕΛΟΤ ΕΝ ISO 15586 : 2003 |
|  | 2. Determination of Fluoride, Chloride, Nitrite, Nitrate, Sulphate | ΕΛΟΤ ΕΝ ISO 10304-1 :2007 |
| 3. Drinking water of the city supply network | Determination of Free Residual Chlorine | APHA *4500-CL G |
| Microbiological Tests |
| Drinking water of the city supply network. Raw groundwater and swimming pool water | 1. Enumeration of Coliforms bacteria and E. Coli | ISO 9308-1:2014/Amd.1:2016 |
|  | 2. Detection and enumeration of intestinal enterococci | ISO 7899-2:2000 |
|  | 3. Enumeration of culturable micro-organisms at 37 οC and 22 οC | ISO 6222:1999 |
| Sampling |
| Drinking water as it is delivered to the tap | 1. Determination of microbiological parameters | ISO 19458:2006 ISO 5667-1:2020 ISO 5667-5:2006 ISO 5667-14:2014 |
|  | 2. Determination of physicochemical parameters | ISO 5667-1:2023 ISO 5667-3:2018 ISO 5667-5:2006 ISO 5667-14:2014 |

1 The modification concerns the temperature of measurement (20 oC in accordance with ΚΥΑ Γ1δ-67322-ΦΕΚ 3282_2017)

*American Public Health Association, American Water Works Association, Water Environment Federation,

“Standard Methods for the Examination of Water and Wastewater”, 24th Edition, 2023

Site of assessement: Permanent laboratory premises - Wastewater Treatment Plant, Koumpeli, Chania,

Crete, Greece

Approved signatory: Maraka Paraskevi

This Scope of Accreditation replaces the previous one, dated 20.09.2023.

The Accreditation Certificate No. 1163-3, according to ELOT EN ISO/IEC 17025:2017, has been renewed until 11.04.2028.

Athens, 12th of January 2024

Christos Nestoras

CEO of ESYD