Hellenic Accreditation System

Annex G1/1 to the Certificate No. 1327 SCOPE of ACCREDITATION of the Clinical Laboratory of «DIMOKRITOS DIAGNOSTIC LABORATORIES»

| Materials/Products tested | Types of test / Properties measured | Applied methods / Techniques used |
| --- | --- | --- |
| Biochemical Tests |  |  |
| Ορός αίματος | #### Determination of 14 parameters | Automated biochemical analyzer Abbott Architect c8000 (S/N: C800177) Lab Protocol: ΟΕ.Μ.01_15189 (3.0/06.09.2021) |
|  | - Alkaline phosphatase (ALP) | Enzymatic – kinetic – colorimetric (Para-nP) |
|  | - Alanine aminotransferase (ALT) | Enzymatic – kinetic – colorimetric (NADH) |
|  | - Aspartate aminotransferase (AST) | Enzymatic – kinetic – colorimetric (NADH) |
|  | - Total Cholesterol (CHOL) | Enzymatic – colorimetric (CHO-OEP-HBA) |
|  | - Creatinine (CREA) | Enzymatic – colorimetric |
|  | - Creatine phosphatase (CPK) | Enzymatic |
|  | - HDL Cholesterol (HDL-Chol) | Enzymatic – colorimetric (Urease) |
|  | - D-LDL Cholesterol (D-LDL-Chol) | Enzymatic – colorimetric |
|  | - Iron (Fe) | Colorimetric (Ferene) Enzymatic |
|  | - γ-Glutamyl-Transferase (γ-GT) | Enzymatic – colorimetric |
|  | - Glucose (GLUC) | Enzymatic – kinetic (IFCC) |
|  | - Lactic dehydrogenase (LDH) | Enzymatic – colorimetric (GPO) |
|  | - Triglycerides (TGs) | Colorimetric Urikase |
|  | - Uric acid (UA) | Enzymatic – colorimetric (ASD) |
| Blood Coagulation Testing |  |  |
| Blood Plasma (Citric acid) | Determination of 1 parameter | Automated biochemical analyzer Abbott Architect c8000 (S/N: C800177) Lab Protocol: ΟΕ.Μ.01_15189 (3.0/06.09.2021) |
|  | D-Dimers | Coagulation tests |
| Immunochemicals Tests |  |  |
| Blood serum | Determination of 12 parameters | Automated immunochemical analyzer ARCHITECT i2000SR ( S/N: I5R05173) Lab Protocol: ΟΕ.Μ.01_15189 (3.0/06.09.2021) |
|  | - Α -Fetoprotein (AFP) | Chemiluminescence with microspheres (CMIA) |
|  | - Human Chorionic Gonadotropin (β-hCG) |  |
|  | - Cancer Antigen CA 125 (CA 125) |  |
|  | - Cancer Antigen 15-3 (CA 15-3) |  |
|  | - Cancer Antigen 19-9 (CA 19-9) |  |
|  | - Carcinoembryonic Antig (CEA) |  |
|  | - Ferritin (Ferr) |  |
|  | - Free Specific Prostate Antigen (Free PSA) | Chemiluminescence with microspheres (CMIA) |
|  | - Thyroxin Free (FT4) |  |
|  | - Specific Prostate Antigen (TOTAL-PSA) |  |
|  | - Thyrotropin (TSH) |  |
|  | - High sensitivity troponin I (hs - Tnl) |  |
| Immunoassay Tests |  |  |
| Blood serum | Determination of 10 parameters | Automated Immunoassay anazyer ARCHITECT i1000SR S/N: I15R01544) Lab Protocol: ΟΕ.Μ.02_15189 (3.0/06.09.2021) |
|  | - Antibodies against Cytomegalovirus IgG (CMV IgG) | Chemiluminescence with microspheres (CMIA) |
|  | - Antibodies against Cytomegalovirus IgM (CMV IgM) |  |
|  | - Antibodies against the Toxoplasma IgG (Toxo IgG) |  |
|  | - Antibodies against the Toxoplasma IgM (Toxo IgM) |  |
|  | - Antibodies against Rubella virus IgG (Rubella IgG) |  |
|  | - Antibodies against Rubella virus IgΜ (Rubella IgΜ) |  |
|  | - Hepatitis C virus antibodies (Anti-HCV) |  |
| Blood serum (contd) | - Hepatitis B virus surface antibodies (Anti-HBs) | Chemiluminescence with microspheres (CMIA) |
|  | - Hepatitis B virus surface antigen HBsAg |  |
|  | - Human Immunodeficiency Virus antibodies HIV 1/O/2 Enhanced Anti-HIV (HIV Ag-Ab Combo) |  |
| Molecular Biology Tests |  |  |
| Determination of 3 parameters |  |  |
| Nasopharyngeal smear, Oropharyngeal smear | - Qualitative RNA detection of E & N genes of the virus SARS-CoV-2 | Manufacturer’s kit protocol: SARS-CoV2 Real TM, Real Time PCR kit,Sacace Biotechnologies CE-IVD on real-time thermocycler SACACE SaCycler-96* Lab Protocol: ΟΕ.Μ.03_15189 (3.0/06.09.2021) |
| Whole Blood (EDTA) | - Detection of the Human Leukocyte Antigen (HLA-B27) | Manufacturer’s kit protocol: HLA B27 Real-TM, Real Time PCR kit, Sacace Biotechnologies CE-IVD on real-time thermocycler SACACE SaCycler-96* Lab Protocol: ΟΕ.Μ.04_15189 (3.0/06.09.2021) |
| Whole Blood (EDTA) | - Detection of Mutation (Deletion) CFTR: ΔF508 | In House Method on real-time thermocycler SACACE SaCycler-96* Lab Protocol: ΟΕ.Μ.05_15189 (3.0/06.09.2021) |
| Autoimmunity Tests |  |  |
| Blood serum | Determination of 2 parameters | Automated IFA slide processor MENARINI (S/N: 1014) Fluorescence microscope, CARL ZEIS (S/N: 31650000179) Lab Protocol: ΟΕ.Μ.06_15189 (3.0/06.09.2021) Indirect Immunofluorescence |
|  | - Antinuclear antibodies ΑΝΑ |  |
|  | - Antibodies against double stranded DNA (dsDNA) |  |

*Reference to the commercial name of a specific analyzer/kit,  refers to a specific analytical method and protocol

Site of assessment: Laboratory premises: 1 Efstathiou Str., 68 100, Alexandroupolis, Greece

Approved Signatories: Dimitris Tsairidis, Christina Tsigalou, Konstantinos Arvanitidis

The Accreditation Certificate No.1327, to ELOT EN ISO/IEC 15189:2012, is valid until 08.01.2028.

- Athens, 09.01.2023

Christos Nestoras

CEO  of ESYD