Hellenic Accreditation System

# Annex G1/2 to the Certificate No. 1195

SCOPE of ACCREDITATION

of the

Clinical Laboratory

Of

ROEL ZOGA (TALASEMIA LAB)

| Tested materials/ products | Types of test/ Properties to be measured | Applied Standards/ Techniques to be used |
| --- | --- | --- |
| Biochemical Testing |
|  | Determination of 15 parameters | Automated analyzer INTEGRA 400 Plus* |
| 1. Blood Serum Blood Serum (continued) | 1.Alanine Aminotransferase (ALT/GPT) | KINETICS-Alanine aminotransferase Liquid Reagent IFCC (I1-PL) |
|  | 2.Aspartate Aminotransferase (AST/GOT) | KINETICS- Aspartate aminotransferase Liquid Reagent IFCC (I1-PL) |
|  | 3.Glucose (GLU) | END POINT-Hexokinase (I1-PL) |
|  | 4.Urea (UREA) | KINETIC-Urease (I1-PL) |
|  | 5.Creatinine (CREA) | KINETIC-Jaffe (I1-PL) |
|  | 6.Total Cholesterol (CHOL) | END POINT-Cholesterol (I1-PL) |
|  | 7.Triglycerides (TRIG) | END POINT-Triglycerides (I1-PL) |
|  | 8. Uric Acid (UA) | URICASE/PEROXIDASE (I1-PL) |
|  | 9. Gamma-glutamyl trasferase (GGT) | KINETIC(I1-PL) |
|  | 10.Total Protein | END-POINT(I1-PL) |
|  | 11 Lactate dehydrogenase (LDH) | KINETIC(I1-PL) |
|  | 12.Iron | END-POINT(I1-PL) |
|  | 13.Bilirubin total | END-POINT(I1-PL) |
|  | 14 Alkaline Phosphatase (ALP) | KINETIC(I1-PL) |
|  | 15. HDL-Cholesterol | END-POINT(I1-PL) |

*The use of the analyser’s brand name refers to a specific analytical method and the corresponding experimental protocol

Site of assessment: Laboratory Permanent premises: LUSHNJE Lagjja Xhevdet Nepravishta, rruga Rrahman Uruçi, pallati nr- 1, Albania.

Approved signatories: JORIDA ZOGA.

This scope of Accreditation replaces the previous one dated 04.02.2020.

The Accreditation Certificate No. 1195, to EN ISO 15189:2012, is valid until 03.02.2024

Athens, March 01, 2022

Christos Nestoras

CEO  of  ESYD