Hellenic Accreditation System

Annex G1/2 to the Certificate No. 1228 SCOPE of ACCREDITATION of the Clinical Laboratory of AFFIDEA Private Diagnostic Laboratories and Multimodalities Medical Single Member S.A. AFFIDEA of KALLITHEA

| Materials/Products tested | Types of test/Properties measured | Applied methods/Techniques used |
| --- | --- | --- |
| Biochemical Tests |
| 1. Blood serum Blood serum (continued) | Determination of 31 parameters | Automated biochemical analyzer Cobas 8000 PRO I, c-503, ROCHE* |
|  | 1. Glucose | Enzymatic Chromatometric method GOD-PAP ΟΕ 504-11, Version 3/20.11.2021 |
|  | 2. Triglycerides | Enzymatic Chromatometric method GPO – PAP ΟΕ 504-11, Version3/20.11.2021 |
|  | 3. Total Cholesterol | Enzymatic method CHOD – PAP ΟΕ 504-11, Version Version3/20.11.2021 |
|  | 4. HDL-Cholesterol | Enzymatic Chromatometric method ΟΕ 504-11, Version3/20.11.2021 |
|  | 5. VLDL-Cholesterol | Calculated method ΟΕ 504-11, Version3/20.11.2021 |
|  | 6. LDL-Cholesterol | Enzymatic Chromatometric method ΟΕ 504-11, Version3/20.11.2021 |
|  | 7. Uric acid | Enzymatic Chromatometric method uricase/peroxidase ΟΕ 504-11, Version3/20.11.2021 |
|  | 8. Urea | Kinetic Enzymatic method / UV ΟΕ 504-11, Version3/20.11.2021 |
|  | 9. Creatinine | Kinetic Enzymatic method - JAFFE METHOD ΟΕ 504-11, Version3/20.11.2021 |
|  | 10. Total Bilirubin | Photometric method UV Liquid DPD ΟΕ 504-11, Version3/20.11.2021 |
|  | 11. Chlorides | ISE Indirect method ΟΕ 504-11, Version3/20.11.2021 |
|  | 12. Calcium | Photometric method -5NITRO-5METHYL- BAPTA ΟΕ 504-11, Version3/20.11.2021 |
|  | 13. Phosphorus | Photometric method end point PHOSPHOMOLYBDADE ΟΕ 504-11, Version3/20.11.2021 |
|  | 14. Iron | Colorimetric method /FERROZINE ΟΕ 504-11, Version3/20.11.2021 |
|  | 15.Total Protein | Colorimetric method BIURET ΟΕ 504-11, Version3/20.11.2021 |
|  | 16. Albumin | Photometric method BROMOCRESOL GREEN ΟΕ 504-11, Version3/20.11.2021 |
|  | 17. Serum glutamic-oxaloacetic transaminase (SGOT) | Photometric method UV / IFCC** without P-S-P ΟΕ 504-11, Version3/20.11.2021 |
|  | 18. Serum glutamic-pyruvic transaminase (SGPT) | Photometric method UV / IFCC** without P-S-P ΟΕ 504-11, Version3/20.11.2021 |
|  | 19. Gamma-glutamyl trasferase (γ-GT) | Enzymatic Colorimetric method GCNA- Liquid stand SZΑSZ ΟΕ 504-11, Version3/20.11.2021 |
|  | 20. Alkaline phosphatase (ALP) | Colorimetric method liquid acc to IFCC** ΟΕ 504-11, Version3/20.11.2021 |
|  | 21. Creatinine kinase (CPK) | Photometric method liquid acc to IFCC** ΟΕ 504-11, Version3/20.11.2021 |
|  | 22. Lactate dehydrogenase (LDH) | Photometric method UV/optimized (DGKC***) ΟΕ 504-11, Version3/20.11.2021 |
|  | 23. Amylase | Enzymatic colorimetric method liquid acc to IFCC** ΟΕ 504-11, Version3/20.11.2021 |
|  | 24. Magnesium | Chromatometric method / CPZ III ΟΕ 504-11, Version3/20.11.2021 |
|  | 25. Potassium | ISE method ΟΕ 504-11, Version3/20.11.2021 |
|  | 26. Sodium | ISE method ΟΕ 504-11, Version3/20.11.2021 |
|  | 27. Globulins | Calculated method ΟΕ 504-11, Version3/20.11.2021 |
|  | 28. Atheromatic index | Calculated method ΟΕ 504-11, Version3/20.11.2021 |
|  | 29. A/G ratio | Calculated method ΟΕ 504-11, Version3/20.11.2021 |
|  | 30. Total Iron Binding Capacity (TIBC) | Calculated method ΟΕ 504-11, Version3/20.11.2021 |
|  | 31. Total lipids | Calculated method ΟΕ 504-11, Version3/20.11.2021 |
| Urine Urine (continued) | Determination of 11 parameters | Automated biochemical analyzer Cobas 8000 PRO I, c-503, ROCHE* |
|  | 1.Creatinine | Kinetic Enzymatic method - JAFFE METHOD ΟΕ 504-11, Version3/20.11.2021 |
|  | 2.Calcium | Photometric method -5NITRO-5METHYL- BAPTA ΟΕ 504-11, Version3/20.11.2021 |
|  | 3. Chlorides | ISE Indirect method ΟΕ 504-11, Version3/20.11.2021 |
|  | 4.Total Protein | Colorimetric method BIURET ΟΕ 504-11, Version3/20.11.2021 |
|  | 5.Phosphorus | Photometric method end point PHOSPHOMOLYBDADE ΟΕ 504-11, Version3/20.11.2021 |
|  | 6. Potassium | ISE method ΟΕ 504-11, Version3/20.11.2021 |
|  | 7. Sodium | ISE method ΟΕ 504-11, Version3/20.11.2021 |
|  | 8. Magnesium | Chromatometric method / CPZ III ΟΕ 504-11, Version3/20.11.2021 |
|  | 9. Glucose | Enzymatic Chromatometric method GOD-PAP ΟΕ 504-11, Version3/20.11.2021 |
|  | 10. Urea | Kinetic Enzymatic method / UV ΟΕ 504-11, Version3/20.11.2021 |
|  | 11. Uric acid | Enzymatic Chromatometric method uricase/peroxidase ΟΕ 504-11, Version3/20.11.2021 |
| Blood serum Blood serum (continued) | Determination of 31 parameters | Automated biochemical analyzer COBAS 8000 PRO ΙΙ, c-503, ROCHE* |
|  | 1. Glucose | Enzymatic Chromatometric method GOD-PAP ΟΕ 504-11, Version3/20.11.2021 |
|  | 2. Triglycerides | Enzymatic Chromatometric method GPO – PAP ΟΕ 504-11, Version3/20.11.2021 |
|  | 3. Total Cholesterol | Enzymatic method CHOD – PAP ΟΕ 504-11, Version3/20.11.2021 |
|  | 4. HDL-Cholesterol | Enzymatic Chromatometric method ΟΕ 504-11, Version3/20.11.2021 |
|  | 5. VLDL-Cholesterol | Calculated method ΟΕ 504-11, Version3/20.11.2021 |
|  | 6. LDL-Cholesterol | Enzymatic Chromatometric method ΟΕ 504-11, Version3/20.11.2021 |
|  | 7. Uric acid | Enzymatic Chromatometric method uricase/peroxidase ΟΕ 504-11, Version3/20.11.2021 |
|  | 8. Urea | Kinetic Enzymatic method / UV ΟΕ 504-11, Version3/20.11.2021 |
|  | 9. Creatinine | Kinetic Enzymatic method - JAFFE METHOD ΟΕ 504-11, Version3/20.11.2021 |
|  | 10.Total Bilirubin | Photometric method UV Liquid DPD ΟΕ 504-11, Version3/20.11.2021 |
|  | 11. Chlorides | ISE, Indirect method ΟΕ 504-11, Version3/20.11.2021 |
|  | 12. Calcium | Photometric method -5NITRO-5METHYL- BAPTA ΟΕ 504-11, Version3/20.11.2021 |
|  | 13. Phosphorus | Photometric method end point PHOSPHOMOLYBDADE ΟΕ 504-11, Version3/20.11.2021 |
|  | 14. Iron | Colorimetric method /FERROZINE ΟΕ 504-11, Version3/20.11.2021 |
|  | 15.Total Protein | Colorimetric method BIURET ΟΕ 504-11, Version3/20.11.2021 |
|  | 16. Albumin | Photometric method BROMOCRESOL GREEN ΟΕ 504-11, Version3/20.11.2021 |
|  | 17. Serum glutamic-oxaloacetic transaminase (SGOT) | Photometric method UV / IFCC** without P-S-P ΟΕ 504-11, Version3/20.11.2021 |
|  | 18. Serum glutamic-pyruvic transaminase (SGPT) | Photometric method UV / IFCC** without P-S-P ΟΕ 504-11, Version3/20.11.2021 |
|  | 19.Gamma-glutamyl trasferase (γ-GT) | Enzymatic Colorimetric method GCNA- Liquid stand SZΑSZ ΟΕ 504-11, Version3/20.11.2021 |
|  | 20. Alkaline phosphatase (ALP) | Colorimetric method liquid acc to IFCC** ΟΕ 504-11, Version3/20.11.2021 |
|  | 21. Creatinine kinase (CPK) | Photometric method liquid acc to IFCC** ΟΕ 504-11, Version3/20.11.2021 |
|  | 22. Lactate dehydrogenase (LDH) | Photometric method UV/optimized (DGKC***) ΟΕ 504-11, Version3/20.11.2021 |
|  | 23. Amylase | Enzymatic colorimetric method liquid acc to IFCC** ΟΕ 504-11, Version3/20.11.2021 |
|  | 24. Magnesium | Chromatometric method / CPZ III ΟΕ 504-11, Version3/20.11.2021 |
|  | 25. Potassium | ISE method ΟΕ 504-11, Version3/20.11.2021 |
|  | 26. Sodium | ISE method ΟΕ 504-11, Version3/20.11.2021 |
|  | 27. Urea/BUN (U-BUN) | Enzymatic Kinetic method ΟΕ 504-11, Version3/20.11.2021 |
|  | 28. Globulins | Calculated method ΟΕ 504-11, Version3/20.11.2021 |
|  | 29. Atheromatic index | Calculated method ΟΕ 504-11, Version3/20.11.2021 |
|  | 30. A/G ratio | Calculated method ΟΕ 504-11, Version3/20.11.2021 |
|  | 31. Total lipids | Calculated method ΟΕ 504-11, Version3/20.11.2021 |
| Urine Urine (continued) | Determination of 10 parameters | Automated biochemical analyzer COBAS 8000 PRO ΙΙ, c-503, ROCHE* |
|  | 1.Creatinine | Kinetic Enzymatic method - JAFFE METHOD ΟΕ 504-11, Version3/20.11.2021 |
|  | 2.Calcium | Photometric method -5NITRO-5METHYL- BAPTA ΟΕ 504-11, Version3/20.11.2021 |
|  | 3. Chlorides | ISE Indirect method ΟΕ 504-11, Version3/20.11.2021 |
|  | 4. Phosphorus | Photometric method end point PHOSPHOMOLYBDADE ΟΕ 504-11, Version3/20.11.2021 |
|  | 5. Potassium | ISE method ΟΕ 504-11, Version3/20.11.2021 |
|  | 6. Sodium | ISE method ΟΕ 504-11, Version3/20.11.2021 |
|  | 7. Magnesium | Chromatometric method / CPZ III ΟΕ 504-11, Version3/20.11.2021 |
|  | 8. Glucose | Enzymatic Chromatometric method GOD-PAP ΟΕ 504-11, Version3/20.11.2021 |
|  | 9. Urea | Kinetic Enzymatic method / UV ΟΕ 504-11, Version3/20.11.2021 |
|  | 10. Uric acid | Enzymatic Chromatometric method uricase/peroxidase ΟΕ 504-11, Version3/20.11.2021 |
| Hematological Tests |
| Whole blood | Determination of 11 parameters | Automated analyzers SYSMEX XN 550* |
|  | 1. White Blood Cells (WBC) | Flow Cytometry with fluorescence ΟΕ 504-11, Version3/20.11.2021 |
|  | 2. Red Blood Cells (RBC) | Hydrodynamic Focusing (DC Detection) ΟΕ 504-11, Version3/20.11.2021 |
|  | 3. Hemoglobin (HGB) | Photometry ΟΕ 504-11, Version3/20.11.2021 |
|  | 4. Hematocrit (HCT) | Hydrodynamic Focusing (DC Detection) ΟΕ 504-11, Version3/20.11.2021 |
|  | 5. Mean Cell Volume (ΜCV) | Calculated method (DC Detection) ΟΕ 504-11, Version3/20.11.2021 |
|  | 6. Mean Cell Hemoglobin (MCH) | Calculated method (DC Detection) ΟΕ 504-11, Version3/20.11.2021 |
|  | 7. Mean corpuscular hemoglobin concentration (MCHC) | Calculated method (DC Detection) ΟΕ 504-11, Version3/20.11.2021 |
|  | 8. Platelets (PLTs) | Hydrodynamic Focusing (DC Detection) ΟΕ 504-11, Version3/20.11.2021 |
|  | 9. Mean Platelet Volume (MPV) | Calculated method ΟΕ 504-11, Version3/20.11.2021 |
|  | 10. Red Cell Distribution Width (RDW) | Hydrodynamic Focusing (DC Detection) ΟΕ 504-11, Version3/20.11.2021 |
|  | 11. Red Cell Distribution Width (RDW-SD) | Calculated method ΟΕ 504-11, Version3/20.11.2021 |
| Immunochemical Tests |
| 1. Blood serum Blood serum (continued) | Determination of 25 parameters | Automated immunochemical analyzer COBAS 8000 PRO I, e-801, ROCHE* |
|  | Prolactin (PRL) | Electrochemiluminescense (ECLIA) ΟΕ 504-11, Version3/20.11.2021 |
|  | Follicle Stimulating Hormone (FSH) |  |
|  | Luteinizing Hormone (LH) |  |
|  | Cortisol |  |
|  | Thyrotropin Hormone (TSH) |  |
|  | 6. Thyroxin total (Τ4) |  |
|  | 7. Triidothyronine total (T3) |  |
|  | 8. Free Triidothyronine total (Free T3) |  |
|  | 9. Free Thyroxin (Free T4) |  |
|  | 10. β-Human Chorionic Gonadotropin (β-ΗCG) |  |
|  | 11. Estradiol (E2) |  |
|  | 12. Carcinoembryonic antigen (CEA) |  |
|  | 13. Cancer antigen CA 125 |  |
|  | 14. Cancer antigen CA 15-3 |  |
|  | 15. Cancer antigen CA 19-9 |  |
|  | 16. Prostate Specific Antigen (PSA) |  |
|  | 17. Vitamin D, Total |  |
|  | 18. Vitamin B12 |  |
|  | 19. Follate |  |
|  | 20. Ferritin |  |
|  | 21. Insulin |  |
|  | 22. Parathyroid Hormone (PTH) |  |
|  | 23. Progesterone |  |
|  | 24. Testosterone |  |
|  | 25. Dehydroepiandrosterone-sulfate (DHEA’s) |  |
| Blood serum | Determination of 12 parameters | Automated immunochemical analyzer COBAS 8000 PRO II, e-801, ROCHE* |
|  | 1. Vitamin D, Total | Electrochemiluminescense (ECLIA) ΟΕ 504-11, Version3/20.11.2021 |
|  | 2. Vitamin B12 |  |
|  | 3. Ferritin |  |
|  | 4. Folate |  |
|  | 5. Free Triidothyronine total (Free T3) |  |
|  | 6.Free Thyroxin (Free T4) |  |
|  | 7. Prostate Specific Antigen (PSA) |  |
|  | 8. Thyrotropin Hormone (TSH) |  |
|  | 9. Triidothyronine total (T3) |  |
|  | 10. Thyroxin total (Τ4) |  |
|  | 11. a-fetoprotein (AFP) |  |
|  | 12. Sex Hormone Binding Globulin (SHBG) |  |
| Whole blood | Determination of 1 parameter | Automated analyzer VARIANT II, BioRad* |
|  | Glycated Hemoglobin A1c (HbA1c) | HPLC ΟΕ 504-11, Version3/20.11.2021 |

*Reference to the commercial name of a specific analyzer/kit,  refers to a specific analytical method and protocol

**IFCC: International Federation of Clinical Chemistry

***DGKC: Deutsche Geselschaft fur Klinische Chemie

Site of assessment: Laboratory permanent premises, 260 Eleftheriou Venizelou Av., Kallithea, Attiki, Greece.

Approved signatories: Christina Economidou.

This scope of Accreditation replaces the previous one dated 23.11.2020.

The Accreditation Certificate No. 1228, to ELOT EN ISO 15189:2012, is valid until 22.11.2024.

Athens, March 09, 2022

Christos Nestoras

CEO of ESYD