Hellenic Accreditation System

Annex G1/6 to the Certificate No.1036-2 SCOPE of ACCREDITATION of the Biochemistry Laboratory of General Hospital of Agios Nikolaos of 7th YPE KRITIS

| Tested materials/ products | Types of test/ Properties to be measured | Applied Standards/ Techniques to be used |
| --- | --- | --- |
| Biochemical Tests |
| 1. Blood Serum Blood Serum (continued) Blood Serum (continued) | Determination of 27 parameters | Automated biochemical analyzer Beckman Coulter DxC 700 AU* |
|  | Alkaline Phosphatase (ALP) | Kinetic colour test -IFCC Method BLOSR6X04 06 |
|  | Alanine Aminotranferase (ALT/SGPT) | Kinetic UV test. IFCC Method Without Pyridoxal Phoshate BLOSR6X07 08 |
|  | Aspartate Aminotranferase (AST/SGOT) | Kinetic UV test. IFCC Method Without Pyridoxal Phoshate BLOSR6X09 08 |
|  | Gamma-Glutamyltransferase (γGT) | Kinetic colour test -IFCC Method BLOSR6X20 07 |
|  | Creatine Kinase (CK/CPK) | Kinetic UV test. CK-NAK μετηοδ (IFCC) BLOSR6X79 07 |
|  | Lactate Dehydrogenase (LDH) | Kinetic UV test -(IFCC Method) BLOSR6X28 07 |
|  | Amylase (AMY) | Kinetic colour test - CNPG3 BLOSR6X06 05 |
|  | Total Bilirubin (TBIL) | Kinetic colour test- DPD BLOSR6X11 07 |
|  | Direct Bilirubin (DBIL) | Photometric colour test DPD BLOSR6X12 |
|  | Urea | Kinetic UV test - Urease/GLDH BLOSR6X34 10 |
|  | Glucose (GLU) | Enzymatic UV test -hexokinase method BLOSR6X21 09 |
|  | Creatinine (CREA) | Kinetic colour test -Jaffe Compensated BLOSR6X78 14 |
|  | Cholesterol (TC) | Enzymatic colour test - CHO-POD BLOSR6X16 12 |
|  | HDL Cholesterol (HDL-C) | Enzymatic colour test Direct Homogeneous BLOSR6X99 09 |
|  | Triglycerides (TGs) | Enzymatic colour test GPO-POD BLOSR6X118 07 |
|  | Uric Acid (UA) | Enzymatic colour test Uricase/POD, BLOS66320 08 |
|  | Total Proteins (TP) | Photometric colour test -Biuret BLOSR6X32 06 |
|  | Albumin (ALB) | Photometric colour test with Bromocresol Green BLOSR6X02 08 |
|  | Iron (Fe) | Photometric colour test with TPTZ, BLOSR6X86 06 |
|  | Phosphate (P) | (Photometric UV test, phosphomolybdenum complex BLOSR6X22 07 |
|  | Magnesium (Mg) | Photometric colour test with Xylidyl blue, BLOSR6X89 06 |
|  | Potassium (K) | Ionselective test - detemination of concetration by electrical potential, according to the Nernst Equation BLOS66320 08 |
|  | Sodium (Na) | Ionselective test - detemination of concetration by electrical potential, according to the Nernst Equation BLOS66320 08 |
|  | Chlorine (Cl) | Ionselective test - detemination of concetration by electrical potential, according to the Nernst Equation BLOS66320 08 |
|  | Calcium Total (Ca) | Photometric colour test- Arsenazo III BLOSR6X117 10 |
|  | C Reactive Protein (CRP) - quantitative | Particle Enhanced Immunoturbidimetric Assay -Latex BLOSR6X99 09 |
| 2. Whole blood (EDTA) | Determination of 1 parameter | Automated biochemical analyzer Beckman Coulter DxC 700 AU* |
|  | 1. Glycated Haemoglobin (HbA1C) | Turbidimetric Immunoinhibition method, BLOSB93009 04 |

* Reference to the commercial name of a specific analyzer, refers to a specific analytical method and protocol

Site of assessment: Laboratory permanent premises: Konstantinou Palaiologou & Knossos str., Aghios   Nikolaos, Crete, Greece.

Approved signatories: Ε. Mihailellis, Α. Fronimaki.

This Scope of Accreditation replaces the previous one dated 25.06.2020.

The Accreditation Certificate No.1036-2, to ELOT EN ISO 15189:2012, is valid until 20.04.2024.

Athens, 28 March, 2022

Christos Nestoras

CEO of ESYD