Hellenic Accreditation System

Annex G1/9 to the Certificate No. 942-4 SCOPE of ACCREDITATION of the Clinical Laboratory of Medical Center LEFKOS STAVROS THE ATHENS CLINIC S.A.

| Materials/Products tested | Types of test / Properties measured | Applied methods / Techniques used |
| --- | --- | --- |
| Biochemical Tests |
| Blood serum Blood serum (continued) | Determination of 29 parameters | Automated biochemical analyzer Abbott Architect c8000 (S/N: 1812006s) ΟΕ.Μ.01 (2.1/27.10.2021) |
|  | 1. Direct Bilirubin (DBil) | Diazo Reaction |
|  | 2. Total Bilirubin (TBil) | Photometric Chromatometric Method |
|  | 3. Calcium (Ca) |  |
|  | 4. Iron (Fe) |  |
|  | 5. Magnesium (Mg) |  |
|  | 6. Total Protein (TP) |  |
|  | 7. Albumin (ALB) |  |
|  | 8. Glucose (GLU) | Enzymatic method UV |
|  | 9. Potassium (K) | With ion-selective electrode |
|  | 10. Sodium (Na) |  |
|  | 11. Alkaline Phosphatase (ALP) | Kinetic chromatometric method |
|  | 12. Amylase (AMYL) |  |
|  | 13. Gamma-glutamyl Trasferase (γ-GT) |  |
|  | 14. Creatinine (CREA) |  |
|  | 15. Alanine Aminotransferase (ALT/SGPT) | Kinetic method UV |
|  | 16. Aspartate Aminotransferase (AST/SGOT) |  |
|  | 17. Creatine Kinase (CK) |  |
|  | 18 Lactate Dehydrogenase (LDH) |  |
|  | 19. Urea (UREA) |  |
|  | 20. Cholesterol LDL | Calculated |
|  | 21. Cholesterol HDL | Photometric Method UV |
|  | 22. Triglycerides (TRIG) |  |
|  | 23. Uric acid (Ua) |  |
|  | 24. Creatine kinase MB isoenzyme- activity (CK MB activity) | Kinetic Method UV |
|  | 25.Total cholesterol | Photometric Method UV |
|  | 26. C reactive protein (CRP) | Immunoturbidimetric |
|  | 27. Chloride (Cl) | With ion-selective electrode |
|  | 28. Phosphorus (P) | Photometric Method UV |
|  | 29. Ferritin (Ferr) | Turbidimetric method |
| Hematological tests |
| Whole blood (EDTA) | Determination of 8 parameters | Automated Hematological Analyzer SYSMEX-XN-550 (S/N: 16523) ΟΕ.Μ.02-01 (1.0/27.10.2021) |
|  | 1. White Blood Cells (WBC) | Volume analysis |
|  | 2. Red Blood Cells (RBC) |  |
|  | 3. Hemoglobin (HGB) | Photometric |
|  | 4. Hematocrit (HCT%) | Calculated |
|  | 5. Mean Corpuscular Volume (MCV) |  |
|  | 6. Mean Corpuscular Ηb (MCH) |  |
|  | 7. Mean concentration Hb (MCHC) (g/dl) |  |
|  | 8. Platelets (PLTs) | Volume analysis |
| Immunochemical Tests |
| Blood serum Blood serum (continued) | Determination of 14 parameters | Automated immunochemical analyzer ROCHE Cobas e 411* (S/N: 65M6-08) ΟΕ.Μ.03 (2.0/03.03.2020), ΟΕ.09-ΕΝ02 (1.0/22.02.2021) |
|  | 1. Prostate Specific Antigen (PSA) | Electrochemiluminescence (ECLIA) |
|  | 2. Triidothyronine Total (T3) |  |
|  | 3. Triidothyronine Free (FT3) |  |
|  | 4. Thyroxin Total (T4) |  |
|  | 5. Thyroxin Free (FT4) |  |
|  | 6. Thyrotropin (TSH) |  |
|  | 7. Folate (FOLATE) |  |
|  | 8. Vitamin Β12 (VB12) |  |
|  | 9. Human Chorionic Gonadotropin (β-ThCG) |  |
|  | 10. Parathormone (PTH) |  |
|  | 11. Thyroglobulin Antibodies (anti-TG) |  |
|  | 12. Thyroid Peroxidase Antibodies (anti-TPO) |  |
|  | 13. Vitamin D3 (Total) |  |
|  | 14. TNT-HS |  |
| Blood serum | Determination of 11 parameters | Automated immunochemical analyzer ROCHE Cobas e 411* (S/N: 65Κ7-27) ΟΕ.Μ.03 (2.0/03.03.2020), ΟΕ.09-ΕΝ02 (1.0/22.02.2021) |
|  | 1. Hepatitis B virus surface antigen HBsAg | Electrochemiluminescence (ECLIA) |
|  | 2. Hepatitis B virus surface antibodies, Anti HBs |  |
|  | 3. Hepatitis B virus core total antibodies, HBcT |  |
|  | 4. Hepatitis B virus core IgM antibodies, HBcIgM |  |
|  | 5. Hepatitis C virus antibodies, Anti-HCV |  |
|  | 6. Human Immunodeficiency Virus antibodies HIV 1/O/2 Enhanced Anti-HIV |  |
|  | 7. Α -Fetoprotein (AFP) |  |
|  | 8. Cancer Antigen CA 125 |  |
|  | 9. Cancer Antigen CA 15-3 |  |
|  | 10. Cancer Antigen CA 19-9 |  |
|  | 11. Carcinoembryonic Antigen (CEA) |  |
| Clotting –Hemostasis Tests |
| Blood plasma (sodium citrate) | Determination of 5 parameters | Automated Coagulation Analyzer ACL ELITE Pro * (S/N: 19094494) ΟΕ.Μ.04 (2.0/03.03.2020), ΟΕ.09-ΕΝ02 (1.0/22.02.2021) |
|  | 1. Prothrombin time (PT) | Coagulometric |
|  | 2. Prothrombin time (PT %) | Calculated |
|  | 3.Prothrombin time international normalized ratio (PT/INR) | Calculated |
|  | 4. Activated Partial Thromboplastin time (APTT) | Coagulometric |
|  | 5. Fibrinogen activity (FIB) | Coagulometric |
| Molecular Genetics Tests |
| Nasopharyngeal smear, Oropharyngeal smear | Qualitative RNA detection, of N, ORF1ab & S genes, of Severe Acute Respiratory Syndrome Coronavirus 2 (SARS-CoV-2) | Manufacturer’s kit protocol TaqPath COVID-19 RT-PCR, ThermoFisher Scientific CE-IVD on real-time thermocycler Applied Biosystems QuantStudio 5* Lab protocol ΟΕ.Μ.06.1 (3.0/ 21-03-2023), ΟΕ.M.06.4 (3.0/27-06-2023) |
|  | Qualitative RNA detection, of N, RdRp & E genes, of Severe Acute Respiratory Syndrome Coronavirus 2 (SARS-CoV-2) | Manufacturer’s kit protocol COVID-19 qPCR 4plex, 1drop CE-IVD on real-time thermocycler Bioer LineGene 9600plus* Lab protocol ΟΕ.Μ.06.3 (3.0/ 21-03-2023), ΟΕ.M.06.4 (3.0/27-06-2023) |
| Blood Plasma (EDTA) | Quantitative RNA detection of Hepatitis C Virus (HCV RNA) | Manufacturer’s kit protocol HCV Real-TM Quant Dx, Sacace Biotechnologies CE-IVD on real-time thermocycler SACACE SaCycler-96* Lab protocol ΟΕ.Μ.07 (3.0/ 21-03-2023), ΟΕ.M.06.4 (3.0/27-06-2023) |
| Blood Plasma (EDTA) | Quantitative DNA detection of Hepatitis B Virus (HBV DNA) | Manufacturer’s kit protocol HBV Real-TM Quant Dx, Sacace Biotechnologies CE-IVD on real-time thermocycler SACACE SaCycler-96* Lab protocol ΟΕ.Μ.08 (3.0/ 21-03-2023), ΟΕ.M.06.4 (3.0/27-06-2023) |
| Cervicovaginal smear, urethral smear, semen | Detection and standardization of Human Papilloma Virus (HPV) [24 types: 16, 18 ,31, 33, 35, 39, 45, 51, 52, 56, 58, 59, 68, 26, 53, 66, 73, 82, 6, 11, 42, 43, 44, 81] | Manufacturer’s kit protocol Human Papillomavirus Nucleic Acid Amplification Test, Mole Bioscience Co CE-IVD on real-time thermocycler Bioer LineGene 9600plus* Lab protocol ΟΕ.Μ.09 (3.0/ 21-03-2023), ΟΕ.M.06.4 (3.0/27-06-2023) |

*Reference to the commercial name of a specific analyzer/kit, refers to a specific analytical method and protocol

Site of assessment: Laboratory premises: 1-3 G. Sisini & Papadiamantopoulou 16 Str, Illisia, 115 28, Athens.

Approved Signatories: A. Yfantidis, E. Vavoulidis.

Primary sample collection site: Medical center premises: 1-3 G. Sisini & Papadiamantopoulou 16   Str, Illisia, 115 28, Athens.

This Scope of Accreditation replaces the previous one dated 17.05.2022

The Accreditation Certificate No.942-4, to ELOT EN ISO/IEC 15189:2012, is valid until 10.11.2027.

Athens, 16th October 2023

Christos Nestoras

CEO  of ESYD