Hellenic Accreditation System

Annex G1/4 to the Certificate No. 1161

SCOPE of ACCREDITATION

of the

Clinical Laboratory

«Protipos Diagnostiki»

| Tested Materials/ products | Types of Test/Properties to be measured | Applied Standards Methods/Techniques to be used |
| --- | --- | --- |
| Biochemical Tests |
| 1.Blood Serum Blood Serum (continued) | Determination of 37 parameters | Automated Biochemical Analyzer Cobas Integra 400 plus, Roche* List of Methods Ε.530-1 / Version 3, 13-3-2023 |
|  | Glucose (GLU) | Enzymatic reference method with hexokinase. |
|  | Urea (UREA) | Kinetic test with presence of urease and glutamate dehydrogenase |
|  | Creatinine (CREA) | Kinetic colorimetric assay based on the Jaffé method. |
|  | Uric Acid (UA) | Enzymatic colorimetric method with presence of uricase and peroxidase |
|  | Aspartate aminotransferase (SGOT/AST) | Method according to IFCC without pyridoxal-5-phosphate |
|  | Alanine aminotransferase (SGPT/ALT) | Method according to IFCC without pyridoxal-5-phosphate |
|  | Alkaline Phosphatase (ALP) | Colorimetric method using AMP-buffer |
|  | Gamma – Glutamyltransferase (γGT) | Enzymatic colorimetric method using L-γ-glutamyl-3-carboxy-4-nitroanilide as substrate |
|  | Creatine Kinase (CPK) | Method according to IFCC N-acetylcysteine |
|  | Lactate Dehydrogenase (LDH) | UV-assay according to IFCC’s recommendations. Conversion of L-lactate to pyruvate |
|  | C- Reactive Protein (CRP) | Immunoturbidimetric method (Latex particles) |
|  | Iron (Fe) | Colorimetric endpoint method with FerroZine. |
|  | Calcium (Ca) | Photometric method using 5-nitro-5΄-methyl-BAPTA |
|  | Phosphorus (PHOS) | Endpoint method using ammonium molybdate in the presence of sulfuric acid |
|  | Magnesium (Mg) | Colorimetric method using Chlorophosphonazo III (CPZ III) |
|  | Amylase (AMY) | Enzymatic kinetic colorimetric method according to IFCC |
|  | Total Bilirubin (TBIL) | Colorimetric endpoint diazomethod in a strongly acidic medium |
|  | Direct Bilirubin (DBIL) | Diazomethod using 3,5 dichlorophenyl diazonium salt in acid buffer |
|  | Albumin (ALB) | Colorimetric endpoint method using the anionic dye, bromcresol green |
|  | Total Protein (TP) | Colorimetric endpoint method that forms the characteristic purple-colored biuret complex |
|  | Cholesterol (CHOL) | Enzymatic colorimetric method using cholesterol esterase, cholesterol oxidase and peroxidase |
|  | HDL – Cholesterol (HDL-C) | Homogeneous enzymatic colorimetric method using PEG-modified enzymes |
|  | LDL – Cholesterol (LDL-C) | Homogeneous enzymatic colorimetric method using esterase and oxidase in the presence of surfactants which selectively solubilize only LDL |
|  | Triglycerides (TRIG) | Enzymatic colorimetric method using lipoprotein lipase and peroxidase |
|  | Apolipoprotein-Α (ApoA) | Immunoturbidimetric method |
|  | Apolipoprotein-Β (ApoB) | Immunoturbidimetric method |
|  | Lipoprotein-α Lp(a) | Immunoturbidimetric method |
|  | Homocystein (HCY) | Enzymatic |
|  | Atherogenic index | Automatic calculation |
|  | Total lipids | Automatic calculation |
|  | Globulins | Automatic calculation |
|  | A/G ratio | Automatic calculation |
|  | Immunoglobulin A (IgA) | Immunoturbidimetric method |
|  | Immunoglobulin G (IgG) | Immunoturbidimetric method |
|  | Immunoglobulin M (IgM) | Immunoturbidimetric method |
|  | C3 | Immunoturbidimetric method |
|  | C4 | Immunoturbidimetric method |
| Blood Serum (continued) | Determination of 2 parameters | Electrolyte analyzer Humalyte* List of Methods Ε.530-1 / Version 3, 13-3-2023 |
|  | Potassium (K) | ISE method |
|  | Sodium (Na) | ISE method |
| Immunochemical Tests |
| 1.Blood Serum Blood Serum (continued) | Determination of 25 parameters | Automated Analyzer Cobas e 411, Roche* List of Methods Ε.530-1 / Version 3, 13-3-2023 |
|  | Triiodothyronine (Τ3) | Electrochemiluminescence |
|  | Thyroxine (Τ4) | Electrochemiluminescence |
|  | Thyrotropin Hormone (TSH) | Electrochemiluminescence |
|  | Free Triiodothyronine (FT3) | Electrochemiluminescence |
|  | Free Thyroxine (FT4) | Electrochemiluminescence |
|  | Prostatic Antigen (PSA) | Electrochemiluminescence |
|  | Ferritine (Fer) | Electrochemiluminescence |
|  | Folic Acid (Fol) | Electrochemiluminescence |
|  | Vitamin B12 (B12) | Electrochemiluminescence |
|  | β-HCG | Electrochemiluminescence |
|  | 25-OH Vitamin D | Electrochemiluminescence |
|  | Parathyroid Hormone (PTH) | Electrochemiluminescence |
|  | Follicle Stimulation Hormone (FSH) | Electrochemiluminescence |
|  | Luteinizing Hormone (LH) | Electrochemiluminescence |
|  | Estradiol (E2) | Electrochemiluminescence |
|  | Prolactin (PRL) | Electrochemiluminescence |
|  | Antithyroglobulin antibody (Anti-TG) | Electrochemiluminescence |
|  | Thyroid peroxidase antibody (Anti-TPO) | Electrochemiluminescence |
|  | Troponin (TNT) | Electrochemiluminescence |
|  | Alpha Fetoprotein (AFP) | Electrochemiluminescence |
|  | Cancer Antigen CA125 | Electrochemiluminescence |
|  | Cancer Antigen CA 15-3 | Electrochemiluminescence |
|  | Cancer Antigen CA 19-9 | Electrochemiluminescence |
|  | CarcinoEmbryonic Antigen (CEA) | Electrochemiluminescence |
| Hematological Tests |
| 1.Whole Blood (EDTA) | Determination of 21 parameters | Automated Analyzer SYSMEX XN 550* List of Methods Ε.530-1 / Version 3, 13-3-2023 |  |
|  | Red Blood Cells (RBC) | Hydro Dynamic Focusing (DC Detection) |
|  | White Blood Cells ( WBC) | Flow cytometry with fluorescence method |
|  | Platelets (PTLs) | Hydro Dynamic Focusing (DC Detection) |
|  | Haematocrit (HCT%) | Hydro Dynamic Focusing (DC Detection) |
|  | Hemoglobin (HGB) | Photometric method Hemoglobin SLS |
|  | Mean Corpuscular Volume (MCV) | Automatic calculation |
|  | Mean Corpuscular Haemoglobin (MCH) | Automatic calculation |
|  | Mean corpuscular hemoglobin concentration (MCHC) | Automatic calculation |
|  | Red blood cell distribution width (RDW) | Automatic calculation |
|  | Mean platelet volume (MPV) | Automatic calculation |
|  | Plateletcrit (PCT) | Automatic calculation |
|  | LEUKOCYTE TYPE | Flow cytometry with fluorescence method |
|  | Neutrophils (number & %) |  |
|  | Lymphocytes (number & %) |  |
|  | Mononuclear (number & %) |  |
|  | Eosinophils (number & %) |  |
|  | Basophils (number & %) |  |
| 2.Blood films | Red Blood Cells’ Morphology / Platelets’ Morphology/ White Blood Cell Differential Count (absolute number and %): Neutrophils, Lymphocytes, Monocytes, Eosinophils, Basophils, Abnormal Cells | Microscopic examination |
| 3. Blood plasma (sodium citrate) | Determination of 4 parameters | Semi-automated analyzer BFT II (Siemens)* List of Methods Ε.530-1 / Version 3, 13-3-2023 |
|  | Prothrombin time (PT) | Optomechanical method |
|  | International Normalized Ratio (INR) | Optomechanical method |
|  | Activated Partial Thromboplastin Time (APTT) | Optomechanical method |
|  | Fibrinogen (FIB) | Optomechanical method |
| 4. Whole Blood (EDTA) | Determination of 1 parameter | Analyzer Lifotronic H8* List of Methods Ε.530-1 / Version 3, 13-3-2023 |
|  | 1. Glycated Haemoglobin (HbA1c) | High Performance Liquid Chromatography (HPLC) |
| Molecular Biology Tests |
| Νasopharyngeal swab, Oropharyngeal swab | Molecular detection of SARS-CoV-2 RNA | Real Time PCR method by the use of thermal cycler LongGene Q1000+, according to the instructions of the manufacturer of PathoFinder’s Real Accurate Quadruplex SARS-CoV-2 PCR Kit. Ο.530-2, version 1, 01/04/2022 |
| Νasopharyngeal swab, Oropharyngeal swab | Molecular detection of SARS-CoV-2 RNA | Real Time PCR method by the use of thermal cycler LongGene Q1000+, according to the instructions of the manufacturer of PhoenixDx SARS-CoV-2 Multiplex IVD kit Ο.530-2, version 1, 01/04/2022 |
| Νasopharyngeal swab, Oropharyngeal swab | Molecular detection of SARS-CoV-2 RNA | Real Time PCR method by the use of thermal cycler LongGene Q1000+, according to the instructions of the manufacturer of LabSystems Diagnostics COVID-19 Real Time Multiplex RT-PCR Kit Ο.530-2, version 1, 01/04/2022 |

*Reference to the commercial name of a specific analyzer/kit, refers to a specific analytical method and protocol

Site of assessment: Laboratory permanent premises: Lavriou Avenue 41, Kantza Attiki, 15351, Greece.

Approved signatories: Faviou Elsa.

This scope of Accreditation replaces the previous one dated 12.01.2021.

The Accreditation Certificate No. 1161, to ELOT EN ISO 15189:2012, is extended until 13.09.2023.

Athens, 12th June 2023

# Christos Nestoras

CEO of ESYD