Hellenic Accreditation System

Annex F1/VII2 to the Certificate No. 482-4

SCOPE of ACCREDITATION

of the

Department Veterinary Laboratory of Larissa

of the

Directorate of Veterinary Centre of Thessaloniki

of the

Ministry of Rural Development and Food

| Materials/Products tested | Types of test / Properties measured | Applied methods / Techniques used |
| --- | --- | --- |
| Microbiological Tests |
| 1. Milk | 1. Enumeration of microorganisms at 30°C | ISO 4833-1:2013 |
| 2. Milk and milk products, meat and meat products | 1. Detection of Salmonella spp. | ΕLΟΤ ΕΝ ISO 6579-1:2017 |
|  | 2. Detection of Listeria monocytogenes | ΕLΟΤ ΕΝ ISO 11290-1:2017 |
| Physical Tests |
| 1. Raw cow milk | Enumeration of somatic cells | Microscopic method (Reference method) ISO 13366-1/IDF 148-1:2008 |
| Biological Tests |
| 1. Nervous tissue (obex) of bovine, ovine and caprine origin 1. Nervous tissue (obex) of bovine, ovine and caprine origin (cont.) | 1. Detection of the protein Prese | Immuno-enzymatic technique ΕLΙSΑ (TeSeE BIO- RAD) according to the Commission Regulation 999/2001/EC |
|  | 2. Detection of the protein PrPRes | Immunoblot test (Confirmatory Western blot BIO-RAD) according to the Commission Regulation 999/2001/EC |
|  | 3. Discriminatory test for strain typing of transmissible spongiform encefalopathies in small ruminants | Discriminatory test (Discriminatory CEA METHOD BIO-RAD) according to the Commission Regulation 36/2005/EC and the OIE manual |
| 2. Nervous tissue and blood of ovine origin | 1. Genotyping analysis of polymorphisms in the PrP protein gene codons 136, 141, 154 and 171 to determine resistance to Scrapie Disease | Multiplex RT-PCR Melting Curve Genotyping using specific fluorescent probes |
| Serological Tests |
| 1. Blood serum samples of domestic or wild ruminants, equine, swine, camelids, carnivores and human origin | 1. Detection of antibodies against Βrucella abortus / melitensis / suis | Rose Bengal Test (R.B.) according to the Commission Regulation 535/2002/EC amending Annex C of the Directive 64/432/EEC and the Decision 2000/330/EC |
|  | 2. Detection of antibodies against Βrucella abortus / melitensis / suis | Complement Fixation Test (C.F.T.) according to the Commission Regulation 535/2002/EC amending Annex C of the Directive 64/432/EEC and the Decision 2000/330/EC |

Site of assessment: Permanent Laboratory premises, 6 klm N.R. Larissa-Trikala, Larissa, Greece.

Approved signatories: M. Kontopoulou, V. Palaska, S. Tsimpanoudi, A. Stournara.

This scope of Accreditation replaces the previous one dated 21.01.2022.

The Accreditation Certificate No. 482-4, to ΕΛΟΤ EN ISO/IEC 17025:2017, is valid until 19.11.2024.

Athens, 07.11.2023

Christos Nestoras

CEO of ESYD