Hellenic Accreditation System

| Annex F1/2 to the Certificate No. 1347 SCOPE of ACCREDITATION of the Testing Laboratory of "SURVEILLANCE", SGS GREECE SA |
| --- |
| Materials / Products to be tested | Types of test / Properties to be measured | Applied methods / Techniques to be used |
| Chemical tests |
| 1. Potable water from piped distribution systems | Determination of free chlorine and total chlorine | HACK LCK 310 (based on ISO 7393–2:2017) |
| 2. Irrigation water | Determination of pH | ISO 10523:2008 |
|  | Determination of electrical conductivity | ISO 7888:1985 |
| 3. Soil | Determination of total nitrogen | ISO 11261:1995 |
|  | Determination of pH | ASTM D4972-19 |
|  | Determination of electrical conductivity | ISΟ 11265:1994 |
| Microbiological tests |
| 1. Food | Detection of non-typhoidal - paratyphoid serotypes of Salmonella spp. | ISO 6579-1:2017/Amd 1:2020 |
|  | Detection of Listeria spp. and Listeria monocytogenes | ISO 11290-1:2017 |
| 2. Water, potable water, sea ballast | Enumeration of total coliforms and Escherichia coli in waters with low bacterial background flora | ISO 9308-1:2014/Amd 1:2016 |
|  | Detection and enumeration of intestinal enterococci | ISO 7899-2:2000 |
|  | Enumeration of total aerobic microorganisms at 22 ± 2 °C and at 36 ± 2 °C | ISO 6222:1999 |
| Molecular tests |
| 1. Food | Detection of Salmonella spp. | AOAC-PTM # 120301 MICROVAL |
|  | Detection of Listeria sensu stricto and Listeria monocytogenes | AOAC-PTM # 070401 NMKL NordVal #054 |
| Sampling |
| 1. Potable water from treatment works and piped distribution systems | Determination of physicochemical parameters | ISO 5667-1:2023 ISO 5667-3:2018 ISO 5667-5:2006 |

Site of assessment: Laboratory permanent premises, 13th km Thessaloniki-Poligiros National Road, Thermi, 57001, Thessaloniki, Greece.

Approved Signatories: G. Anastopoulos, M. Maridaki., A. Chioti.

This Scope of Accreditation replaces the previous one dated 20.04.2023.

The Accreditation Certificate No. 1347, to ELOT EN ISO/IEC 17025:2017, is valid until 19.04.2028.

Athens, 17.01.2024

Christos Nestoras

CEO of ESYD