Hellenic Accreditation System

# Annex G1/1 to the Certificate No. 1358 SCOPE of ACCREDITATION of the Departments: Hematology, Immunology-Histocompatibility, Biopathlogy, Biochemistry-Laboratory of Biological Chemistry NKUA, Cytopathology, Hospital Blood Transfusion Service, 1st Department of Pathology NKUA of the Laboratories Division and the Laboratory of Thalassemia Unit (Prevention-Screening and Genetics- Cystic Fibrosis) of the Interdivisional Departments/Units of the General Hospital of Athens “LAIKO”

| Tested materials / products |  | Types of tests/ Properties to be measured | Applied Methods / Techniques to be used |
| --- | --- | --- | --- |
| Biochemical Tests |  |  |  |
| Blood serum |  | #### Determination of 2 parameters | Automated Biochemistry Analyzers Roche Cobas c702 (Cobas 8000) 1 (s/n 16 H5 - 07) & 2 (s/n 16 J1 - 02)* |
|  |  | #### 1. Glucose | Reference Enzymatic method with hexokinase (GLUC3 Glucose HK 3rd generation 0105168791190c701V10) |
|  |  | #### 2. Creatinine | Enzymatic method (CREP2 Method of determination Creatinine plus ver.2 0105168589190c701.V12) |
| Immunochemical Microbiological Tests |  |  |  |
| Blood serum | #### Determination of 6 parameters |  | Automated Immunochemistry Analyzer DIASORIN LIAISON XL* Work Instruction: ΟΕ.Μ.05 (version 1.1 / 21.03.2022) & ΟΕ.Μ.-ΕΝ02 Biopathology Inserts (version 1.0 / 22.11.2022) |
|  | Determination of the antibodies against the herpesviruses Herpes simplex virus 1 και 2 (HSV-1/2) 1. IgM HSV-1/2 2. IgG HSV-1/2 |  | Chemiluminescence (CLIA) |
|  | Determination of the antibodies against the herpesvirus Human Herpes Virus-3 (HHV-3) ή Varicella-Zoster virus (VZV) 3. IgM VZV 4. IgG VZV |  | Chemiluminescence (CLIA) |
|  | Determination of the antibodies against the Human Herpes Virus-4 or Epstein-Barr virus (Epstein-Barr virus, EBV ή Human Herpesvirus-4, HHV-4) 5. IgM VCA EBV 6. IgG VCA EBV |  | Chemiluminescence (CLIA) |
| Hematological Tests |  |  |  |
| Whole Blood (EDTA) | Determination of 8 parameters |  | Automated Hematology Analyzer Sysmex XN 10 (s/n 39021)* Work Instruction: ΟΕ.Μ.06 (version 1.1 / 24.10.2022) & ΟΕ.Μ.09 (version 1.0 / 31.05.2021) & ΟΕ.Μ.-ΕΝ02 Hematology Inserts (version 1.0 / 22.11.2022) |
|  | 1. White blood cells (WBC) |  | Flow cytometry with hydrodynamic focusing using a semiconductor Laser |
|  | 2. Red blood cells (RBC) |  | Flow cytometry with hydrodynamic focusing and impedance variation. |
|  | 3. Hemoglobin (HB) |  | Absorption Spectrophotometry |
|  | 4. Hematocrit (HCT) |  | Calculated method |
|  | 5. Mean corpuscular volume (MCV) |  | Flow cytometry with hydrodynamic focusing and impedance variation. |
|  | 6. Mean corpuscular hemoglobin (MCH) |  | Calculated method |
|  | 7. Mean corpuscular hemoglobin concentration (MCHC) |  | Calculated method |
|  | 8. Platelets (PLT) |  | Flow cytometry with hydrodynamic focusing and impedance variation. |
| Whole Blood (EDTA) | Determination of 9 parameters |  | Automated Hematology Analyzers Sysmex XN 10 (s/n 39022) and Sysmex XN 20 (s/n 14566)* Work Instruction: ΟΕ.Μ.06 (version 1.1 / 24.10.2022) & ΟΕ.Μ.09 (version 1.0 / 31.05.2021) & ΟΕ.Μ.-ΕΝ02 Hematology Inserts (version 1.0 / 22.11.2022) |
|  | 1. White blood cells (WBC) |  | Flow cytometry with hydrodynamic focusing using a semiconductor Laser |
|  | 2. Red blood cells (RBC) |  | Flow cytometry with hydrodynamic focusing and impedance variation. |
|  | 3. Hemoglobin (HB) |  | Absorption Spectrophotometry |
|  | 4. Hematocrit (HCT) |  | Calculated method |
|  | 5. Mean corpuscular volume (MCV) |  | Flow cytometry with hydrodynamic focusing and impedance variation. |
|  | 6. Mean corpuscular hemoglobin (MCH) |  | Calculated method |
|  | 7. Mean corpuscular hemoglobin concentration (MCHC) |  | Calculated method |
|  | 8. Platelets (PLT) |  | Flow cytometry with hydrodynamic focusing and impedance variation. |
|  | 9. Reticulocytes (RET% and RET #) |  | Flow cytometry with hydrodynamic focusing using a semiconductor Laser |
| Whole Blood (EDTA) | Determination of 1 parameter |  | Automated Analyzer Roche Cobas Integra 400* Work Instruction: ΟΕ.Μ.07 (version 1.1 / 19.10.2022) & ΟΕ.Μ.-ΕΝ02 Hematology Inserts (version 1.0 / 22.11.2022) |
|  | 1. Glycated hemoglobin (HB A1C) |  | Turbidity Inhibition Immunoassay (ΤΙΝΙΑ) |
| Whole Blood (EDTA) | Determination of 1 parameter |  | Automated Analyzer Bio-Rad VARIANT II Hemoglobin Testing System* Work Instruction: ΔΓΕ02 (version 1.0 / 14.03.2022) & ΟΕ.Μ.-ΕΝ02 ΜΜΑ- Prevention Inserts (version 1.0 / 22.11.2022) |
|  | 1. Hemoglobin electrophoresis (HbA2) |  | High Performance Liquid Chromatography HPLC |
| Whole Blood (EDTA) | Determination of 9 parameters |  | Automated Hematology Analyzer Sysmex XN-1000 (s/n 47527)* Work Instruction: ΔΓΕ02 (version 1.0 / 14.03.2022) & ΟΕ.Μ.-ΕΝ02 ΜΜΑ- Prevention Inserts (version 1.0 / 22.11.2022) |
|  | 1. White blood cells (WBC) |  | Flow cytometry with light scatter and fluorescence |
|  | 2. Red blood cells (RBC) |  | Flow cytometry with hydrodynamic focusing and impedance variation. |
|  | 3. Hemoglobin (HB) |  | Absorption Spectrophotometry |
|  | 4. Hematocrit (HCT) |  | Calculated method |
|  | 5. Mean corpuscular volume (MCV) |  | Flow cytometry with hydrodynamic focusing and impedance variation. |
|  | 6. Mean corpuscular hemoglobin (MCH) |  | Calculated method |
|  | 7. Mean corpuscular hemoglobin concentration (MCHC) |  | Calculated method |
|  | 8. Platelets (PLT) |  | Flow cytometry with hydrodynamic focusing and impedance variation. |
|  | 9. Reticulocytes (RET% and RET #) |  | Flow cytometry with light scatter and fluorescence |
| Hemostasis Tests |  |  |  |
| Blood plasma (Sodium Citrate) | Determination of 1 parameter |  | Automated Coagulation Analyzers Siemens CS 2500 (s/n 23993 and s/n 23995)* Work Instruction: ΟΕ.Μ.08 (version 1.1 / 19.10.2022) & ΟΕ.Μ.-ΕΝ02 Hematology Inserts (version 1.0 / 22.11.2022) |
|  | 1. Prothrombin time international normalized ratio (INR) |  | Coagulometric (Measurement of fibrin clot formation time) |
| Immunohematology Tests |  |  |  |
| Whole Blood (EDTA) | 1. Blood Group (ABO-RhD) (forward) |  | Column Agglutination Technology. (C.A.T.), Analyzers: ORTHO AutoVue Innova 1 (s/n 4572) & 2 (s/n 3524)* Work Instruction: ΟΕ.Μ.13 (version 1.1 / 30.09.2022) & ΟΕ.Μ.-ΕΝ02 Blood Center - Blood Group Inserts (version 1.0 / 22.11.2022) |
|  | 2. Blood Group (ABO-RhD) (forward) |  | Agglutination in spot plate with antisera Anti-A1/Anti-A/Anti-B/Anti-ΑΒ/Anti-D Immunodiagnostika Gmbh* and Anti-D/Anti-A BIOSCOT* (manual) Work Instruction: ΟΕ.Μ.13.1.4 (version 1 / 24.08.2022) & ΟΕ.Μ.-ΕΝ02 Blood Center - Blood Group Inserts (version 1.0 / 22.11.2022) |
|  | 3. Phenotype Rhesus (C, c, E, e), Kell |  | Column Agglutination Technology. (C.A.T.), Analyzers: ORTHO AutoVue Innova 1 (s/n 4572) & 2 (s/n 3524)* Work Instruction: ΟΕ.Μ.13 (version 1.1 / 30.09.2022) & ΟΕ.Μ.-ΕΝ02 Blood Center - Blood Group Inserts (version 1.0 / 22.11.2022) |
|  | 4. Phenotype Rhesus (C, c, E, e), Kell |  | Agglutination in spot plate with antisera Anti-C/Anti-c/Anti-E/Anti-e Immunodiagnostika Gmbh* (manual) Work Instruction: ΟΕ.Μ.13.1.4 (version 1 / 24.08.2022) & ΟΕ.Μ.-ΕΝ02 Blood Center - Blood Group Inserts (version 1.0 / 22.11.2022) |
| Whole Blood (EDTA), Serum or Blood plasma (EDTA) | 5. Blood Group (ABO) (Reverse) |  | Column Agglutination Technology. (C.A.T.), Analyzers: ORTHO AutoVue Innova 1 (s/n 4572) & 2 (s/n 3524)* Work Instruction: ΟΕ.Μ.13 (version 1.1 / 30.09.2022) & ΟΕ.Μ.-ΕΝ02 Blood Center - Blood Group Inserts (version 1.0 / 22.11.2022) |
|  | 6. Blood Group (ABO) (Reverse) |  | Agglutination in spot plate with red cell suspension Affirmagen Ortho Clinical Diagnostics* or pooled red cells suspension from blood units group A and B (manual) Work Instruction: ΟΕ.Μ.13.1.4 (version 1 / 24.08.2022) & ΟΕ.Μ.-ΕΝ02 Blood Center - Blood Group Inserts (version 1.0 / 22.11.2022) |
| Humoral Immune Response Tests |  |  |  |
| Blood serum | Determination of 5 parameters |  | Automated Nephelometry Analyzer Siemens BNII (s/n 214694)* Work Instruction: ΟΕ.Μ.15 (version 1.0 / 11.03.2022) & ΟΕ.Μ.16 (version 1.0 / 11.03.2022) & ΟΕ.Μ.-ΕΝ02 Immunology Inserts (version 1.0 / 22.11.2022) |
|  | Quantitative determination of Immunoglobulins: 1. IgG 2. IgA 3. IgM |  | Nephelometry |
|  | Quantitative determination of Complement Factors: 4. C3 5. C4 |  | Nephelometry |
| Blood serum | Determination of 1 parameter |  | The HelMed® System, AESCU SYSTEMS (s/n 09-03-0019)* and Fluorescence Microscope AXIOPLAN – Zeiss (s/n 451887)* Work Instruction: ΟΕ.Μ.18 (version 1.1 / 24.10.2022) & ΟΕ.Μ.-ΕΝ02 Immunology Inserts (version 1.0 / 22.11.2022) |
|  | 1. Determination of Antinuclear Autoantibodies (ΑΝΑ) with the use of Hep-2 Cells |  | Indirect Immunofluorescence |
| Blood serum and CSF | Determination of 1 parameter |  | Electrophoresis instrument Hydrasys Focusing – SEBIA (s/n 5985)* Work Instruction: ΟΕ.Μ.19 (version 1.0 / 11.03.2022) & ΟΕ.Μ.-ΕΝ02 Immunology Inserts (version 1.0 / 22.11.2022) |
|  | 1. Oligoclonal bands of IgG Immunoglobulins in serum and CSF |  | Isoelectrofocusing and Immunofixation |
| Immunohematology Flow Cytometry Tests |  |  |  |
| Whole Blood (EDTA) or / and Apheresis product (EDTA) | Determination of 1 parameter |  | Flow Cytometer BD Biosciences FACSCantoTM ΙΙ (s/n V33896202327)* Work Instruction: ΟΕ.Μ.17 (version 1.1 / 17.10.2022) & ΟΕ.Μ.-ΕΝ02 Immunology Inserts (version 1.0 / 22.11.2022) |
|  | 1. Determination of the absolute number and the percentage of viable CD34+ Hematopoetic Progenitor Cells |  | Flow Cytometry |
| Molecular Microbiology Tests |  |  |  |
| Nasopharyngeal swab, Oropharyngeal swab | - Quantitative detection of SARS-CoV-2 RNA, gene RdRp |  | Manufacturer’s method, Quantitative Real Time Reverse Transcriptase Polymerase Chain Reaction (qRT-PCR) (SARS-CoV-2 ELITe MGB® Kit CE IVD) with the use of the automated thermal cycler instruments ELITe InGenius®, 500 TH SERIES (ELITech Group, Molecular Diagnostics, France) (s/n 2071906B0430E and s/n 2072011B0755E)* Work Instruction: ΟΕ.Μ.04 (version 1.1 / 21.03.2022) & ΟΕ.Μ.-ΕΝ02 Biopathology Inserts (version 1.0 / 22.11.2022) |
| Blood plasma (EDTA) | - Quantitative detection of human herpesvirus-5 or human cytomegalovirus DNA (ΗCMV DNA). |  | Manufacturer’s method, Quantitative Real Time Polymerase Chain Reaction (qPCR) (CMV ELITe MGB® Kit CE IVD) with the use of the automated thermal cycler instruments ELITe InGenius®, 500 TH SERIES (ELITech Group, Molecular Diagnostics, France) (s/n 2071906B0430E and s/n 2072011B0755E)* Work Instruction: ΟΕ.Μ.02 (version 1.1 / 21.03.2022) & ΟΕ.Μ.-ΕΝ02 Biopathology Inserts (version 1.0 / 22.11.2022) |
|  | - Quantitative detection of human herpesvirus-4 or Epstein Barr virus DNA (EBV DNA). |  | Manufacturer’s method, Quantitative Real Time Polymerase Chain Reaction (qPCR) (EBV ELITe MGB® Kit CE IVD) with the use of the automated thermal cycler instrument ELITe InGenius®, 500 TH SERIES (ELITech Group, Molecular Diagnostics, France) (s/n 2071906B0430E)* Work Instruction: ΟΕ.Μ.03 (version 1.1 / 21.03.2022) & ΟΕ.Μ.-ΕΝ02 Biopathology Inserts (version 1.0 / 22.11.2022) |
| Thrombophilia Molecular Screening Tests |  |  |  |
| Whole blood (EDTA) | Detection of Thrombosis-related mutations within the following genes: - FV G1691 (Leiden), - FII 20210 - MTHFR C677T, - MTHFR A1298C |  | Manufacturer’s method, End Point Polymerase Chain Reaction (EP-PCR) (Kit: Thrombotype plusV.3 CE IVD) using the THC 1 – Analytik Jena thermal cycler (s/n BYQ602102D-017)* and Hybridization procedure using the automated system BLO1 GT-BLOT 20 (s/n AB3H11080-2195)*. Automated DNA extraction using the XTR1 MagLEAD 12GC System (s/n 12C010B0416)*. Work Instruction: ΟΕ.Μ.14 (version 1.2 / 15.11.2022) & ΟΕ.Μ.-ΕΝ02 Blood Center-Thrombophilia Inserts (version 1.0 / 22.11.2022) |
| Molecular Genetics Tests |  |  |  |
| Whole blood (EDTA), Amniotic fluid, Chorionic villi | - Identification of pathogenic variants of β globin gene: - CD6 A>T HbS (HBB:c.20A>T) - IVSI-110 G>A (HBB:c.93-21G>A) - CD39 C>T (HBB:c.118C>T) - IVSI-1 G>A (HBB:c.92+1G>A) - IVSI-6 T>C (HBB:c.92+6T>C) - IVSII-745 C>G (HBB:c.316-106C>G) |  | In House Method of Melting Curve Genotyping Analysis with labeled probes (LightCycler 480 Genotyping Master and LightSNiP Probes) using the Roche Light Cycler 480II Real Time thermal cycler (s/n 26293)*. Automated DNA extraction using the Maxwell MDx PROMEGA System*. Work Instruction: ΔΓΕ01-01 (version 1.1 / 16.05.2022) & ΔΓΕ01-02 (version 1.0 / 28.02.2022) & ΔΓΕ01-03 (version 1.0 / 28.02.2022) & ΔΓΕ01-04 (version 1.0 / 28.02.2022) |
|  | - Detection of pathogenic variants of β globin gene: - IVSI-1 G>A (HBB:c.92+1G>A) - IVSI-6 T>C (HBB:c.92+6T>C) |  | In House Method of High Resolution Melting Analysis (LightCycler 480 High Resolution Melting Master and synthetic oligonucleotides) using the Roche Light Cycler 480II Real Time thermal cycler (s/n 26293)*. Automated DNA extraction using the Maxwell MDx PROMEGA System*. Work Instruction: ΔΓΕ01-01 (version 1.1 / 16.05.2022) & ΔΓΕ01-02 (version 1.0 / 28.02.2022) & ΔΓΕ01-03 (version 1.0 / 28.02.2022) & ΔΓΕ01-04 (version 1.0 / 28.02.2022) |
|  | - Detection of the pathogenic variant F508del, p.Phe508del [c.1521_1523delCTT] of CFTR gene |  | In House Method of Melting Curve Genotyping Analysis with labeled probe (LightCycler 480 Genotyping Master και LightSNiP Probe) using the Roche Light Cycler 480II Real Time thermal cycler (s/n 26293)*. Automated DNA extraction using the Maxwell MDx PROMEGA System*. Work Instruction: ΔΓΕ01-01 (version 1.1 / 16.05.2022) & ΔΓΕ01-02 (version 1.0 / 28.02.2022) & ΔΓΕ01-03 (version 1.0 / 28.02.2022) & ΔΓΕ01-04 (version 1.0 / 28.02.2022) |
|  | - Detection of pathogenic variants located on exons 2, 3, 4, 5, 6a, 6b, 7, 10, 11, 12, 13, 14a, 14b, 15, 16, 17a, 17b, 19, 20, 21 (legacy name) of CFTR gene. Indicatively, the three most frequently pathogenic variants of Greek population are mentioned - 621+1GT, c.489+1 G>T - N1303K, p.Asn1303Lys [c.3909C>G] - G542X, p.Gly542* [c.1624G>T] |  | In House Method of High Resolution Melting Analysis (LightCycler 480 High Resolution Melting Master and synthetic oligonucleotides) using the Roche Light Cycler 480II Real Time thermal cycler (s/n 26293)*. Automated DNA extraction using the Maxwell MDx PROMEGA System*. Work Instruction: ΔΓΕ01-01 (version 1.1 / 16.05.2022) & ΔΓΕ01-02 (version 1.0 / 28.02.2022) & ΔΓΕ01-03 (version 1.0 / 28.02.2022) & ΔΓΕ01-04 (version 1.0 / 28.02.2022) |
| Cytology Tests |  |  |  |
| Cervicovaginal smear (Pap test) by conventional cytology | 1. Microscopic evaluation and assessment of cervicovaginal smear, in order to detect lesions with abnormal features, aiming to the early diagnosis of neoplastic and other special diseases. |  | Qualitative method 1. Papanicolaou stain (automated staining machine Shandon VARISTAIN)* 2. Microscopic evaluation (microscopes ΖΕΙSS AXIOSKOP 2 PLUS, ZEISS AXIOSKOP 40, ΖΕΙSS AXIOLAB and two OLYMPUS BX)* 3. Classification according to BETHΕSDA 2014* Work Instruction: ΟΕ.Μ.01 (version 1.1 / 18.03.2022) & ΟΕ.Μ.-ΕΝ02 Inserts Cytology (version 1.0 / 22.11.2022) |
| Cervicovaginal smear (Pap test) by liquid phase cytology technique (Thinprep) | 2. Microscopic evaluation and assessment of cervicovaginal smear, in order to detect lesions with abnormal features, aiming to the early diagnosis of neoplastic and other special diseases. |  | Qualitative method 1. Papanicolaou stain (automated staining machine Shandon VARISTAIN)* 2. Liquid based cytology preparation machine Thinprep2000, Hologic* 3. Microscopic evaluation (microscopes ΖΕΙSS AXIOSKOP 2 PLUS, ZEISS AXIOSKOP 40, ΖΕΙSS AXIOLAB and two OLYMPUS BX)* 4. Classification according to BETHΕSDA 2014* Work Instruction: ΟΕ.Μ.01 (version 1.1 / 18.03.2022) & ΟΕ.Μ.-ΕΝ02 Inserts Cytology (version 1.0 / 22.11.2022) |
| Pathology Tests |  |  |  |
| Histological Tests |  |  |  |
| Biopsies and surgical specimens from all organs and systems Fresh tissue, Formalin Fixed Paraffin Embedded Tissue (FFPE) | 1. Tissue gross and microscopical examination for the detection or/and exclusion of possible morphological and cellular lesions. |  | Gross and microscopical observation PROPATH Table for tissue and organ gross examination and processing, as well as tissue sampling. DIAPATH DonatelloTM Series 2 Automatic tissue processor. Epredia HistoStar Paraffin embedding system. SLEE CUT5062 Microtome for tissue sectioning. Thermo Scientific Microm HM340E Microtome for tissue sectioning. Leica Autostainer XL (ST5010) Automated slide hematoxylin-eosin stainer. Epredia CTM6 Automated coverslipper. NIKON ECLIPSE 50i, E200, 80i και OLYMPUS BX40, BH2, CX21, CX41, BX51 Microscopes for the microscopical observation of slides stained with hematoxylin-eosin and immunohistochemical markers. Work Instruction: ΟΕ.Μ.10 (version 1.1 / 07.10.2022) |
| Histochemical Tests |  |  |  |
| Biopsies and surgical specimens from all organs and systems Formalin Fixed Paraffin Embedded Tissue (FFPE) | 2. Hematoxylin-eosin staining |  | Microscopical examination of tissue and cell morphology, followed by staining with hematoxylin (nuclei) and eosin (cytoplasm). Hematoxylin Η (BIOGNOST) Eosin-Y (BIOGNOST). Work Instruction: ΟΕ.Μ.10 (version 1.1 / 07.10.2022) |
| Immunohistochemical Tests |  |  |  |
| Biopsies and surgical specimens from all organs and systems Formalin Fixed Paraffin Embedded Tissue (FFPE) | 3. Nuclear, cytoplasmic or membranous expression of chromogen-labelled cellular antigens (proteins) Cytokeratin 7; Urothelium – respiratory type epithelium and carcinomas of the respiratory system – epithelium and carcinomas of bile ducts/pancreas and ducts of the mammary gland. Cytokeratin 20; Urothelium (κύτταρα cells), intestinal epithelium. Calretinin; Mesothelial cells, malignant mesothelioma, nerve ganglia. ERG; Endothelial cells, lymphocytes and prostate cancer cells. PGR; Percentage of progesterone expression in breast carcinoma. MUM-1 (Multiple Myeloma Oncogene 1); Plasma cells, multiple myeloma. CD138; Plasma cellss, B-lymphocytes, lymphomas. HER2; Percentage of the ERBB2 receptor expression in breast carcinoma. Ki-67 (MIB-1); Assessment of the mitotic activity percentage of the tumor under examination. CD4; T-lymphocytes, monocytes, macrophages. Specific lymphoma subtypes. CD8; Cytotoxic T-lymphocytes, lymphoma subtypes. CD30; Immunoblasts, centroblasts, Hodgkin disease, anaplastic lymphomas, neoplasms of stem cells. P63; Myoepithelial and basal cells. CD34; Normal endothelial cells, angiosarcoma, primary dermatofibrosarcoma. CD3; Normal T-lymphocytes, T-lymphomas. CD5; Normal T-lymphocytes, lymphomas of T-cell line, thymic carcinoma. CD20; Normal B lymphocytes, majority of B cell line lymphomas. PAX-5; Normal B lymphocytes, Reed-Sternberg cells in Hodgkin disease, lymphoplasmacytic lymphoma. Actin Smooth Muscle; Myofibroblasts and myoepithelium, leiomyomas. AMACR (p504s); Prostate adenocarcinoma. Bcl 2; Follicular lymphoma. Bcl 6; Follicular lymphoma, diffuse large B cell lymphoma, Burkitt lymphoma. CD10; Acute lymphoblastic leukemia, follicular lymphoma, Burkitt lymphoma, differential diagnosis of endometrial stromal sarcoma from uterine leiomyoma and leiomyosarcoma. CD15; Reed-Sternberg cells, Hodgkin disease. CD23; EBV-infected B-lymphoblasts, chronic lymphocytic leukemia. CD31; Endothelial cells, vascular origin of neoplasms. CD79α; Acute leukemias derived from progenitor B-cells, B-cell lymphomas. Desmin; Smooth muscle cells, rabdomyomas, rabdomyosarcomas, leiomyomas, leiomyosarcomas. E-Cadherin; Distinction between lobular and ductal breast carcinoma. Estrogen Receptor Alpha; Percentage of estrogen receptor expression in breast carcinomas. GFAP (Glial Fibrillary Acidic Protein); Astrocytomas and ependymal cells of the central nervous system. Kappa Light Chains; Kappa light chain expressing plasma cells. Lambda Light Chains; Lambda light chain expressing plasma cells. MDM2; Soft tissue sarcomas, osteosarcomas, brain tumors. p53 Protein; Classification of tumors derived from every cell line. S100; Tumors derived from Schwann cells, melanomas. (WT1) Protein; Wilms tumors, mesotheliomas. Pankeratin (MNF116); Classification of neoplasms derived from epithelial lineage. | Automated method. Immunohistochemical method by using detection systems for: - LEICA BOND-MAX* Χ2 (s/n M496488 & s/n M496457) - LEICA VISION BIOSYSTEMS BOND-MAX* (s/n M210463) - ASPlus DAKO* (s/n DC3400-7377R-03) and specific antibodies. Microscopical observation and evaluation – interpretation of the results. ANTIBODIES - Actin Smooth Muscle (clone 1A4 – DAKO) - AMACR/p504s (clone 13H4 – DAKO) - Bcl-2 (clone 124 – DAKO) - Bcl-6 (clone LN22 – Leica) - c-erbB-2/HER2 (polyclonal – DAKO) - CD3 (clone LN10 – Leica) - CD4 (clone 4B12 – DAKO) - CD5 (clone 4C7 – DAKO) - CD8 (clone C8/144B – DAKO) - CD10 (clone 56C6 – DAKO) - CD15 (clone Carb-3 – DAKO) - CD20 (clone L26 – DAKO) - CD23 (clone 1B12 – Leica) - CD30 (clone Ber-H2 – DAKO) - CD31 (clone JC70 – Cell Marque) - CD34 (clone QBEnd10 – DAKO) - CD79a (clone JCB117 – DAKO) - CD138 (clone MI15 – DAKO) - Cytokeratin 7 (clone OV-TL 12/30 – DAKO) - Cytokeratin 20 (clone Ks20.8 – DAKO) - Desmin (clone D33 – DAKO) - E-Cadherin (clone NCH-38 – DAKO) - ERG (clone EP111 – DAKO) - Estrogen Receptor Alpha (clone EP1 – DAKO) - Glial Fibrillary Acidic Protein (clone 6F2 – DAKO) - Kappa Light Chains (clone L1C1 – Cell Marque) - Ki-67 (clone MIB-1 – DAKO) - Lambda Light Chains (clone Lamb14 – Cell Marque) - MDM2 (clone SMP14 – Zeta Corporation) - MUM1 (clone MUM1p – DAKO) - p53 Protein (clone DO-7 – DAKO) - p63 Protein (clone 4A4 – BIOCARE MEDICAL) - PAX-5 (clone DAK-PAX5 – DAKO) - Progesterone Receptor (clone PgR636 – DAKO) - S100 (clone 4C4.9 – Epredia) - WT1 Protein (clone 6F-H2 – DAKO) - Cytokeratin (clone MNF116 – DAKO) - Calretinin (clone DAK-Calret – DAKO) Work Instruction: ΟΕ.Μ.10 (version 1.1 / 07.10.2022) |

*Reference to the commercial name of a specific analyzer/kit, refers to a specific analytical method and protocol

Site of assessment: Laboratory Permanent premises:

1.	17, Aghiou Thoma Str., 115 27, Athens, Greece (Building K),

2.	16, Sevastoupoleos Str., 115 26, Athens, Greece (Building Π)

3.	75, Mikras Asias Str., 115 27, Athens, Greece (Building 10, Medical School NKUA).

Approved signatories:

- For the Haematology Department: Maria Katerini, Dimitra-Theodora Adamou, Panagiota Belba, Vasiliki Skarlatou, Anastasia Rigatou, Aikaterini Kourioti, Andriana Zouridaki, Antigoni Papantoniou, Panagiotis Pιttos, Zacharias Tsakris, Anastasios Vogiatzakis, Dimitroula Zioga, Euthalia Xenou.

- For the Immunology-Histocompatibility Department: Nikolitsa Kafasi, Aglaia Dimitrakopoulou, Kalliroi Tsalimalma, Polyxeni Gkasouka, Eleni Lekka, Dimitrios Chronopoulos.

- For the Biopathology Department: Stavroula Smilakou, Dr. Efstathios Bekris, Dr. Panagiota Tsioli, Nikolaos Kalabogias, Olga Apostolou.

- For the Biochemistry Department - Laboratory of Biological Chemistry NKUA: Assoc. Prof. Dr. Aggeliki Papapanagiotou, Dr. Panagiotis Kanellopoulos, Anastasia Evagelatou, Anna Takou, Anastasia Liakopoulou, Maria Malliarou, Anna Koutroubeli, Evaggelia Gelou, Minas Minaidis.

- For the Cytopathology Department: Dr. Panagiota Mikou, Panagiota Keramari.

- For the Hospital Blood Transfusion Service Department : O. Katsarou, M. Gavalaki, A. Kouramba, G. Kanellopoulou, Th. Adraktas, H. Kalfa, Ch. Frantzeskakis, A. Zannou, Z. Paparrizou, A. Varaklioti, I. Anastasopoulou, E. Zoulia, Z. Moschidis, A. Chanos, Th. Pirpiri, S. Gkotsi,  A. Papachronis, N. Stavropoulou, M. Pittara, M. Tsivola, M. Gkioka, A. Gkikas, L. Kelaidis, M. Papadimitriou, A. Mousti, A. Tsatsomoirou, Th. Katoglou, M. Polizoidou, E. Psachoulia, A. Sioka, E. Vlachothanasi.

- For the 1st Department of Pathology NKUA: Prof. Dr. Nikolaos Kavantzas, Prof. Dr. Penelopi Korkolopoulou, Prof. Dr. Andreas Lazaris, Prof. Dr. Stamatios Theocharis, Prof. Dr. Aphroditi Nonni, Prof. Dr. Charikleia Gakiopoulou, Dr. Paraskevi Alexandrou, Evaggelia Louka, Assoc. Prof. Dr. Georgios Agrogiannis, Dr. Georgios Liapis, Assist. Prof. Dr. Eirini Thymara, Assist. Prof. Dr. Stratigoula Sakellariou, Assist. Prof. Dr. Eleftheria Lakiotaki, Dr. Anastasios Stofas.

- For the Prevention-Screening Laboratory of the Thalassemia Unit: Maria Dimopoulou, Veroniki Komninaka, Pagona Flevari.

- For the Laboratory of Genetics - Cystic Fibrosis of the Thalassemia Unit: Angeliki Balassopoulou, Dr. Effrossini Boutou, Evangelia-Eleni Delaki, Dr. Eleni Yfanti.

The Accreditation Certificate No.1358, to ELOT EN ISO 15189:2012, is valid until 29.06.2023.

- Athens, 30 June 2023

Christos Nestoras

CEO of ESYD