Hellenic Accreditation System

| Annex F2/1 to the Certificate No. 1334 SCOPE of ACCREDITATION of the Calibration Laboratory of QAFA GRAMOZ - SOLUTIONS PLIROFORIKI |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | Measurand / Calibration item | Range of measurement | Calibration & Measurement Capability (k=2)* | Remarks |  |
|  | Volume measurements |  |  |  |  |
|  | Volume / Steel tanks | 0,2 m3to 50 m3 | 0,1 % (filling tank) 0,11 % (emptying tank) of nominal tank volume | Volumetric method using volume standard according to: EURAMET cg-21, v.2.1: 2021 Calibration medium: potable water. Calibration is performed on site. |  |
|  | Volume / Road tankers | 0,2 m3 to 20 m3 | 0,1 % of nominal tank volume | Volumetric method using volume standard according to: - EURAMET cg-21, v.2.1: 2021 - OIML R80-2:2017, Annex B Calibration medium: potable water. Calibration is performed at laboratory premises or on site. |  |

*Where uncertainty is accompanied by the corresponding unit, it is absolute, while where it is not accompanied by a unit, is relative.

Site of assessment: Permanent laboratory premises, Likomidous 5, 26333 Patra.

Approved Signatories: G. Qafa, P. Farmakis, T. Nikolaou

The Accreditation Certificate No. 1334, to ELOT EN ISO/IEC 17025:2017, is valid until March 14th, 2028.

                - Athens, March 15th, 2023

- Christos Nestoras

- CEO of ESYD